## Sheet1
name | category | unit | unit_cost | labor_unit_hours | supplier | description
#14 THHN Copper Wire,Sol | wire |  | 0.13 | 0.007 |  | #14 THHN Copper Wire,Sol
#12 THHN Copper Wire,Sol | wire |  | 0.19 | 0.008 |  | #12 THHN Copper Wire,Sol
#10 THHN Copper Wire,Sol | wire |  | 0.3 | 0.009 |  | #10 THHN Copper Wire,Sol
#14 THHN Copper Wire,Str | wire |  | 0.13 | 0.006 |  | #14 THHN Copper Wire,Str
#12 THHN Copper Wire,Str | wire |  | 0.19 | 0.007 |  | #12 THHN Copper Wire,Str
#10 THHN Copper Wire,Str | wire |  | 0.3 | 0.009 |  | #10 THHN Copper Wire,Str
#8 THHN Copper Wire,Str | wire |  | 0.57 | 0.011 |  | #8 THHN Copper Wire,Str
#6 THHN Copper Wire,Str | wire |  | 0.87 | 0.012 |  | #6 THHN Copper Wire,Str
#4 THHN Copper Wire,Str | wire |  | 1.33 | 0.016 |  | #4 THHN Copper Wire,Str
#2 THHN Copper Wire,Str | wire |  | 2.1 | 0.017 |  | #2 THHN Copper Wire,Str
#1 THHN Copper Wire,Str | wire |  | 2.53 | 0.018 |  | #1 THHN Copper Wire,Str
1/0 THHN Copper Wire,Str | wire |  | 2.53 | 0.019 |  | 1/0 THHN Copper Wire,Str
2/0 THHN Copper Wire,Str | wire |  | 3.7 | 0.025 |  | 2/0 THHN Copper Wire,Str
3/0 THHN Copper Wire,Str | wire |  | 4.55 | 0.027 |  | 3/0 THHN Copper Wire,Str
4/0 THHN Copper Wire,Str | wire |  | 5.68 | 0.029 |  | 4/0 THHN Copper Wire,Str
250MCM THHN Copper Wire,Str | wire |  | 6.6 | 0.032 |  | 250MCM THHN Copper Wire,Str
350MCM Copper Wire,Str | wire |  | 9.24 | 0.035 |  | 350MCM Copper Wire,Str
500MCM THHN Copper Wire,Str | wire |  | 13.27 | 0.037 |  | 500MCM THHN Copper Wire,Str
600 MCM | wire |  | 17 | 0.05 |  | 600 MCM
750 MCM THHN Copper Wire ,Str | wire |  | 28 | 0.034 |  | 750 MCM THHN Copper Wire ,Str
#4 bare copper | wire |  | 1.33 | 0.04 |  | #4 bare copper
#14/2 NM cable | NM Cable |  | 0.19 | 0.006 |  | #14/2 NM cable
#14/3 NM cable | NM Cable |  | 0.25 | 0.007 |  | #14/3 NM cable
#12/2 NM cable | NM Cable |  | 0.24 | 0.007 |  | #12/2 NM cable
#12/3 NM cable | NM Cable |  | 0.45 | 0.007 |  | #12/3 NM cable
#10/2 NM cable | NM Cable |  | 0.45 | 0.007 |  | #10/2 NM cable
#10/3 NM cable | NM Cable |  | 0.65 | 0.008 |  | #10/3 NM cable
#8/2 NM cable | NM Cable |  | 0.86 | 0.009 |  | #8/2 NM cable
#8/3 NM cable | NM Cable |  | 1.34 | 0.01 |  | #8/3 NM cable
#6/2 NM cable | NM Cable |  | 1.36 | 0.013 |  | #6/2 NM cable
#6/3 NM cable | NM Cable |  | 1.54 | 0.014 |  | #6/3 NM cable
#4/3 NM cable | NM Cable |  | 1.45 | 0.016 |  | #4/3 NM cable
#2/3 NM Cable | NM Cable |  | 1.9 | 0.018 |  | #2/3 NM Cable
#14/2 UF cable | NM Cable |  | 1.22 | 0.005 |  | #14/2 UF cable
#14/3 UF cable | NM Cable |  | 1.35 | 0.005 |  | #14/3 UF cable
#12/2 UF cable | NM Cable |  | 1.76 | 0.005 |  | #12/2 UF cable
#12/3 UF cable | NM Cable |  | 1.96 | 0.006 |  | #12/3 UF cable
#10/2 UF cable | NM Cable |  | 2.7 | 0.006 |  | #10/2 UF cable
#10/3 UF cable | NM Cable |  | 2.95 | 0.006 |  | #10/3 UF cable
#8/2 UF cable | NM Cable |  | 3.77 | 0.007 |  | #8/2 UF cable
#8/3 UF cable | NM Cable |  | 4.5 | 0.007 |  | #8/3 UF cable
#6/2 UF cable | NM Cable |  | 6 | 0.008 |  | #6/2 UF cable
#6/3 UF cable | NM Cable |  | 6.5 | 0.008 |  | #6/3 UF cable
#14/2 Type MC Stl Cable | MC Cable |  | 0.41 | 0.014 |  | #14/2 Type MC Stl Cable
#14/3 Type MC Stl Cable | MC Cable |  | 0.65 | 0.016 |  | #14/3 Type MC Stl Cable
#12/2 Type MC Stl Cable | MC Cable |  | 0.43 | 0.016 |  | #12/2 Type MC Stl Cable
#12/3 Type MC Stl Cable | MC Cable |  | 0.72 | 0.02 |  | #12/3 Type MC Stl Cable
#12/4 Type MC Stl Cable | MC Cable |  | 0.98 | 0.024 |  | #12/4 Type MC Stl Cable
#10/2 Type MC Stl Cable | MC Cable |  | 0.91 | 0.018 |  | #10/2 Type MC Stl Cable
#10/3 Type MC Stl Cable | MC Cable |  | 1.26 | 0.022 |  | #10/3 Type MC Stl Cable
#10/4 Type MC Stl Cable | MC Cable |  | 1.98 | 0.026 |  | #10/4 Type MC Stl Cable
#18/3 Type SO Cord | SO Cord |  | 0.74 | 0.008 |  | #18/3 Type SO Cord
#16/3 Type SO Cord | SO Cord |  | 0.68 | 0.008 |  | #16/3 Type SO Cord
#14/3 Type SO Cord | SO Cord |  | 1.4 | 0.009 |  | #14/3 Type SO Cord
#12/3 Type SO Cord | SO Cord |  | 1.38 | 0.011 |  | #12/3 Type SO Cord
#10/3 Type SO Cord | SO Cord |  | 1.91 | 0.011 |  | #10/3 Type SO Cord
#18/4 Type SO Cord | SO Cord |  | 0.85 | 0.008 |  | #18/4 Type SO Cord
#16/4 Type SO Cord | SO Cord |  | 0.95 | 0.008 |  | #16/4 Type SO Cord
#14/4 Type SO Cord | SO Cord |  | 1.5 | 0.009 |  | #14/4 Type SO Cord
#12/4 Type SO Cord | SO Cord |  | 1.43 | 0.011 |  | #12/4 Type SO Cord
#10/4 Type SO Cord | SO Cord |  | 2.22 | 0.011 |  | #10/4 Type SO Cord
Grnd Screws | Wing Nuts |  | 0.06 | 0.02 |  | Grnd Screws
Orange Wire Nuts | Wing Nuts |  | 0.065 | 0.03 |  | Orange Wire Nuts
Yellow Wire Nuts | Wing Nuts |  | 0.075 | 0.03 |  | Yellow Wire Nuts
Red Wire Nuts | Wing Nuts |  | 0.075 | 0.03 |  | Red Wire Nuts
Gray Wire Nuts | Wing Nuts |  | 0.29 | 0.03 |  | Gray Wire Nuts
Blue Wire Nuts | Wing Nuts |  | 0.4 | 0.03 |  | Blue Wire Nuts
Grnd Clips | Wing Nuts |  | 0.11 | 0.02 |  | Grnd Clips
1/2"EMT Conduit | EMT CONDUIT |  | 0.72 | 0.038 |  | 1/2"EMT Conduit
3/4"EMT Conduit | EMT CONDUIT |  | 1.25 | 0.046 |  | 3/4"EMT Conduit
1"EMT Conduit | EMT CONDUIT |  | 2.15 | 0.045 |  | 1"EMT Conduit
1 1/4"EMT Conduit | EMT CONDUIT |  | 3.59 | 0.06 |  | 1 1/4"EMT Conduit
1 1/2"EMT Conduit | EMT CONDUIT |  | 4.3 | 0.08 |  | 1 1/2"EMT Conduit
2"EMT Conduit | EMT CONDUIT |  | 5.05 | 0.1 |  | 2"EMT Conduit
2 1/2"EMT Conduit | EMT CONDUIT |  | 7.65 | 0.12 |  | 2 1/2"EMT Conduit
3"EMT Conduit | EMT CONDUIT |  | 9.7 | 0.14 |  | 3"EMT Conduit
3 1/2 EMT Conduit | EMT CONDUIT |  | 12.8 | 0.16 |  | 3 1/2 EMT Conduit
4"EMT Conduit | EMT CONDUIT |  | 13.14 | 0.18 |  | 4"EMT Conduit
1/2"Rigid Conduit | RIGID CONDUIT |  | 1.45 | 0.04 |  | 1/2"Rigid Conduit
3/4"Rigid Conduit | RIGID CONDUIT |  | 1.56 | 0.04 |  | 3/4"Rigid Conduit
1"Rigid Conduit | RIGID CONDUIT |  | 2.42 | 0.05 |  | 1"Rigid Conduit
1 1/4"Rigid Conduit | RIGID CONDUIT |  | 3.36 | 0.07 |  | 1 1/4"Rigid Conduit
1 1/2"Rigid Conduit | RIGID CONDUIT |  | 3.92 | 0.08 |  | 1 1/2"Rigid Conduit
2"Rigid Conduit | RIGID CONDUIT |  | 4.9 | 0.1 |  | 2"Rigid Conduit
2 1/2"Rigid Conduit | RIGID CONDUIT |  | 9.31 | 0.12 |  | 2 1/2"Rigid Conduit
3"Rigid Conduit | RIGID CONDUIT |  | 11.19 | 0.14 |  | 3"Rigid Conduit
4"Rigid Conduit | RIGID CONDUIT |  | 14.76 | 0.18 |  | 4"Rigid Conduit
3 1/2"Rigid Conduit | RIGID CONDUIT |  | 13.5 | 0.16 |  | 3 1/2"Rigid Conduit
1/2"Galvanized Coupling | Galvanized Coupling |  | 0.66 | 0.05 |  | 1/2"Galvanized Coupling
3/4"Galvanized Coupling | Galvanized Coupling |  | 0.5 | 0.05 |  | 3/4"Galvanized Coupling
1"Galvanized Coupling | Galvanized Coupling |  | 0.79 | 0.1 |  | 1"Galvanized Coupling
1 1/4"Galvanized Coupling | Galvanized Coupling |  | 0.99 | 0.1 |  | 1 1/4"Galvanized Coupling
1 1/2"Galvanized Coupling | Galvanized Coupling |  | 1.25 | 0.15 |  | 1 1/2"Galvanized Coupling
2"Galvanized Coupling | Galvanized Coupling |  | 1.65 | 0.15 |  | 2"Galvanized Coupling
2 1/2"Galvanized Coupling | Galvanized Coupling |  | 3.87 | 0.2 |  | 2 1/2"Galvanized Coupling
3"Galvanized Coupling | Galvanized Coupling |  | 6.5 | 0.25 |  | 3"Galvanized Coupling
3 1/2"Galvanized Coupling | Galvanized Coupling |  | 6.72 | 0.25 |  | 3 1/2"Galvanized Coupling
4"Galvanized Coupling | Galvanized Coupling |  | 6.75 | 0.25 |  | 4"Galvanized Coupling
1/2"Rigid Stl Elbow,90 | Rigid Stl Elbow,90 |  | 1.47 | 0.1 |  | 1/2"Rigid Stl Elbow,90
3/4"Rigid Stl Elbow,90 | Rigid Stl Elbow,90 |  | 1.76 | 0.1 |  | 3/4"Rigid Stl Elbow,90
1"Rigid Stl Elbow,90 | Rigid Stl Elbow,90 |  | 2.63 | 0.12 |  | 1"Rigid Stl Elbow,90
1 1/4"Rigid Stl Elbow,90 | Rigid Stl Elbow,90 |  | 3.75 | 0.15 |  | 1 1/4"Rigid Stl Elbow,90
1 1/2"Rigid Stl Elbow,90 | Rigid Stl Elbow,90 |  | 4.9 | 0.15 |  | 1 1/2"Rigid Stl Elbow,90
2"Rigid Stl Elbow,90 | Rigid Stl Elbow,90 |  | 7.07 | 0.2 |  | 2"Rigid Stl Elbow,90
2 1/2"Rigid Stl Elbow,90 | Rigid Stl Elbow,90 |  | 12.92 | 0.25 |  | 2 1/2"Rigid Stl Elbow,90
3"Rigid Stl Elbow,90 | Rigid Stl Elbow,90 |  | 18.81 | 0.25 |  | 3"Rigid Stl Elbow,90
3 1/2"Rigid Stl Elbow,90 | Rigid Stl Elbow,90 |  | 29.48 | 0.28 |  | 3 1/2"Rigid Stl Elbow,90
4"Rigid Stl Elbow,90 | Rigid Stl Elbow,90 |  | 90 | 0.3 |  | 4"Rigid Stl Elbow,90
1/2"PVC Sch.40 Conduit | PVC CONDUIT Sch 40 |  | 0.14 | 0.02 |  | 1/2"PVC Sch.40 Conduit
3/4"PVC Sch.40 Conduit | PVC CONDUIT Sch 40 |  | 0.18 | 0.02 |  | 3/4"PVC Sch.40 Conduit
1"PVC Sch.40 Conduit | PVC CONDUIT Sch 40 |  | 0.25 | 0.033 |  | 1"PVC Sch.40 Conduit
1 1/4"PVC Sch.40 Conduit | PVC CONDUIT Sch 40 |  | 0.38 | 0.034 |  | 1 1/4"PVC Sch.40 Conduit
1 1/2"PVC Sch.40 Conduit | PVC CONDUIT Sch 40 |  | 0.41 | 0.035 |  | 1 1/2"PVC Sch.40 Conduit
2"PVC Sch.40 Conduit | PVC CONDUIT Sch 40 |  | 0.52 | 0.046 |  | 2"PVC Sch.40 Conduit
2 1/2"PVC Sch.40 Conduit | PVC CONDUIT Sch 40 |  | 0.88 | 0.036 |  | 2 1/2"PVC Sch.40 Conduit
3"PVC Sch.40 Conduit | PVC CONDUIT Sch 40 |  | 1.05 | 0.038 |  | 3"PVC Sch.40 Conduit
3 1/2 PVC Sch.40 Conduit | PVC CONDUIT Sch 40 |  | 1.36 | 0.039 |  | 3 1/2 PVC Sch.40 Conduit
4"PVC Sch.40 Conduit | PVC CONDUIT Sch 40 |  | 4 | 0.04 |  | 4"PVC Sch.40 Conduit
3/4"PVC Sch.80 Conduit | PVC CONDUIT Sch 80 |  | 0.5 | 0.02 |  | 3/4"PVC Sch.80 Conduit
1"PVC Sch.80 Conduit | PVC CONDUIT Sch 80 |  | 0.72 | 0.033 |  | 1"PVC Sch.80 Conduit
1 1/4"PVC Sch.80 Conduit | PVC CONDUIT Sch 80 |  | 1 | 0.034 |  | 1 1/4"PVC Sch.80 Conduit
1 1/2"PVC Sch.80 Conduit | PVC CONDUIT Sch 80 |  | 1.19 | 0.035 |  | 1 1/2"PVC Sch.80 Conduit
2"PVC Sch.80 Conduit | PVC CONDUIT Sch 80 |  | 1.65 | 0.035 |  | 2"PVC Sch.80 Conduit
2 1/2"PVC Sch.80 Conduit | PVC CONDUIT Sch 80 |  | 2.63 | 0.036 |  | 2 1/2"PVC Sch.80 Conduit
3"PVC Sch.80 Conduit | PVC CONDUIT Sch 80 |  | 3.53 | 0.038 |  | 3"PVC Sch.80 Conduit
4"PVC Sch.80 Conduit | PVC CONDUIT Sch 80 |  | 4.9 | 0.04 |  | 4"PVC Sch.80 Conduit
1/2"PVC 90 degree,Sch.40 | PVC 90 degree,Sch.40 |  | 0.53 | 0.08 |  | 1/2"PVC 90 degree,Sch.40
3/4"PVC 90 degree,Sch.40 | PVC 90 degree,Sch.40 |  | 0.61 | 0.08 |  | 3/4"PVC 90 degree,Sch.40
1"PVC 90 degree,Sch.40 | PVC 90 degree,Sch.40 |  | 0.83 | 0.08 |  | 1"PVC 90 degree,Sch.40
1 1/4"PVC 90 degree,Sch.40 | PVC 90 degree,Sch.40 |  | 1.32 | 0.1 |  | 1 1/4"PVC 90 degree,Sch.40
1 1/2"PVC 90 degree,Sch.40 | PVC 90 degree,Sch.40 |  | 1.8 | 0.1 |  | 1 1/2"PVC 90 degree,Sch.40
2"PVC 90 degree,Sch.40 | PVC 90 degree,Sch.40 |  | 2.45 | 0.15 |  | 2"PVC 90 degree,Sch.40
2 1/2"PVC 90 degree,Sch.40 | PVC 90 degree,Sch.40 |  | 5.44 | 0.15 |  | 2 1/2"PVC 90 degree,Sch.40
3"PVC 90 degree,Sch.40 | PVC 90 degree,Sch.40 |  | 6.93 | 0.2 |  | 3"PVC 90 degree,Sch.40
3 1/2 PVC 90 Degree,Sch.40 | PVC 90 degree,Sch.40 |  | 7.85 | 0.21 |  | 3 1/2 PVC 90 Degree,Sch.40
4"PVC 90 degree,Sch.40 | PVC 90 degree,Sch.40 |  | 9.1 | 0.25 |  | 4"PVC 90 degree,Sch.40
1/2"PVC 90 degree,Sch.80 | PVC 90 degree,Sch.80 |  | 1.3 | 0.08 |  | 1/2"PVC 90 degree,Sch.80
3/4"PVC 90 degree,Sch.80 | PVC 90 degree,Sch.80 |  | 2.04 | 0.08 |  | 3/4"PVC 90 degree,Sch.80
1"PVC 90 degree,Sch.80 | PVC 90 degree,Sch.80 |  | 2.66 | 0.08 |  | 1"PVC 90 degree,Sch.80
1 1/4"PVC 90 degree,Sch.80 | PVC 90 degree,Sch.80 |  | 3.68 | 0.1 |  | 1 1/4"PVC 90 degree,Sch.80
1 1/2"PVC 90 degree,Sch.80 | PVC 90 degree,Sch.80 |  | 5.25 | 0.1 |  | 1 1/2"PVC 90 degree,Sch.80
2"PVC 90 degree,Sch.80 | PVC 90 degree,Sch.80 |  | 7.19 | 0.15 |  | 2"PVC 90 degree,Sch.80
2 1/2"PVC 90 degree,Sch.80 | PVC 90 degree,Sch.80 |  | 12.6 | 0.15 |  | 2 1/2"PVC 90 degree,Sch.80
3"PVC 90 degree,Sch.80 | PVC 90 degree,Sch.80 |  | 24.31 | 0.2 |  | 3"PVC 90 degree,Sch.80
3 1/2 PVC 90 Degree,Sch.80 | PVC 90 degree,Sch.80 |  | 30 | 0.21 |  | 3 1/2 PVC 90 Degree,Sch.80
4"PVC 90 degree,Sch.80 | PVC 90 degree,Sch.80 |  | 39.61 | 0.25 |  | 4"PVC 90 degree,Sch.80
1/2"PVC Sch.40 Coupling | PVC Sch.40 Coupling |  | 0.1 | 0.02 |  | 1/2"PVC Sch.40 Coupling
3/4"PVC Sch.40 Coupling | PVC Sch.40 Coupling |  | 0.12 | 0.03 |  | 3/4"PVC Sch.40 Coupling
1"PVC Sch.40 Coupling | PVC Sch.40 Coupling |  | 0.18 | 0.05 |  | 1"PVC Sch.40 Coupling
1 1/4"PVC Sch.40 Coupling | PVC Sch.40 Coupling |  | 0.25 | 0.06 |  | 1 1/4"PVC Sch.40 Coupling
1 1/2"PVC Sch.40 Coupling | PVC Sch.40 Coupling |  | 0.34 | 0.08 |  | 1 1/2"PVC Sch.40 Coupling
2"PVC Sch.40 Coupling | PVC Sch.40 Coupling |  | 0.45 | 0.1 |  | 2"PVC Sch.40 Coupling
2 1/2"PVC Sch.40 Coupling | PVC Sch.40 Coupling |  | 0.79 | 0.1 |  | 2 1/2"PVC Sch.40 Coupling
3"PVC Sch.40 Coupling | PVC Sch.40 Coupling |  | 1.3 | 0.2 |  | 3"PVC Sch.40 Coupling
3 1/2 PVC Sch.40 Coupling | PVC Sch.40 Coupling |  | 1.44 | 0.2 |  | 3 1/2 PVC Sch.40 Coupling
4"PVC Sch.40 Coupling | PVC Sch.40 Coupling |  | 2.01 | 0.2 |  | 4"PVC Sch.40 Coupling
3/8"Flex Conduit, | FLEX CONDUIT & FITTINGS |  | 0.25 | 0.045 |  | 3/8"Flex Conduit,
3/8"Flex Conn st | FLEX CONDUIT & FITTINGS |  | 0.11 | 0.03 |  | 3/8"Flex Conn st
3/8"Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 0.31 | 0.05 |  | 3/8"Flex Conn,90
3/8"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.04 | 0.05 |  | 3/8"One Hole HW Strap
1/2"Flex Conduit | FLEX CONDUIT & FITTINGS |  | 0.35 | 0.031 |  | 1/2"Flex Conduit
1/2"Flex Conn st | FLEX CONDUIT & FITTINGS |  | 0.24 | 0.03 |  | 1/2"Flex Conn st
1/2"Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 0.42 | 0.05 |  | 1/2"Flex Conn,90
1/2"Flex To Emt Coup | FLEX CONDUIT & FITTINGS |  | 0.98 | 0.05 |  | 1/2"Flex To Emt Coup
1/2"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.04 | 0.05 |  | 1/2"One Hole HW Strap
3/4"Flex Conduit | FLEX CONDUIT & FITTINGS |  | 0.47 | 0.033 |  | 3/4"Flex Conduit
3/4"Flex Conn st | FLEX CONDUIT & FITTINGS |  | 0.54 | 0.05 |  | 3/4"Flex Conn st
3/4"Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 1.22 | 0.06 |  | 3/4"Flex Conn,90
3/4"Flex Coup | FLEX CONDUIT & FITTINGS |  | 1.1 | 0.06 |  | 3/4"Flex Coup
3/4"Flex To Emt Coup | FLEX CONDUIT & FITTINGS |  | 2.02 | 0.06 |  | 3/4"Flex To Emt Coup
3/4"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.06 | 0.06 |  | 3/4"One Hole HW Strap
1"Flex Conduit | FLEX CONDUIT & FITTINGS |  | 0.87 | 0.036 |  | 1"Flex Conduit
1"Flex Conn st. | FLEX CONDUIT & FITTINGS |  | 1.24 | 0.06 |  | 1"Flex Conn st.
1"Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 4.74 | 0.08 |  | 1"Flex Conn,90
1"Flex Coup | FLEX CONDUIT & FITTINGS |  | 1.29 | 0.08 |  | 1"Flex Coup
1"Flex To Emt Coup | FLEX CONDUIT & FITTINGS |  | 2.82 | 0.08 |  | 1"Flex To Emt Coup
1"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.16 | 0.08 |  | 1"One Hole HW Strap
1 1/4"Flex Conduit | FLEX CONDUIT & FITTINGS |  | 1.25 | 0.038 |  | 1 1/4"Flex Conduit
1 1/4"Flex Conn | FLEX CONDUIT & FITTINGS |  | 2.8 | 0.08 |  | 1 1/4"Flex Conn
1 1/4"Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 3.87 | 0.1 |  | 1 1/4"Flex Conn,90
1 1/4"Flex Coup | FLEX CONDUIT & FITTINGS |  | 2.79 | 0.1 |  | 1 1/4"Flex Coup
1 1/4"Flex To Emt Coup | FLEX CONDUIT & FITTINGS |  | 3.9 | 0.1 |  | 1 1/4"Flex To Emt Coup
1 1/4"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.22 | 0.1 |  | 1 1/4"One Hole HW Strap
1 1/2"Flex Conduit | FLEX CONDUIT & FITTINGS |  | 1.9 | 0.039 |  | 1 1/2"Flex Conduit
1 1/2"Flex Conn | FLEX CONDUIT & FITTINGS |  | 3.76 | 0.08 |  | 1 1/2"Flex Conn
1 1/2"Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 11.56 | 0.15 |  | 1 1/2"Flex Conn,90
1 1/2"Flex Coup,screw-in | FLEX CONDUIT & FITTINGS |  | 3.48 | 0.1 |  | 1 1/2"Flex Coup,screw-in
1 1/2"Flex To Emt Coup | FLEX CONDUIT & FITTINGS |  | 14.05 | 0.1 |  | 1 1/2"Flex To Emt Coup
1 1/2"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.3 | 0.1 |  | 1 1/2"One Hole HW Strap
2"Flex Conduit | FLEX CONDUIT & FITTINGS |  | 2.21 | 0.041 |  | 2"Flex Conduit
2"Flex Conn,screw-in | FLEX CONDUIT & FITTINGS |  | 5.37 | 0.08 |  | 2"Flex Conn,screw-in
2"Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 15 | 0.2 |  | 2"Flex Conn,90
2"Flex Coup | FLEX CONDUIT & FITTINGS |  | 8.08 | 0.1 |  | 2"Flex Coup
2"Flex To Emt Coup | FLEX CONDUIT & FITTINGS |  | 2.94 | 0.1 |  | 2"Flex To Emt Coup
2"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.38 | 0.1 |  | 2"One Hole HW Strap
2 1/2"Flex Conduit | FLEX CONDUIT & FITTINGS |  | 2.93 | 0.05 |  | 2 1/2"Flex Conduit
2 1/2"Flex Conn st | FLEX CONDUIT & FITTINGS |  | 13.1 | 0.15 |  | 2 1/2"Flex Conn st
2 1/2"Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 30.66 | 0.25 |  | 2 1/2"Flex Conn,90
2 1/2 Flex To Emt Coup | FLEX CONDUIT & FITTINGS |  | 2.94 | 0.1 |  | 2 1/2 Flex To Emt Coup
2 1/2"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 1.29 | 0.15 |  | 2 1/2"One Hole HW Strap
3"Flex Conduit | FLEX CONDUIT & FITTINGS |  | 5.01 | 0.06 |  | 3"Flex Conduit
3"Flex Conn st | FLEX CONDUIT & FITTINGS |  | 14.8 | 0.2 |  | 3"Flex Conn st
3"Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 41.06 | 0.25 |  | 3"Flex Conn,90
3 Flex To Emt Coup | FLEX CONDUIT & FITTINGS |  | 2.94 | 0.1 |  | 3 Flex To Emt Coup
3"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 1.77 | 0.2 |  | 3"One Hole HW Strap
3 1/2 Flex Conduit | FLEX CONDUIT & FITTINGS |  | 5.54 | 0.06 |  | 3 1/2 Flex Conduit
3 1/2 Flex Conn st | FLEX CONDUIT & FITTINGS |  | 24.45 | 0.2 |  | 3 1/2 Flex Conn st
3 1/2 Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 103.17 | 0.25 |  | 3 1/2 Flex Conn,90
3 1/2 Flex To Emt Coup | FLEX CONDUIT & FITTINGS |  | 2.94 | 0.1 |  | 3 1/2 Flex To Emt Coup
3 1/2 One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 9.96 | 0.2 |  | 3 1/2 One Hole HW Strap
4"Flex Conduit | FLEX CONDUIT & FITTINGS |  | 6.31 | 0.06 |  | 4"Flex Conduit
4"Flex Conn | FLEX CONDUIT & FITTINGS |  | 24.45 | 0.2 |  | 4"Flex Conn
4"Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 103.17 | 0.25 |  | 4"Flex Conn,90
4 Flex To Emt Coup | FLEX CONDUIT & FITTINGS |  | 2.94 | 0.1 |  | 4 Flex To Emt Coup
4 One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 9.96 | 0.2 |  | 4 One Hole HW Strap
1/2"LiquidTite Flex,Non-Metallic | FLEX CONDUIT & FITTINGS |  | 0.44 | 0.03 |  | 1/2"LiquidTite Flex,Non-Metallic
1/2"LiquidTite Flex | FLEX CONDUIT & FITTINGS |  | 0.37 | 0.04 |  | 1/2"LiquidTite Flex
1/2"L.T. Flex Conn | FLEX CONDUIT & FITTINGS |  | 1.73 | 0.1 |  | 1/2"L.T. Flex Conn
1/2"L.T. Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 1.46 | 0.15 |  | 1/2"L.T. Flex Conn,90
1/2"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.12 | 0.03 |  | 1/2"One Hole HW Strap
1/2"L.T. Flex Conn,NM | FLEX CONDUIT & FITTINGS |  | 1 | 0.1 |  | 1/2"L.T. Flex Conn,NM
1/2"L.T. Flex Conn,90,NM | FLEX CONDUIT & FITTINGS |  | 1.55 | 0.15 |  | 1/2"L.T. Flex Conn,90,NM
3/4"LiquidTite Flex,Non-Metallic | FLEX CONDUIT & FITTINGS |  | 0.43 | 0.04 |  | 3/4"LiquidTite Flex,Non-Metallic
3/4"LiquidTite Flex | FLEX CONDUIT & FITTINGS |  | 0.55 | 0.045 |  | 3/4"LiquidTite Flex
3/4"L.T. Flex Conn | FLEX CONDUIT & FITTINGS |  | 1.44 | 0.1 |  | 3/4"L.T. Flex Conn
3/4"L.T. Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 2.25 | 0.15 |  | 3/4"L.T. Flex Conn,90
3/4"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.14 | 0.04 |  | 3/4"One Hole HW Strap
3/4"L.T. Flex Conn,NM | FLEX CONDUIT & FITTINGS |  | 1.37 | 0.1 |  | 3/4"L.T. Flex Conn,NM
3/4"L.T. Flex Conn,90,NM | FLEX CONDUIT & FITTINGS |  | 2.83 | 0.15 |  | 3/4"L.T. Flex Conn,90,NM
1"LiquidTite Flex,Non-Metallic | FLEX CONDUIT & FITTINGS |  | 0.65 | 0.04 |  | 1"LiquidTite Flex,Non-Metallic
1"LiquidTite Flex | FLEX CONDUIT & FITTINGS |  | 0.81 | 0.05 |  | 1"LiquidTite Flex
1"L.T. Flex Conn | FLEX CONDUIT & FITTINGS |  | 2.5 | 0.15 |  | 1"L.T. Flex Conn
1"L.T. Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 4.67 | 0.2 |  | 1"L.T. Flex Conn,90
1"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.19 | 0.04 |  | 1"One Hole HW Strap
1"L.T. Flex Conn,NM | FLEX CONDUIT & FITTINGS |  | 2.13 | 0.15 |  | 1"L.T. Flex Conn,NM
1"L.T. Flex Conn,90,NM | FLEX CONDUIT & FITTINGS |  | 5.03 | 0.2 |  | 1"L.T. Flex Conn,90,NM
1 1/4"LiquidTite Flex,Non-Metallic | FLEX CONDUIT & FITTINGS |  | 0.89 | 0.05 |  | 1 1/4"LiquidTite Flex,Non-Metallic
1 1/4"LiquidTite Flex | FLEX CONDUIT & FITTINGS |  | 1.08 | 0.06 |  | 1 1/4"LiquidTite Flex
1 1/4"L.T. Flex Conn | FLEX CONDUIT & FITTINGS |  | 3.97 | 0.1 |  | 1 1/4"L.T. Flex Conn
1 1/4"L.T. Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 7.08 | 0.25 |  | 1 1/4"L.T. Flex Conn,90
1 1/4"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.26 | 0.05 |  | 1 1/4"One Hole HW Strap
1 1/4"L.T. Flex Conn,NM | FLEX CONDUIT & FITTINGS |  | 3.5 | 0.1 |  | 1 1/4"L.T. Flex Conn,NM
1 1/2"LiquidTite Flex,Non-Metallic | FLEX CONDUIT & FITTINGS |  | 1.35 | 0.06 |  | 1 1/2"LiquidTite Flex,Non-Metallic
1 1/2"LiquidTite Flex | FLEX CONDUIT & FITTINGS |  | 1.59 | 0.07 |  | 1 1/2"LiquidTite Flex
1 1/2"L.T. Flex Conn | FLEX CONDUIT & FITTINGS |  | 5.77 | 0.2 |  | 1 1/2"L.T. Flex Conn
1 1/2"L.T. Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 9.85 | 0.25 |  | 1 1/2"L.T. Flex Conn,90
1 1/2"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.38 | 0.05 |  | 1 1/2"One Hole HW Strap
1 1/2"L.T. Flex Conn,NM | FLEX CONDUIT & FITTINGS |  | 1.84 | 0.2 |  | 1 1/2"L.T. Flex Conn,NM
2"LiquidTite Flex,Non-Metallic | FLEX CONDUIT & FITTINGS |  | 1.84 | 0.06 |  | 2"LiquidTite Flex,Non-Metallic
2"LiquidTite Flex | FLEX CONDUIT & FITTINGS |  | 1.95 | 0.09 |  | 2"LiquidTite Flex
2"L.T. Flex Conn | FLEX CONDUIT & FITTINGS |  | 8.83 | 0.25 |  | 2"L.T. Flex Conn
2"L.T. Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 14.9 | 0.3 |  | 2"L.T. Flex Conn,90
2"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 0.47 | 0.05 |  | 2"One Hole HW Strap
2"L.T. Flex Conn,NM | FLEX CONDUIT & FITTINGS |  | 12.1 | 0.25 |  | 2"L.T. Flex Conn,NM
2 1/2"LiquidTite Flex,Non Metallic | FLEX CONDUIT & FITTINGS |  | 4 | 0.25 |  | 2 1/2"LiquidTite Flex,Non Metallic
2 1/2"LiquidTite Flex | FLEX CONDUIT & FITTINGS |  | 3.57 | 0.11 |  | 2 1/2"LiquidTite Flex
2 1/2"L.T. Flex Conn | FLEX CONDUIT & FITTINGS |  | 35.21 | 0.25 |  | 2 1/2"L.T. Flex Conn
2 1/2"L.T. Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 46.71 | 0.3 |  | 2 1/2"L.T. Flex Conn,90
2 1/2"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 1.29 | 0.15 |  | 2 1/2"One Hole HW Strap
2 1/2"L.T. Flex Conn,NM | FLEX CONDUIT & FITTINGS |  | 35 | 0.25 |  | 2 1/2"L.T. Flex Conn,NM
3"LiquidTite Flex,Non Metallic | FLEX CONDUIT & FITTINGS |  | 4.5 | 0.15 |  | 3"LiquidTite Flex,Non Metallic
3"LiquidTite Flex | FLEX CONDUIT & FITTINGS |  | 4.95 | 0.15 |  | 3"LiquidTite Flex
3"L.T. Flex Conn | FLEX CONDUIT & FITTINGS |  | 45.36 | 0.3 |  | 3"L.T. Flex Conn
3"L.T. Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 57 | 0.4 |  | 3"L.T. Flex Conn,90
3"One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 1.77 | 0.2 |  | 3"One Hole HW Strap
3"L.T. Flex Conn,NM | FLEX CONDUIT & FITTINGS |  | 42 | 0.3 |  | 3"L.T. Flex Conn,NM
3 1/2 LiquidTite Flex,Non Metallic | FLEX CONDUIT & FITTINGS |  | 7.5 | 0.15 |  | 3 1/2 LiquidTite Flex,Non Metallic
1/2 LiquidTite Flex | FLEX CONDUIT & FITTINGS |  | 7.9 | 0.15 |  | 1/2 LiquidTite Flex
3 1/2 L.T. Flex Conn | FLEX CONDUIT & FITTINGS |  | 47.4 | 0.3 |  | 3 1/2 L.T. Flex Conn
3 1/2 L.T. Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 67 | 0.4 |  | 3 1/2 L.T. Flex Conn,90
3 1/2 One Hole HW Strap | FLEX CONDUIT & FITTINGS |  | 2.36 | 0.2 |  | 3 1/2 One Hole HW Strap
3 1/2 L.T. Flex Conn,NM | FLEX CONDUIT & FITTINGS |  | 45 | 0.3 |  | 3 1/2 L.T. Flex Conn,NM
4" LiquidTite Flex,Non Metallic | FLEX CONDUIT & FITTINGS |  | 7 | 0.15 |  | 4" LiquidTite Flex,Non Metallic
4"LiquidTite Flex | FLEX CONDUIT & FITTINGS |  | 7.37 | 0.15 |  | 4"LiquidTite Flex
4"L.T. Flex Conn | FLEX CONDUIT & FITTINGS |  | 57 | 0.3 |  | 4"L.T. Flex Conn
4"L.T. Flex Conn,90 | FLEX CONDUIT & FITTINGS |  | 72 | 0.4 |  | 4"L.T. Flex Conn,90
4"One Hole HW Strap |  |  | 4 | 0.2 |  | 4"One Hole HW Strap
4"L.T. Flex Conn,NM |  |  | 55 | 0.3 |  | 4"L.T. Flex Conn,NM
1/2"Electrical Non-Metallic Tubing | Electrical Non Metallic Tubing |  | 0.44 | 0.02 |  | 1/2"Electrical Non-Metallic Tubing
1/2"ENT Conn | Electrical Non Metallic Tubing |  | 0.69 | 0.03 |  | 1/2"ENT Conn
1/2"ENT Coup | Electrical Non Metallic Tubing |  | 0.76 | 0.02 |  | 1/2"ENT Coup
3/4"Electrical Non-Metallic Tubing | Electrical Non Metallic Tubing |  | 0.72 | 0.03 |  | 3/4"Electrical Non-Metallic Tubing
3/4"ENT Conn | Electrical Non Metallic Tubing |  | 1.29 | 0.03 |  | 3/4"ENT Conn
3/4"ENT Coup | Electrical Non Metallic Tubing |  | 0.96 | 0.02 |  | 3/4"ENT Coup
1"Electrical Non-Metallic Tubing | Electrical Non Metallic Tubing |  | 1.3 | 0.04 |  | 1"Electrical Non-Metallic Tubing
1"ENT Conn | Electrical Non Metallic Tubing |  | 0.96 | 0.03 |  | 1"ENT Conn
1"ENT Coup | Electrical Non Metallic Tubing |  | 0.96 | 0.02 |  | 1"ENT Coup
Boxes | [5 empty] | Boxes
4"Square Box,1-1/2"Deep 1/2 & 3/4 KO | Boxes |  | 0.55 | 0.123 |  | 4"Square Box,1-1/2"Deep 1/2 & 3/4 KO
4"Square Box,2-1/8"Deep 1/2 & 3/4 KO | Boxes |  | 0.55 | 0.123 |  | 4"Square Box,2-1/8"Deep 1/2 & 3/4 KO
4"Square Box,w/bracket 1/2 & 3/4 KO | Boxes |  | 0.8 | 0.123 |  | 4"Square Box,w/bracket 1/2 & 3/4 KO
4"Square Box Blank Cover | Boxes |  | 0.55 | 0.02 |  | 4"Square Box Blank Cover
Handy Box,1-1/2"Deep,Stl,1/2 KO | Boxes |  | 0.75 | 0.12 |  | Handy Box,1-1/2"Deep,Stl,1/2 KO
Handy Box,1-1/2"Deep,Stl,3/4 KO | Boxes |  | 0.77 | 0.12 |  | Handy Box,1-1/2"Deep,Stl,3/4 KO
Handy Box,2-1/8"Deep,Stl,1/2 KO | Boxes |  | 0.72 | 0.12 |  | Handy Box,2-1/8"Deep,Stl,1/2 KO
Handy Box,2-1/8"Deep,Stl,3/4 KO | Boxes |  | 0.79 | 0.12 |  | Handy Box,2-1/8"Deep,Stl,3/4 KO
Handy Box,Stl w/Bracket | Boxes |  | 1.08 | 0.12 |  | Handy Box,Stl w/Bracket
1 Gang Switch Box w/Brkt,Stl | Boxes |  | 1.08 | 0.15 |  | 1 Gang Switch Box w/Brkt,Stl
2 Gang Switch Box w/Brkt,Stl | Boxes |  | 2.5 | 0.15 |  | 2 Gang Switch Box w/Brkt,Stl
3.5
3"Octagon Box,Stl | Boxes |  | 0.65 | 0.15 |  | 3"Octagon Box,Stl
3"Octagon Box,Stl w/Bracket | Boxes |  | 1.44 | 0.15 |  | 3"Octagon Box,Stl w/Bracket
4"Octagon Box,Stl | Boxes |  | 0.63 | 0.15 |  | 4"Octagon Box,Stl
4"Octagon Box,Stl w/Bracket | Boxes |  | 1.52 | 0.15 |  | 4"Octagon Box,Stl w/Bracket
4"Octagon Extension,Stl,1/2KO | Boxes |  | 1.48 | 0.06 |  | 4"Octagon Extension,Stl,1/2KO
4"Octagon Extension,Stl,1/2&3/4KO | Boxes |  | 2.06 | 0.06 |  | 4"Octagon Extension,Stl,1/2&3/4KO
Swivel Hanger,4"Octagon,1/2"Hub | Boxes |  | 10 | 0.06 |  | Swivel Hanger,4"Octagon,1/2"Hub
Swivel Hanger,4"Octagon,3/4"Hub | Boxes |  | 10 | 0.06 |  | Swivel Hanger,4"Octagon,3/4"Hub
4-11/16 Box,1-1/2"Deep,Stl 1/2 & 3/4 KO | Boxes |  | 1.01 | 0.2 |  | 4-11/16 Box,1-1/2"Deep,Stl 1/2 & 3/4 KO
4-11/16 Box,2-1/8"Deep,Stl. 1/2 & 3/4 KO | Boxes |  | 1.76 | 0.2 |  | 4-11/16 Box,2-1/8"Deep,Stl. 1/2 & 3/4 KO
4-11/16 Box,Blank Cover | Boxes |  | 0.33 | 0.02 |  | 4-11/16 Box,Blank Cover
1 Gang Masonry Wall Box,2-1/2"Deep | Boxes |  | 1.74 | 0.15 |  | 1 Gang Masonry Wall Box,2-1/2"Deep
2 Gang Masonry Wall Box,2-1/2"Deep | Boxes |  | 2.01 | 0.15 |  | 2 Gang Masonry Wall Box,2-1/2"Deep
3 Gang Masonry Wall Box,2-1/2"Deep | Boxes |  | 3.74 | 0.15 |  | 3 Gang Masonry Wall Box,2-1/2"Deep
4 Gang Masonry Wall Box,2-1/2"Deep | Boxes |  | 7 | 0.23 |  | 4 Gang Masonry Wall Box,2-1/2"Deep
1 Gang Masonry Wall Box,3-1/2"Deep | Boxes |  | 1.9 | 0.15 |  | 1 Gang Masonry Wall Box,3-1/2"Deep
2 Gang Masonry Wall Box,3-1/2"Deep | Boxes |  | 2.3 | 0.15 |  | 2 Gang Masonry Wall Box,3-1/2"Deep
3 Gang Masonry Wall Box,3-1/2"Deep | Boxes |  | 4.9 | 0.15 |  | 3 Gang Masonry Wall Box,3-1/2"Deep
4 Gang Masonry Wall Box,3-1/2"Deep | Boxes |  | 7.5 | 0.23 |  | 4 Gang Masonry Wall Box,3-1/2"Deep
Octagon Masonry Box,3"Deep | Boxes |  | 3.2 | 0.17 |  | Octagon Masonry Box,3"Deep
Octagon Masonry Box,4"Deep | Boxes |  | 3.87 | 0.17 |  | Octagon Masonry Box,4"Deep
4"Round Nailer Box,Plastic | Boxes |  | 1.61 | 0.15 |  | 4"Round Nailer Box,Plastic
4"Round Box,Plastic w/Bar Hanger | Boxes |  | 1.82 | 0.17 |  | 4"Round Box,Plastic w/Bar Hanger
1 Gang Nailer Box,Plastic 18CU | Boxes |  | 0.25 | 0.12 |  | 1 Gang Nailer Box,Plastic 18CU
2 Gang Nailer Box,Plastic | Boxes |  | 0.89 | 0.15 |  | 2 Gang Nailer Box,Plastic
3 Gang Nailer Box,Plastic | Boxes |  | 1.3 | 0.17 |  | 3 Gang Nailer Box,Plastic
4 Gang Nailer Box,Plastic | Boxes |  | 2.85 | 0.2 |  | 4 Gang Nailer Box,Plastic
Handy Box,Plastic | Boxes |  | 1 | 0.12 |  | Handy Box,Plastic
4"Square Box,Plastic w/Bracket | Boxes |  | 1.35 | 0.15 |  | 4"Square Box,Plastic w/Bracket
1 Gang Cut-In Box,Plastic | Boxes |  | 1.42 | 0.25 |  | 1 Gang Cut-In Box,Plastic
2 Gang Cut-In Box,Plastic | Boxes |  | 3.03 | 0.3 |  | 2 Gang Cut-In Box,Plastic
4"Round Cut-In Box,Plastic | Boxes |  | 2.1 | 0.25 |  | 4"Round Cut-In Box,Plastic
1 Gang Cut-In Box,Gangable,Stl, W/Ears | Boxes |  | 3 | 0.25 |  | 1 Gang Cut-In Box,Gangable,Stl, W/Ears
Madison Straps | Boxes |  | 0.33 | 0.02 |  | Madison Straps
1-Gang Plaster Ring 1/4" Rise | Plaster Rings |  | 0.34 |  |  | 1-Gang Plaster Ring 1/4" Rise
2-Gang Plaster Ring 1/4" Rise | Plaster Rings |  | 0.51 |  |  | 2-Gang Plaster Ring 1/4" Rise
1-Gang Plaster Ring 1/2"Rise | Plaster Rings |  | 0.32 |  |  | 1-Gang Plaster Ring 1/2"Rise
2-Gang Plaster Ring 1/2"Rise | Plaster Rings |  | 0.36 |  |  | 2-Gang Plaster Ring 1/2"Rise
1-Gang Plaster Ring 5/8 Rise | Plaster Rings |  | 0.55 |  |  | 1-Gang Plaster Ring 5/8 Rise
2-Gang Plaster Ring 5/8"Rise | Plaster Rings |  | 0.54 |  |  | 2-Gang Plaster Ring 5/8"Rise
1-Gang Plaster Ring 3/4 Rise | Plaster Rings |  | 0.49 |  |  | 1-Gang Plaster Ring 3/4 Rise
2-Gang Plaster Ring 3/4 Rise | Plaster Rings |  | 0.72 |  |  | 2-Gang Plaster Ring 3/4 Rise
1-Gang Plaster Ring 2" Rise | Plaster Rings |  | 1.46 |  |  | 1-Gang Plaster Ring 2" Rise
2-Gang Plaster Ring 2" Rise | Plaster Rings |  | 2.28 |  |  | 2-Gang Plaster Ring 2" Rise
1 Gang Switch Plate,Plastic | PLATES/Plastic |  | 0.19 | 0.03 |  | 1 Gang Switch Plate,Plastic
2 Gang Switch Plate,Plastic | PLATES/Plastic |  | 0.37 | 0.03 |  | 2 Gang Switch Plate,Plastic
3 Gang Switch Plate,Plastic | PLATES/Plastic |  | 0.55 | 0.04 |  | 3 Gang Switch Plate,Plastic
4 Gang Switch Plate,Plastic | PLATES/Plastic |  | 0.94 | 0.04 |  | 4 Gang Switch Plate,Plastic
5 Gang Switch Plate,Plastic | PLATES/Plastic |  | 6.01 | 0.05 |  | 5 Gang Switch Plate,Plastic
6 Gang Switch Plate,Plastic | PLATES/Plastic |  | 6.98 | 0.06 |  | 6 Gang Switch Plate,Plastic
1 Gang Blank Plate,Plastic | PLATES/Plastic |  | 0.19 | 0.03 |  | 1 Gang Blank Plate,Plastic
2 Gang Blank Plate,Plastic | PLATES/Plastic |  | 1.72 | 0.035 |  | 2 Gang Blank Plate,Plastic
1 Gang Switch Plate,Lexan | PLATES/Lexan |  | 0.9 | 0.03 |  | 1 Gang Switch Plate,Lexan
2 Gang Switch Plate,Lexan | PLATES/Lexan |  | 1.77 | 0.03 |  | 2 Gang Switch Plate,Lexan
3 Gang Switch Plate,Lexan | PLATES/Lexan |  | 2.64 | 0.04 |  | 3 Gang Switch Plate,Lexan
4 Gang Switch Plate,Lexan | PLATES/Lexan |  | 6.47 | 0.04 |  | 4 Gang Switch Plate,Lexan
5 Gang Switch Plate,Lexan | PLATES/Lexan |  | 9.53 | 0.05 |  | 5 Gang Switch Plate,Lexan
6 Gang Switch Plate,Lexan | PLATES/Lexan |  | 12 | 0.06 |  | 6 Gang Switch Plate,Lexan
1 Gang Receptacle Plate,Plastic | PLATES/Plastic |  | 0.19 | 0.03 |  | 1 Gang Receptacle Plate,Plastic
2 Gang Receptacle Plate,Plastic | PLATES/Plastic |  | 0.37 | 0.03 |  | 2 Gang Receptacle Plate,Plastic
1 Gang Receptacle Plate,Lexan | PLATES/Lexan |  | 0.25 | 0.03 |  | 1 Gang Receptacle Plate,Lexan
2 Gang Receptacle Plate,Lexan | PLATES/Lexan |  | 0.43 | 0.03 |  | 2 Gang Receptacle Plate,Lexan
1 Gang Switch Plate,Stainless | PLATES/Stainless |  | 0.9 | 0.03 |  | 1 Gang Switch Plate,Stainless
2 Gang Switch Plate,Stainless | PLATES/Stainless |  | 1.77 | 0.03 |  | 2 Gang Switch Plate,Stainless
3 Gang Switch Plate,Stainless | PLATES/Stainless |  | 2.64 | 0.04 |  | 3 Gang Switch Plate,Stainless
4 Gang Switch Plate,Stainless | PLATES/Stainless |  | 6.47 | 0.04 |  | 4 Gang Switch Plate,Stainless
5 Gang Switch Plate,Stainless | PLATES/Stainless |  | 9.53 | 0.05 |  | 5 Gang Switch Plate,Stainless
6 Gang Switch Plate,Stainless | PLATES/Stainless |  | 11.45 | 0.06 |  | 6 Gang Switch Plate,Stainless
1 Gang Receptacle Plate,Stainless | PLATES/Stainless |  | 0.9 | 0.03 |  | 1 Gang Receptacle Plate,Stainless
2 Gang Receptacle Plate,Stainless | PLATES/Stainless |  | 1.77 | 0.03 |  | 2 Gang Receptacle Plate,Stainless
1 Gang Dryer Plate,Plastic | Plates |  | 0.63 | 0.03 |  | 1 Gang Dryer Plate,Plastic
1 Gang Range Plate,Plastic | Plates |  | 1.33 | 0.03 |  | 1 Gang Range Plate,Plastic
1 Gang Dryer & Recpt Cover,Chrome | Plates |  | 1.45 | 0.03 |  | 1 Gang Dryer & Recpt Cover,Chrome
1 Gang Range Cover,Chrome | Plates |  | 1.71 | 0.035 |  | 1 Gang Range Cover,Chrome
Handy Box Receptacle Cover | Plates |  | 0.21 | 0.03 |  | Handy Box Receptacle Cover
Handy Box Switch Cover | Plates |  | 0.19 | 0.03 |  | Handy Box Switch Cover
Handy Box Blank Cover | Plates |  | 0.21 | 0.03 |  | Handy Box Blank Cover
4"Square Blank Cover,Stl | Plates |  | 0.33 | 0.05 |  | 4"Square Blank Cover,Stl
4 11/16 Blank Cover,Stl | Plates |  | 0.37 | 0.05 |  | 4 11/16 Blank Cover,Stl
4"Round Oct.Blank Cover | Plates |  | 0.24 | 0.05 |  | 4"Round Oct.Blank Cover
5"Round Decorator Blank Cover | Plates |  | 3.14 | 0.05 |  | 5"Round Decorator Blank Cover
1 Gang Switch Cover,W/P | Plates |  | 3.14 | 0.08 |  | 1 Gang Switch Cover,W/P
Rectangle Receptacle Cover,W/P | Plates |  | 1.68 | 0.1 |  | Rectangle Receptacle Cover,W/P
Rectangle Blank Cover,W/P | Plates |  | 0.64 | 0.05 |  | Rectangle Blank Cover,W/P
2 Gang Blank Cover,W/P | Plates |  | 1.44 | 0.1 |  | 2 Gang Blank Cover,W/P
GFI Outlet Cover,W/P In Use | Plates |  | 11 | 0.08 |  | GFI Outlet Cover,W/P In Use
GFI Outlet Cover,PVC,W/P | Plates |  | 3.8 | 0.1 |  | GFI Outlet Cover,PVC,W/P
PVC Floor Box | Plates |  | 325 | 2.75 |  | PVC Floor Box
PVC Floor Box Receptacle Cover | Plates |  | 15 |  |  | PVC Floor Box Receptacle Cover
PVC Floor Box Data Cover | Plates |  | 15 |  |  | PVC Floor Box Data Cover
Steel Floor Box For Receptacle | Plates |  | 85 |  |  | Steel Floor Box For Receptacle
Brass Floor Box Cover | Plates |  | 47 |  |  | Brass Floor Box Cover
Carpet Flange | Plates |  | 11 |  |  | Carpet Flange
Steel Floor Box 2-Gang | Plates |  | 85 |  |  | Steel Floor Box 2-Gang
Brass Floor Box Cover 2 Gang | Plates |  | 40 |  |  | Brass Floor Box Cover 2 Gang
Carpet Flange for 2 Gang Floor Box | Plates |  | 11.46 |  |  | Carpet Flange for 2 Gang Floor Box
DECORA STYLE PLATES | [5 empty] | DECORA STYLE PLATES
1 Gang Switch Plate,Decora |  |  | 0.2 | 0.03 |  | 1 Gang Switch Plate,Decora
2 Gang Switch Plate,Decora |  |  | 0.4 | 0.03 |  | 2 Gang Switch Plate,Decora
3 Gang Switch Plate,Decora |  |  | 0.6 | 0.04 |  | 3 Gang Switch Plate,Decora
4 Gang Switch Plate,Decora |  |  | 1 | 0.04 |  | 4 Gang Switch Plate,Decora
5 Gang Switch Plate,Decora |  |  | 10 | 0.05 |  | 5 Gang Switch Plate,Decora
6 Gang Switch Plate,Decora |  |  | 12.5 | 0.06 |  | 6 Gang Switch Plate,Decora
15A Decora,Duplex Recpt 5-15R |  |  | 1.21 | 0.13 |  | 15A Decora,Duplex Recpt 5-15R
20A Decora,Duplex Recpt 5-15R |  |  | 7.14 | 0.15 |  | 20A Decora,Duplex Recpt 5-15R
15A Decora,Combo Recpt & Switch |  |  | 12.64 | 0.2 |  | 15A Decora,Combo Recpt & Switch
1 Gang Receptacle Plate,Decora |  |  | 0.28 | 0.03 |  | 1 Gang Receptacle Plate,Decora
2 Gang Receptacle Plate,Decora |  |  | 0.28 | 0.03 |  | 2 Gang Receptacle Plate,Decora
In-Use-Cvr GFI |  |  | 17.04 | 0.1 |  | In-Use-Cvr GFI
In-Use-Cvr Receptacle |  |  | 17.04 | 0.1 |  | In-Use-Cvr Receptacle
In-Use-Cvr Switch |  |  | 17.19 | 0.1 |  | In-Use-Cvr Switch
In-Use-Cvr 2-Gang Switch |  |  | 20 |  |  | In-Use-Cvr 2-Gang Switch
In-Use-Cvr 2G Dplx |  |  | 19 | 0.1 |  | In-Use-Cvr 2G Dplx
In-Use-Cvr 50A Recpt |  |  | 19.98 | 0.1 |  | In-Use-Cvr 50A Recpt
P & S GFI cover ( Lockable) WP 26L |  |  | 46 | 0.15 |  | P & S GFI cover ( Lockable) WP 26L
P & S GFI 4600-26 ( Recessed Locable) |  |  | 165 | 1 |  | P & S GFI 4600-26 ( Recessed Locable)
15A GFI Recpt Res Grade |  |  | 11 | 0.2 |  | 15A GFI Recpt Res Grade
15A Duplex Recpt 5-15R,Res Grade |  |  | 0.56 | 0.27 |  | 15A Duplex Recpt 5-15R,Res Grade
15A Single Recpt 5-15R,Res Grade |  |  | 6 | 0.27 |  | 15A Single Recpt 5-15R,Res Grade
20A Single Recpt 5-20R,Res Grade |  |  | 3.48 | 0.27 |  | 20A Single Recpt 5-20R,Res Grade
20A GFI Recpt Res Grade |  |  | 13 | 0.25 |  | 20A GFI Recpt Res Grade
20A Duplex Recpt 5-20R,Res Grade |  |  | 1.27 | 0.27 |  | 20A Duplex Recpt 5-20R,Res Grade
15A,250V,Single Recpt 6-15R,Res Grade |  |  | 2.5 | 0.27 |  | 15A,250V,Single Recpt 6-15R,Res Grade
20A,250V,Single Recpt 6-20R,Res Grade |  |  | 10.15 | 0.27 |  | 20A,250V,Single Recpt 6-20R,Res Grade
15A,250V,Duplex Recpt 6-15R,Res Grade |  |  | 11.22 | 0.27 |  | 15A,250V,Duplex Recpt 6-15R,Res Grade
20A,250V,Duplex Recpt 6-20R,Res Grade |  |  | 4 | 0.27 |  | 20A,250V,Duplex Recpt 6-20R,Res Grade
15A Clock Hanger Recpt |  |  | 11 | 0.2 |  | 15A Clock Hanger Recpt
15A Single Recpt,Comm Grade 5-15R |  |  | 1.5 | 0.27 |  | 15A Single Recpt,Comm Grade 5-15R
15A Duplex Recpt,Comm Grade 5-15R |  |  | 1.5 | 0.27 |  | 15A Duplex Recpt,Comm Grade 5-15R
20A Single Recpt,Comm Grade 5-20R |  |  | 7.11 | 0.27 |  | 20A Single Recpt,Comm Grade 5-20R
20A Duplex Recpt,Comm Grade 5-20R |  |  | 2.55 | 0.27 |  | 20A Duplex Recpt,Comm Grade 5-20R
15A,250V,Duplex Recpt 6-15R,Comm Grade |  |  | 11.96 | 0.27 |  | 15A,250V,Duplex Recpt 6-15R,Comm Grade
15A,250V,Single Recpt 6-15R,Comm Grade |  |  | 10.08 | 0.27 |  | 15A,250V,Single Recpt 6-15R,Comm Grade
20A,250V,Single Recpt 6-20R,Comm Grade |  |  | 11.47 | 0.27 |  | 20A,250V,Single Recpt 6-20R,Comm Grade
20A,250V,Duplex Recpt 6-20R,Comm Grade |  |  | 15.56 | 0.27 |  | 20A,250V,Duplex Recpt 6-20R,Comm Grade
15A GFI Recpt,Hosp Grade |  |  |  | 0.3 |  | 15A GFI Recpt,Hosp Grade
15A Single Recpt Hosp Grade 5-15R |  |  | 10.99 | 0.27 |  | 15A Single Recpt Hosp Grade 5-15R
15A Duplex Recpt Hosp Grade 5-15R |  |  | 19.64 | 0.27 |  | 15A Duplex Recpt Hosp Grade 5-15R
15A Isolated Grnd Hosp Grade 5-15R |  |  |  | 0.25 |  | 15A Isolated Grnd Hosp Grade 5-15R
20A Single Recpt Hosp Grade 5-20R |  |  | 14.36 | 0.27 |  | 20A Single Recpt Hosp Grade 5-20R
20A Duplex Recpt Hosp Grade 5-20R |  |  | 13.58 | 0.27 |  | 20A Duplex Recpt Hosp Grade 5-20R
20A Isolated Grnd Hosp Grade 5-15R |  |  | 20.22 | 0.25 |  | 20A Isolated Grnd Hosp Grade 5-15R
20A GFI Recpt,Hosp Grade |  |  | 39.49 | 0.3 |  | 20A GFI Recpt,Hosp Grade
20A GFI Recpt,Hosp Grade w/Red Light |  |  | 30 | 0.3 |  | 20A GFI Recpt,Hosp Grade w/Red Light
3Wire-30A 125/250v,Dryer Recpt |  |  | 10.79 | 0.25 |  | 3Wire-30A 125/250v,Dryer Recpt
4Wire-30A 125/250v,Power Recpt |  |  | 13.64 | 0.25 |  | 4Wire-30A 125/250v,Power Recpt
3Wire-30A 125v,Trailer Recpt |  |  | 8.99 | 0.25 |  | 3Wire-30A 125v,Trailer Recpt
3Wire-50A 250v,Range Recpt |  |  | 9.84 | 0.4 |  | 3Wire-50A 250v,Range Recpt
4Wire-50A 125/250v,Power Recpt |  |  | 15 | 0.4 |  | 4Wire-50A 125/250v,Power Recpt
15A,125V,Lock Single Recpt L5-15R |  |  | 10 | 0.2 |  | 15A,125V,Lock Single Recpt L5-15R
15A,250V,Lock Single Recpt L6-15R |  |  | 12.58 | 0.2 |  | 15A,250V,Lock Single Recpt L6-15R
20A,250V,Lock Single Recpt L6-20R |  |  | 11.29 | 0.2 |  | 20A,250V,Lock Single Recpt L6-20R
20A,125V,Lock Single Recpt L5-20R |  |  | 11.24 | 0.2 |  | 20A,125V,Lock Single Recpt L5-20R
20A,125/250V,Lock Single Rec L14-20R |  |  |  | 0.25 |  | 20A,125/250V,Lock Single Rec L14-20R
20A,3p 250V,Lock Single Rec L14-20R |  |  | 15.63 | 0.3 |  | 20A,3p 250V,Lock Single Rec L14-20R
30A,125V,Lock Single Recpt L5-30R |  |  | 15.98 | 0.2 |  | 30A,125V,Lock Single Recpt L5-30R
30A,250V,Lock Single Recpt L6-30R |  |  | 17.26 | 0.2 |  | 30A,250V,Lock Single Recpt L6-30R
30A,125/250V,Lock Single Rec L14-30R |  |  | 24.74 | 0.25 |  | 30A,125/250V,Lock Single Rec L14-30R
30A,3p 250V,Lock Single Rec L14-30R |  |  | 17 | 0.3 |  | 30A,3p 250V,Lock Single Rec L14-30R
15A,125V Single Recpt Orange Iso Grnd |  |  | 19.5 | 0.25 |  | 15A,125V Single Recpt Orange Iso Grnd
15A,250V Single Recpt Orange Iso Grnd |  |  | 17.09 | 0.25 |  | 15A,250V Single Recpt Orange Iso Grnd
15A,125V Dplx Recpt Orange Iso Grnd |  |  | 22.89 | 0.25 |  | 15A,125V Dplx Recpt Orange Iso Grnd
20A,125V Dplx Recpt Orange Iso Grnd |  |  | 6 | 0.25 |  | 20A,125V Dplx Recpt Orange Iso Grnd
SWITCHES | [5 empty] | SWITCHES
15A SPST Switch,Residential Grade |  |  | 0.57 | 0.27 |  | 15A SPST Switch,Residential Grade
15A SPST Switch w/grnd,Resident Grade |  |  | 0.88 | 0.27 |  | 15A SPST Switch w/grnd,Resident Grade
Combo 2-SPST Stack Switch |  |  | 11.88 | 0.27 |  | Combo 2-SPST Stack Switch
Combo SPST/3-Way Stack Switch |  |  | 14 | 0.27 |  | Combo SPST/3-Way Stack Switch
Combo Two 3-Way Stack Switch |  |  | 17 | 0.3 |  | Combo Two 3-Way Stack Switch
Combo Receptacle & Switch |  |  | 10 | 0.25 |  | Combo Receptacle & Switch
15A 3-Way Switch,Residential Grade |  |  | 0.95 | 0.27 |  | 15A 3-Way Switch,Residential Grade
15A 4-Way Switch,Residential Grade |  |  | 6.65 | 0.27 |  | 15A 4-Way Switch,Residential Grade
15A DPST Switch,Residential Grade |  |  | 8.16 | 0.27 |  | 15A DPST Switch,Residential Grade
20A DPST Switch,Residential Grade |  |  | 5.35 | 0.27 |  | 20A DPST Switch,Residential Grade
Combo SPST Switch & Pilot Light |  |  | 4 | 0.27 |  | Combo SPST Switch & Pilot Light
Combo 3-Way Switch & Pilot Light |  |  | 6 | 0.3 |  | Combo 3-Way Switch & Pilot Light
15A SPST Decora Switch |  |  | 1.8 | 0.12 |  | 15A SPST Decora Switch
15A 3-Way Decora Switch |  |  | 2.57 | 0.14 |  | 15A 3-Way Decora Switch
15A 4-Way Decora Switch |  |  | 13.04 | 0.25 |  | 15A 4-Way Decora Switch
15A SPST Decora Illuminated Switch |  |  | 11.19 | 0.12 |  | 15A SPST Decora Illuminated Switch
15A 3-Way Decora Illuminated Switch |  |  | 11 | 0.14 |  | 15A 3-Way Decora Illuminated Switch
15A Decora,Combo Receptacle & Switch |  |  | 17.36 | 0.25 |  | 15A Decora,Combo Receptacle & Switch
15A 2-SPST Decora Stack Switch |  |  | 5.75 | 0.25 |  | 15A 2-SPST Decora Stack Switch
20A SPST Decora Switch |  |  | 1.8 | 0.15 |  | 20A SPST Decora Switch
20A 3-Way Decora Switch |  |  | 2.77 | 0.2 |  | 20A 3-Way Decora Switch
|  |  | 0 | 0
15A SPST Switch,Comm Grade |  |  | 1.5 | 0.27 |  | 15A SPST Switch,Comm Grade
15A 3-Way Switch,Comm Grade |  |  | 2.24 | 0.27 |  | 15A 3-Way Switch,Comm Grade
15A 4-Way Switch,Comm Grade |  |  | 10 | 0.28 |  | 15A 4-Way Switch,Comm Grade
15A DPST Switch,Comm Grade |  |  | 5.5 | 0.28 |  | 15A DPST Switch,Comm Grade
20A SPST Switch,Comm Grade |  |  | 1.8 | 0.27 |  | 20A SPST Switch,Comm Grade
20A 3-Way Switch,Comm Grade |  |  | 2.71 | 0.27 |  | 20A 3-Way Switch,Comm Grade
20A 4-Way Switch,Comm Grade |  |  | 13.29 | 0.3 |  | 20A 4-Way Switch,Comm Grade
20A DPST Switch,Comm Grade |  |  | 10.42 | 0.3 |  | 20A DPST Switch,Comm Grade
30A SPST Switch,Comm Grade |  |  | 14.47 | 0.27 |  | 30A SPST Switch,Comm Grade
30A 3-Way Switch,Comm Grade |  |  | 18.56 | 0.27 |  | 30A 3-Way Switch,Comm Grade
30A DPST Switch,Comm Grade |  |  | 26.14 | 0.27 |  | 30A DPST Switch,Comm Grade
15A SPST Key Switch,Comm Grade |  |  | 13.5 | 0.27 |  | 15A SPST Key Switch,Comm Grade
15A 3-Way Key Switch,Comm Grade |  |  | 19 | 0.27 |  | 15A 3-Way Key Switch,Comm Grade
15A 4-Way Key Switch,Comm Grade |  |  | 31.75 | 0.27 |  | 15A 4-Way Key Switch,Comm Grade
15A DPST Key Switch,Comm Grade |  |  | 28 | 0.27 |  | 15A DPST Key Switch,Comm Grade
20A SPST Key Switch,Comm Grade |  |  | 29.8 | 0.27 |  | 20A SPST Key Switch,Comm Grade
20A 3-Way Key Switch,Comm Grade |  |  | 40 | 0.27 |  | 20A 3-Way Key Switch,Comm Grade
20A 4-Way Key Switch,Comm Grade |  |  | 49 | 0.27 |  | 20A 4-Way Key Switch,Comm Grade
20A DPST Key Switch,Comm Grade |  |  | 15.49 | 0.27 |  | 20A DPST Key Switch,Comm Grade
15A SPST Lighted Handle Switch |  |  | 14.26 | 0.15 |  | 15A SPST Lighted Handle Switch
15A 3-Way Lighted Handle Switch |  |  | 19.58 | 0.2 |  | 15A 3-Way Lighted Handle Switch
20A SPST Lighted Handle Switch |  |  | 11.1 | 0.15 |  | 20A SPST Lighted Handle Switch
20A 3-Way Lighted Handle Switch |  |  | 21 | 0.2 |  | 20A 3-Way Lighted Handle Switch
30A SPST Lighted Handle Switch |  |  | 24.1 | 0.15 |  | 30A SPST Lighted Handle Switch
|  |  | 0 | 0
Time Clock 120v |  |  | 50 | 1 |  | Time Clock 120v
Motor rated Switch |  |  | 24 | 0.25 |  | Motor rated Switch
15A SP Switch,Heavy Duty 277V |  |  | 3.5 | 0.12 |  | 15A SP Switch,Heavy Duty 277V
15A 3-Way Switch,Heavy Duty 277V |  |  | 8.4 | 0.18 |  | 15A 3-Way Switch,Heavy Duty 277V
15A 4-Way Switch,Heavy Duty 277V |  |  | 21.91 | 0.28 |  | 15A 4-Way Switch,Heavy Duty 277V
20A SP Switch,Heavy Duty 277V |  |  | 8.96 | 0.12 |  | 20A SP Switch,Heavy Duty 277V
20 A 3WAY Switch,Heavy Duty277V |  |  | 9.63 | 0.18 |  | 20 A 3WAY Switch,Heavy Duty277V
20A 4WAY Switch,Heavy Duty 277V |  |  | 25.38 | 0.28 |  | 20A 4WAY Switch,Heavy Duty 277V
15A DP Switch,Heavy Duty 277V |  |  | 9.35 | 0.28 |  | 15A DP Switch,Heavy Duty 277V
20A DP Switch,Heavy Duty 277V |  |  | 10.36 | 0.28 |  | 20A DP Switch,Heavy Duty 277V
PE Cell 2000 watt |  |  | 10 | 1.15 |  | PE Cell 2000 watt
Mulberry Switch 1 Gang |  |  | 0.42 | 0.03 |  | Mulberry Switch 1 Gang
Mulberry 2 Gang Switch Plate |  |  | 0.75 | 0.03 |  | Mulberry 2 Gang Switch Plate
PS-CS120I 20a 277V 1P Switch |  |  | 2.85 | 0.28 |  | PS-CS120I 20a 277V 1P Switch
PS-CS320I 20A 277V 3P Switch |  |  | 5 | 0.28 |  | PS-CS320I 20A 277V 3P Switch
PS-CS420A 277V 4P Switch |  |  | 12.75 | 0.3 |  | PS-CS420A 277V 4P Switch
600 Watt Rotary Dimmer |  |  | 5 | 0.15 |  | 600 Watt Rotary Dimmer
1000 Watt Rotary Dimmer |  |  | 34.39 | 0.25 |  | 1000 Watt Rotary Dimmer
1500 Watt Rotary Dimmer |  |  | 65 | 0.3 |  | 1500 Watt Rotary Dimmer
2000 Watt Rotary Dimmer |  |  | 95 | 0.35 |  | 2000 Watt Rotary Dimmer
600 Watt 3-Way Rotary Dimmer |  |  | 9.3 | 0.22 |  | 600 Watt 3-Way Rotary Dimmer
1000 Watt 3-Way Rotary Dimmer |  |  | 47 | 0.27 |  | 1000 Watt 3-Way Rotary Dimmer
1500 Watt 3-Way Rotary Dimmer |  |  | 119.89 | 0.3 |  | 1500 Watt 3-Way Rotary Dimmer
Rotary Dimmer Knobs-White |  |  | 1.12 | 0.015 |  | Rotary Dimmer Knobs-White
600 Watt Dimmer,Lutron |  |  | 5.66 | 0.15 |  | 600 Watt Dimmer,Lutron
1000 Watt Dimmer,Lutron |  |  | 41.98 | 0.25 |  | 1000 Watt Dimmer,Lutron
1500 Watt Dimmer,Lutron |  |  | 71 | 0.3 |  | 1500 Watt Dimmer,Lutron
2000 Watt Dimmer,Lutron |  |  | 122.01 | 0.35 |  | 2000 Watt Dimmer,Lutron
600 Watt 3-Way Dimmer,Lutron |  |  | 11 | 0.15 |  | 600 Watt 3-Way Dimmer,Lutron
1000 Watt 3-Way Dimmer,Lutron |  |  | 49 | 0.25 |  | 1000 Watt 3-Way Dimmer,Lutron
1500 Watt 3-Way Dimmer,Lutron |  |  | 119.75 | 0.3 |  | 1500 Watt 3-Way Dimmer,Lutron
600 Watt Dimmer,Decora |  |  | 8 | 0.15 |  | 600 Watt Dimmer,Decora
1000 Watt Dimmer,Decora |  |  | 35 | 0.25 |  | 1000 Watt Dimmer,Decora
1500 Watt Dimmer,Decora |  |  | 65 | 0.3 |  | 1500 Watt Dimmer,Decora
2000 Watt Dimmer,Decora |  |  | 95 | 0.3 |  | 2000 Watt Dimmer,Decora
600 Watt 3-Way Dimmer,Decora |  |  | 11 | 0.15 |  | 600 Watt 3-Way Dimmer,Decora
1000 Watt 3-Way Dimmer,Decora |  |  | 48 | 0.25 |  | 1000 Watt 3-Way Dimmer,Decora
1500 Watt 3-Way Dimmer,Decora |  |  | 122 | 0.3 |  | 1500 Watt 3-Way Dimmer,Decora
2000 Watt 3-Way Dimmer,Decora |  |  | 160.64 | 0.3 |  | 2000 Watt 3-Way Dimmer,Decora
SP 20W Lamps Fluorescent Dimmer |  |  | 119.52 | 0.6 |  | SP 20W Lamps Fluorescent Dimmer
SP 30W Lamps Fluorescent Dimmer |  |  | 211.49 | 0.7 |  | SP 30W Lamps Fluorescent Dimmer
SP 40W Lamps Fluorescent Dimmer |  |  | 282.29 | 0.8 |  | SP 40W Lamps Fluorescent Dimmer
|  |  | 0 | 0
PHONES | [5 empty] | PHONES
Telephone Jack,Flush |  |  | 0.75 | 0.2 |  | Telephone Jack,Flush
Telephone Jack,Wall Mount |  |  | 1.03 | 0.2 |  | Telephone Jack,Wall Mount
Telephone Jack,Interior Surface Mount |  |  | 0.8 | 0.2 |  | Telephone Jack,Interior Surface Mount
Telephone Jack,Exterior Surface Mount |  |  | 9.72 | 0.3 |  | Telephone Jack,Exterior Surface Mount
CATV | [5 empty] | CATV
TV Outlet-RG59 Conn |  |  | 0.54 | 0.2 |  | TV Outlet-RG59 Conn
TV Outlet-75 OHM Coaxial Wall Plate |  |  | 1.35 | 0.25 |  | TV Outlet-75 OHM Coaxial Wall Plate
TV Splitter-2 Way |  |  | 1.5 | 0.2 |  | TV Splitter-2 Way
TV Splitter-3 Way |  |  | 1.75 | 0.3 |  | TV Splitter-3 Way
HARDWARE | [5 empty] | HARDWARE
3/8"Romex Conn |  |  | 0.32 | 0.05 |  | 3/8"Romex Conn
3/4"Romex Conn |  |  | 0.77 | 0.06 |  | 3/4"Romex Conn
1"Romex Conn |  |  | 1.25 | 0.07 |  | 1"Romex Conn
1 1/4"Romex Conn |  |  | 1.89 | 0.08 |  | 1 1/4"Romex Conn
1 1/2"Romex Conn |  |  | 2.86 | 0.1 |  | 1 1/2"Romex Conn
2"Romex Conn |  |  | 3.59 | 0.12 |  | 2"Romex Conn
1/2"Plastic Romex Conn |  |  | 0.29 | 0.04 |  | 1/2"Plastic Romex Conn
3/4"Plastic Romex Conn |  |  | 0.53 | 0.04 |  | 3/4"Plastic Romex Conn
3/8"BX Conn,Straight |  |  | 0.29 | 0.05 |  | 3/8"BX Conn,Straight
3/8"BX Conn,90 |  |  | 1.37 | 0.08 |  | 3/8"BX Conn,90
1/2"BX Conn,Straight |  |  | 1.1 | 0.06 |  | 1/2"BX Conn,Straight
1/2"BX Conn,90 |  |  | 2.33 | 0.09 |  | 1/2"BX Conn,90
3/4"BX Conn,Straight |  |  | 1.92 | 0.07 |  | 3/4"BX Conn,Straight
3/4"BX Conn,90 |  |  | 3.65 | 0.1 |  | 3/4"BX Conn,90
3/8"MC Cable Conn,Single |  |  | 0.24 | 0.08 |  | 3/8"MC Cable Conn,Single
1/2"MC Cable Conn,Single |  |  | 0.3 | 0.08 |  | 1/2"MC Cable Conn,Single
3/8"MC Cable Conn,Double |  |  | 0.38 | 0.08 |  | 3/8"MC Cable Conn,Double
1/2"MC Cable Conn,Double |  |  | 0.47 | 0.08 |  | 1/2"MC Cable Conn,Double
3/4"Acorn,Grnd Clamp |  |  | 2.43 | 0.15 |  | 3/4"Acorn,Grnd Clamp
5/8"Acorn,Grnd Clamp |  |  | 1.72 | 0.15 |  | 5/8"Acorn,Grnd Clamp
5/8"X8' Grnd Rod |  |  | 4 | 0.75 |  | 5/8"X8' Grnd Rod
3/4"X8' Grnd Rod |  |  | 18.62 | 0.75 |  | 3/4"X8' Grnd Rod
1/2"-1"Grnd Clamp |  |  | 1.78 | 0.15 |  | 1/2"-1"Grnd Clamp
1 1/2"-2"Grnd Clamp |  |  | 3.54 | 0.2 |  | 1 1/2"-2"Grnd Clamp
2"-3"Grnd Clamp |  |  | 16.74 | 0.25 |  | 2"-3"Grnd Clamp
3"-5"Grnd Clamp |  |  | 25.45 | 0.3 |  | 3"-5"Grnd Clamp
1/2"Romex Staples |  |  | 0.01 | 0.01 |  | 1/2"Romex Staples
9/16"Romex Staples |  |  | 0.02 | 0.01 |  | 9/16"Romex Staples
1 Hole Romex Strap |  |  | 0.03 | 0.03 |  | 1 Hole Romex Strap
2 Hole Romex Strap |  |  | 0.04 | 0.03 |  | 2 Hole Romex Strap
2 Hole#8/3 Cable Strap |  |  | 0.07 | 0.04 |  | 2 Hole#8/3 Cable Strap
2 Hole#6/3 Cable Strap |  |  | 0.07 | 0.04 |  | 2 Hole#6/3 Cable Strap
2 Hole#4/3 Cable Strap |  |  | 0.07 | 0.04 |  | 2 Hole#4/3 Cable Strap
2 Hole#2/3 Cable Strap |  |  | 0.08 | 0.05 |  | 2 Hole#2/3 Cable Strap
2 Hole#1/3 Cable Strap |  |  | 0.11 | 0.05 |  | 2 Hole#1/3 Cable Strap
2 Hole#1/0-3 Cable Strap |  |  | 0.11 | 0.06 |  | 2 Hole#1/0-3 Cable Strap
2 Hole#2/0-3 Cable Strap |  |  | 0.12 | 0.06 |  | 2 Hole#2/0-3 Cable Strap
2 Hole#3/0-3 Cable Strap |  |  | 0.16 | 0.06 |  | 2 Hole#3/0-3 Cable Strap
2 Hole#4/0-3 Cable Strap |  |  | 0.18 | 0.06 |  | 2 Hole#4/0-3 Cable Strap
1/2"Cord Grip Conn |  |  | 3.09 | 0.05 |  | 1/2"Cord Grip Conn
3/4"Cord Grip Conn |  |  | 4.39 | 0.06 |  | 3/4"Cord Grip Conn
1"Cord Grip Conn |  |  | 6.7 | 0.07 |  | 1"Cord Grip Conn
1/4"Continuous Threaded Rod |  |  | 0.25 | 0.03 |  | 1/4"Continuous Threaded Rod
3/8"Continuous Threaded Rod |  |  | 0.4 | 0.04 |  | 3/8"Continuous Threaded Rod
1/2"Continuous Threaded Rod |  |  | 0.61 | 0.057 |  | 1/2"Continuous Threaded Rod
5/8"Continuous Threaded Rod |  |  | 0.86 | 0.08 |  | 5/8"Continuous Threaded Rod
1/4"Rod Couplings |  |  | 0.8 | 0.05 |  | 1/4"Rod Couplings
3/8"Rod Couplings |  |  | 1.28 | 0.05 |  | 3/8"Rod Couplings
1/2"Rod Couplings |  |  | 1.56 | 0.05 |  | 1/2"Rod Couplings
5/8"Rod Couplings |  |  | 2.51 | 0.05 |  | 5/8"Rod Couplings
6-32 Hex Nuts |  |  | 0.02 | 0.02 |  | 6-32 Hex Nuts
8-32 Hex Nuts |  |  | 0.02 | 0.02 |  | 8-32 Hex Nuts
10-24 Hex Nuts |  |  | 0.02 | 0.02 |  | 10-24 Hex Nuts
10-32 Hex Nuts |  |  | 0.02 | 0.02 |  | 10-32 Hex Nuts
1/4-20 Hex Nuts |  |  | 0.03 | 0.02 |  | 1/4-20 Hex Nuts
5/16-18 Hex Nuts |  |  | 0.06 | 0.02 |  | 5/16-18 Hex Nuts
3/8-16 Hex Nuts |  |  | 0.08 | 0.02 |  | 3/8-16 Hex Nuts
1/2-13 Hex Nuts |  |  | 0.16 | 0.02 |  | 1/2-13 Hex Nuts
6-32X1 1/2"Machine Screws |  |  | 0.03 | 0.02 |  | 6-32X1 1/2"Machine Screws
8-32X1 1/2"Machine Screws |  |  | 0.04 | 0.02 |  | 8-32X1 1/2"Machine Screws
10-24X1 1/2"Machine Screws |  |  | 0.04 | 0.02 |  | 10-24X1 1/2"Machine Screws
10-32X1 1/2"Machine Screws |  |  | 0.04 | 0.02 |  | 10-32X1 1/2"Machine Screws
1/4-20X1 1/2"Machine Screws |  |  | 0.06 | 0.02 |  | 1/4-20X1 1/2"Machine Screws
5/16-18X1 1/2"Hex Head Bolts |  |  | 0.04 | 0.02 |  | 5/16-18X1 1/2"Hex Head Bolts
3/8-16X1 1/2"Hex Head Bolts |  |  | 0.22 | 0.02 |  | 3/8-16X1 1/2"Hex Head Bolts
1/2-13X1 1/2"Hex Head Bolts |  |  | 0.34 | 0.02 |  | 1/2-13X1 1/2"Hex Head Bolts
3/16"X4"Toggle Bolts |  |  | 0.27 | 0.03 |  | 3/16"X4"Toggle Bolts
1/4"X4"Toggle Bolts |  |  | 0.3 | 0.03 |  | 1/4"X4"Toggle Bolts
5/16"X4"Toggle Bolts |  |  | 0.57 | 0.03 |  | 5/16"X4"Toggle Bolts
3/8"X4"Toggle Bolts |  |  | 0.73 | 0.03 |  | 3/8"X4"Toggle Bolts
1/4"X3"Concrete Stud Anchor |  |  | 0.49 | 0.06 |  | 1/4"X3"Concrete Stud Anchor
3/8"X3 Concrete Stud Anchor |  |  | 0.51 | 0.06 |  | 3/8"X3 Concrete Stud Anchor
1/2"X3 3/4"Concrete Stud Anchor |  |  | 0.88 | 0.06 |  | 1/2"X3 3/4"Concrete Stud Anchor
6X1"Sheet Metal Screw |  |  | 0.02 | 0.02 |  | 6X1"Sheet Metal Screw
8X1"Sheet Metal Screw |  |  | 0.03 | 0.02 |  | 8X1"Sheet Metal Screw
10X1"Sheet Metal Screw |  |  | 0.03 | 0.02 |  | 10X1"Sheet Metal Screw
1/2"Snap Seal |  |  | 0.22 | 0.04 |  | 1/2"Snap Seal
3/4"Snap Seal |  |  | 0.28 | 0.045 |  | 3/4"Snap Seal
1"Snap Seal |  |  | 0.51 | 0.05 |  | 1"Snap Seal
1 1/4"Snap Seal |  |  | 0.74 | 0.055 |  | 1 1/4"Snap Seal
1 1/2"Snap Seal |  |  | 1.4 | 0.06 |  | 1 1/2"Snap Seal
2"Snap Seal |  |  | 1.48 | 0.065 |  | 2"Snap Seal
1/2"Knockout Seal,Screw Type |  |  | 0.3 | 0.08 |  | 1/2"Knockout Seal,Screw Type
3/4"Knockout Seal,Screw Type |  |  | 0.39 | 0.085 |  | 3/4"Knockout Seal,Screw Type
1"Knockout Seal,Screw Type |  |  | 0.56 | 0.09 |  | 1"Knockout Seal,Screw Type
1 1/4"Knockout Seal,Screw Type |  |  | 0.73 | 0.095 |  | 1 1/4"Knockout Seal,Screw Type
1 1/2"Knockout Seal,Screw Type |  |  | 1.15 | 0.1 |  | 1 1/2"Knockout Seal,Screw Type
2"Knockout Seal,Screw Type |  |  | 1.41 | 0.11 |  | 2"Knockout Seal,Screw Type
2 1/2"Knockout Seal,Screw Type |  |  | 1.68 | 0.12 |  | 2 1/2"Knockout Seal,Screw Type
3"Knockout Seal,Screw Type |  |  | 2.08 | 0.13 |  | 3"Knockout Seal,Screw Type
4"Knockout Seal,Screw Type |  |  | 2.47 | 0.14 |  | 4"Knockout Seal,Screw Type
1/2"Conduit Hangers w/bolt |  |  | 0.33 | 0.03 |  | 1/2"Conduit Hangers w/bolt
3/4"Conduit Hangers w/bolt |  |  | 0.37 | 0.04 |  | 3/4"Conduit Hangers w/bolt
1"Conduit Hangers w/bolt |  |  | 0.5 | 0.05 |  | 1"Conduit Hangers w/bolt
1 1/4"Conduit Hangers w/bolt |  |  | 0.72 | 0.06 |  | 1 1/4"Conduit Hangers w/bolt
1 1/2"Conduit Hangers w/bolt |  |  | 0.84 | 0.06 |  | 1 1/2"Conduit Hangers w/bolt
2"Conduit Hangers w/bolt |  |  | 0.92 | 0.1 |  | 2"Conduit Hangers w/bolt
2 1/2"Conduit Hangers w/bolt |  |  | 1.28 | 0.1 |  | 2 1/2"Conduit Hangers w/bolt
3"Conduit Hangers w/bolt |  |  | 1.55 | 0.15 |  | 3"Conduit Hangers w/bolt
4"Conduit Hangers w/bolt |  |  | 4.04 | 0.15 |  | 4"Conduit Hangers w/bolt
1"Beam Clamps |  |  | 1.49 | 0.03 |  | 1"Beam Clamps
1 1/2"Beam Clamps |  |  | 3.66 | 0.04 |  | 1 1/2"Beam Clamps
2"Beam Clamps |  |  | 5.34 | 0.05 |  | 2"Beam Clamps
2 1/2"Beam Clamps |  |  | 5.92 | 0.06 |  | 2 1/2"Beam Clamps
1/2"Beam Clamp Hanger Assembly |  |  | 0.92 | 0.05 |  | 1/2"Beam Clamp Hanger Assembly
3/4"Beam Clamp Hanger Assembly |  |  | 0.97 | 0.06 |  | 3/4"Beam Clamp Hanger Assembly
1"Beam Clamp Hanger Assembly |  |  | 1.01 | 0.08 |  | 1"Beam Clamp Hanger Assembly
1 1/4"Beam Clamp Hanger Assembly |  |  | 1.04 | 0.1 |  | 1 1/4"Beam Clamp Hanger Assembly
1 1/2"Beam Clamp Hanger Assembly |  |  | 1.11 | 0.1 |  | 1 1/2"Beam Clamp Hanger Assembly
2"Beam Clamp Hanger Assembly |  |  | 1.21 | 0.15 |  | 2"Beam Clamp Hanger Assembly
7/8"Support Strut,per foot |  |  | 5 | 0.1 |  | 7/8"Support Strut,per foot
1 5/8"Support Strut,per foot |  |  | 1 | 0.114 |  | 1 5/8"Support Strut,per foot
1/2"Unistrut Support Clamp |  |  | 0.76 | 0.014 |  | 1/2"Unistrut Support Clamp
3/4"Unistrut Support Clamp |  |  | 0.83 | 0.018 |  | 3/4"Unistrut Support Clamp
1"Unistrut Support Clamp |  |  | 0.88 | 0.019 |  | 1"Unistrut Support Clamp
1 1/4"Unistrut Support Clamp |  |  | 1.03 | 0.02 |  | 1 1/4"Unistrut Support Clamp
1 1/2"Unistrut Support Clamp |  |  | 1.16 | 0.02 |  | 1 1/2"Unistrut Support Clamp
2"Unistrut Support Clamp |  |  | 1.29 | 0.029 |  | 2"Unistrut Support Clamp
2 1/2"Unistrut Support Clamp |  |  | 1.4 | 0.029 |  | 2 1/2"Unistrut Support Clamp
3"Unistrut Support Clamp |  |  | 1.52 | 0.05 |  | 3"Unistrut Support Clamp
4"Unistrut Support Clamp |  |  | 1.86 | 0.08 |  | 4"Unistrut Support Clamp
10-24 Unistrut Spring Nuts |  |  | 0.63 | 0.05 |  | 10-24 Unistrut Spring Nuts
1/4-20 Unistrut Spring Nuts |  |  | 0.64 | 0.066 |  | 1/4-20 Unistrut Spring Nuts
5/16-18 Unistrut Spring Nuts |  |  | 0.67 | 0.075 |  | 5/16-18 Unistrut Spring Nuts
3/8-16 Unistrut Spring Nuts |  |  | 0.7 | 0.08 |  | 3/8-16 Unistrut Spring Nuts
1/2-13 Unistrut Spring Nuts |  |  | 0.74 | 0.1 |  | 1/2-13 Unistrut Spring Nuts
5/8-11 Unistrut Spring Nuts |  |  | 1.39 | 0.11 |  | 5/8-11 Unistrut Spring Nuts
Unistrut End Angle |  |  | 0.97 | 0.1 |  | Unistrut End Angle
Unistrut Shelf Bracket |  |  | 1.92 | 0.1 |  | Unistrut Shelf Bracket
Unistrut Splice Plate |  |  | 0.96 | 0.1 |  | Unistrut Splice Plate
Unistrut Corner Angle |  |  | 1 | 0.1 |  | Unistrut Corner Angle
Nail-On Protector Plates |  |  | 0.2 | 0.025 |  | Nail-On Protector Plates
Tie Rap Ties |  |  | 0.04 | 0.01 |  | Tie Rap Ties
6500' Box Pull String |  |  | 39.1 | 0 |  | 6500' Box Pull String
600' Box 1/4"Poly Cord |  |  | 29.17 | 0 |  | 600' Box 1/4"Poly Cord
Black Tape/Roll |  |  | 1.3 | 0 |  | Black Tape/Roll
Fricton Tape |  |  | 1.97 | 0 |  | Fricton Tape
1 LB. Ductseal |  |  | 3.9 | 0.2 |  | 1 LB. Ductseal
Warning Tape 1000' |  |  | 0.03 | 0.001 |  | Warning Tape 1000'
Fender washer 1/4" |  |  | 0.08 | 0.01 |  | Fender washer 1/4"
PVC Cement 16 oz |  |  | 6.5 | 0.01 |  | PVC Cement 16 oz
Wire Restrain (Kellum Grip) 12/3 so W-Hub |  |  | 13 | 0.5 |  | Wire Restrain (Kellum Grip) 12/3 so W-Hub
Jack Chain |  |  | 0.17 | 0.04 |  | Jack Chain
S-Hooks |  |  | 0.06 | 0.02 |  | S-Hooks
S-Hooks |  |  | 0.06 | 0.03 |  | S-Hooks
3/0 Solderless Lug |  |  | 1.75 | 0.02 |  | 3/0 Solderless Lug
EMT Fittings | [5 empty] | EMT Fittings
1/2"EMT Set Screw Conn |  |  | 0.19 | 0.05 |  | 1/2"EMT Set Screw Conn
1/2"EMT Set Screw Coup |  |  | 0.19 | 0.05 |  | 1/2"EMT Set Screw Coup
1/2"EMT Compression Conn |  |  | 0.25 | 0.05 |  | 1/2"EMT Compression Conn
1/2"EMT Compression Coup |  |  | 0.25 | 0.05 |  | 1/2"EMT Compression Coup
1/2"One Hole Strap |  |  | 0.05 | 0.03 |  | 1/2"One Hole Strap
1/2"EMT Nail Straps |  |  | 0.16 | 0.02 |  | 1/2"EMT Nail Straps
1/2"LB w/cvr & gasket |  |  | 7.33 | 0.15 |  | 1/2"LB w/cvr & gasket
3/4"EMT Set Screw Conn |  |  | 0.2 | 0.06 |  | 3/4"EMT Set Screw Conn
3/4"EMT Set Screw Coup |  |  | 0.23 | 0.06 |  | 3/4"EMT Set Screw Coup
3/4"EMT Compression Conn |  |  | 0.51 | 0.06 |  | 3/4"EMT Compression Conn
3/4"EMT Compression Coup |  |  | 0.6 | 0.06 |  | 3/4"EMT Compression Coup
3/4"One Hole Strap |  |  | 0.07 | 0.04 |  | 3/4"One Hole Strap
3/4"EMT Nail Straps |  |  | 0.18 | 0.03 |  | 3/4"EMT Nail Straps
3/4"LB w/cvr & gasket |  |  | 8.69 | 0.2 |  | 3/4"LB w/cvr & gasket
1"EMT Set Screw Conn |  |  | 0.59 | 0.08 |  | 1"EMT Set Screw Conn
1"EMT Set Screw Coup |  |  | 0.64 | 0.08 |  | 1"EMT Set Screw Coup
1"EMT Compression Conn |  |  | 0.78 | 0.08 |  | 1"EMT Compression Conn
1"EMT Compression Coup |  |  | 0.99 | 0.08 |  | 1"EMT Compression Coup
1"One Hole Strap |  |  | 0.31 | 0.05 |  | 1"One Hole Strap
1"EMT Nail Straps |  |  | 0.3 | 0.04 |  | 1"EMT Nail Straps
1"LB w/cvr & gasket |  |  | 12.42 | 0.25 |  | 1"LB w/cvr & gasket
1"EMT Elbow,90 |  |  | 2.67 | 0.09 |  | 1"EMT Elbow,90
1 1/4"EMT Set Screw Conn |  |  | 1.03 | 0.1 |  | 1 1/4"EMT Set Screw Conn
1 1/4"EMT Set Screw Coup |  |  | 1.2 | 0.1 |  | 1 1/4"EMT Set Screw Coup
1 1/4"EMT Compression Conn |  |  | 0.8 | 0.1 |  | 1 1/4"EMT Compression Conn
1 1/4"EMT Compression Coup |  |  | 0.9 | 0.1 |  | 1 1/4"EMT Compression Coup
1 1/4"One Hole Strap |  |  | 0.25 | 0.06 |  | 1 1/4"One Hole Strap
1 1/4"LB w/cvr & gasket |  |  | 14 | 0.3 |  | 1 1/4"LB w/cvr & gasket
1 1/4"EMT Elbow,90 |  |  | 13.75 | 0.1 |  | 1 1/4"EMT Elbow,90
1 1/4 Weather Head | [5 empty] | 1 1/4 Weather Head
1 1/2 EMT Set Screw Coup |  |  | 1.49 | 0.02 |  | 1 1/2 EMT Set Screw Coup
1 1/2 EMT Set Screw Conn |  |  | 1.74 | 0.02 |  | 1 1/2 EMT Set Screw Conn
1 1/2 EMT Compression Conn |  |  | 2.75 | 0.02 |  | 1 1/2 EMT Compression Conn
1 1/2 EMT Compression Coup |  |  | 3.75 | 0.02 |  | 1 1/2 EMT Compression Coup
1 1/2 EMT One Hole Strap |  |  | 0.79 | 0.08 |  | 1 1/2 EMT One Hole Strap
1 1/2 LB w/cvr & gasket |  |  | 12.76 | 0.45 |  | 1 1/2 LB w/cvr & gasket
1 1/2 Weather Head |  |  | 34.65 | 1 |  | 1 1/2 Weather Head
2"EMT Set Screw Conn |  |  | 2 | 0.15 |  | 2"EMT Set Screw Conn
2"EMT Set Screw Coup |  |  | 2.14 | 0.15 |  | 2"EMT Set Screw Coup
2"EMT Compression Conn |  |  | 1.5 | 0.15 |  | 2"EMT Compression Conn
2"EMT Compression Coup |  |  | 1.8 | 0.15 |  | 2"EMT Compression Coup
2"One Hole Strap |  |  | 0.31 | 0.1 |  | 2"One Hole Strap
2"LB w/cvr & gasket |  |  | 19 | 0.5 |  | 2"LB w/cvr & gasket
2" 90 EMT |  |  | 5.72 | 0.75 |  | 2" 90 EMT
2" Weather Head |  |  | 51.65 | 1 |  | 2" Weather Head
2 1/2"EMT Set Screw Conn |  |  | 6.37 | 0.15 |  | 2 1/2"EMT Set Screw Conn
2 1/2"EMT Set Screw Coup |  |  | 4.94 | 0.15 |  | 2 1/2"EMT Set Screw Coup
2 1/2"EMT Compression Conn |  |  | 3.25 | 0.15 |  | 2 1/2"EMT Compression Conn
2 1/2"EMT Compression Coup |  |  | 4.5 | 0.15 |  | 2 1/2"EMT Compression Coup
2 1/2"One Hole Strp |  |  | 1.2 | 0.1 |  | 2 1/2"One Hole Strp
2 1/2"LB w/cvr & gasket |  |  | 55 | 0.7 |  | 2 1/2"LB w/cvr & gasket
2 1/2" Weather Head |  |  | 57.68 | 1 |  | 2 1/2" Weather Head
3"EMT Set Screw Conn |  |  | 7.53 | 0.2 |  | 3"EMT Set Screw Conn
3"EMT Set Screw Coup |  |  | 5.72 | 0.2 |  | 3"EMT Set Screw Coup
3"EMT Compression Conn |  |  | 11.95 | 0.2 |  | 3"EMT Compression Conn
3"EMT Compression Coup |  |  | 15.71 | 0.2 |  | 3"EMT Compression Coup
3"One Hole Strap |  |  | 2.25 | 0.15 |  | 3"One Hole Strap
3"LB w/cvr & gasket |  |  | 86.7 | 0.75 |  | 3"LB w/cvr & gasket
3" 90 EMT |  |  | 21.67 | 1 |  | 3" 90 EMT
3" Weather Head |  |  | 67.65 | 1 |  | 3" Weather Head
4"EMT Set Screw Conn |  |  | 10.71 | 0.25 |  | 4"EMT Set Screw Conn
4"EMT Set Screw Coup |  |  | 8.09 | 0.25 |  | 4"EMT Set Screw Coup
4"EMT Compression Conn |  |  | 6 | 0.25 |  | 4"EMT Compression Conn
4"EMT Compression Coup |  |  | 8 | 0.25 |  | 4"EMT Compression Coup
4"One Hole Strap |  |  | 3.25 | 0.15 |  | 4"One Hole Strap
4"LB w/cvr & gasket |  |  | 100 | 0.95 |  | 4"LB w/cvr & gasket
4" 90 EMT |  |  | 33.95 | 1 |  | 4" 90 EMT
4" Weather Head |  |  | 67.75 | 1.25 |  | 4" Weather Head
15A- CS115-I-120/277V swt |  |  | 1.49 | 0.25 |  | 15A- CS115-I-120/277V swt
15A- CS215-I-120/277V swt |  |  | 5.59 | 0.3 |  | 15A- CS215-I-120/277V swt
15A -CS315-I-120/277V swt |  |  | 2.24 | 0.3 |  | 15A -CS315-I-120/277V swt
15A-CS415-I-120/277V swt |  |  | 9.83 | 0.3 |  | 15A-CS415-I-120/277V swt
20A- CS120-I-120/277V swt |  |  | 1.8 | 0.25 |  | 20A- CS120-I-120/277V swt
20A- CS220-I-120/277V swt |  |  | 5.3 | 0.3 |  | 20A- CS220-I-120/277V swt
20A -CS320-I-120/277V swt |  |  | 2.7 | 0.3 |  | 20A -CS320-I-120/277V swt
20A-CS420-I-120/277V swt |  |  | 13.29 | 0.3 |  | 20A-CS420-I-120/277V swt
15A-CR15-I-Receptacle |  |  | 1.02 | 0.25 |  | 15A-CR15-I-Receptacle
20A-CR20-I-Receptacle |  |  | 1.27 | 0.25 |  | 20A-CR20-I-Receptacle
20A-5362-Receptacle Top Grade |  |  | 3.55 | 0.25 |  | 20A-5362-Receptacle Top Grade
20AC1I top spec 120/277 Swt. |  |  | 2.98 | 0.25 |  | 20AC1I top spec 120/277 Swt.
20AC2I- top spec 120/277 Swt. |  |  | 10.44 | 0.3 |  | 20AC2I- top spec 120/277 Swt.
20AC3I- top spec 120/277 Swt. |  |  | 4.17 | 0.3 |  | 20AC3I- top spec 120/277 Swt.
20AC4I- top spec 120/277 Swt. |  |  | 12.78 | 0.3 |  | 20AC4I- top spec 120/277 Swt.
100 AMP PANEL |  |  | 125 | 4.75 |  | 100 AMP PANEL
200 AMP PANEL |  |  | 125 | 8.75 |  | 200 AMP PANEL
400 AMP PANEL |  |  | 125 | 12.75 |  | 400 AMP PANEL
600 AMP PANEL |  |  | 200 | 22 |  | 600 AMP PANEL
800 AMP PANEL |  |  | 350 | 30 |  | 800 AMP PANEL
1000 AMP SERVICE |  |  | 800 | 60 |  | 1000 AMP SERVICE
LIGHTING CONTROLS / TIME CLOCK |  |  | 1500 | 8.75 |  | LIGHTING CONTROLS / TIME CLOCK
LIGHTING CONTROL PANEL |  |  | 2850 | 16.75 |  | LIGHTING CONTROL PANEL
OCCUPANCY SENSOR |  |  | 275 | 1.5 |  | OCCUPANCY SENSOR
SPECIAL EQUIPMENT HOOK-UP |  |  | 60 | 1 |  | SPECIAL EQUIPMENT HOOK-UP
6" X 36" TRENCHING & BACKFILL |  |  | 6 | 0.03 |  | 6" X 36" TRENCHING & BACKFILL
BACKHOE WORK |  |  | 13 | 0.03 |  | BACKHOE WORK
TRANSFORMER PAD |  |  | 1650 | 18.75 |  | TRANSFORMER PAD
TRANSFORMER SLAB BOX |  |  | 5000 | 22.75 |  | TRANSFORMER SLAB BOX
ANSUL SYSTEM SHUT DOWN |  |  | 1150 | 16.75 |  | ANSUL SYSTEM SHUT DOWN
30A/240V/3PH/F/N1/DISC. |  |  | 85 | 1.75 |  | 30A/240V/3PH/F/N1/DISC.
30A/240V/3PH/F/N3/DISC. |  |  | 125 | 1.75 |  | 30A/240V/3PH/F/N3/DISC.
30A/600V/3PH/F/N1/DISC. |  |  | 135 | 1.75 |  | 30A/600V/3PH/F/N1/DISC.
30A/600V/3PH/F/N3/DISC. |  |  | 269 | 1.75 |  | 30A/600V/3PH/F/N3/DISC.
60A/240V/3PH/F/N1/DISC. |  |  | 125 | 1.75 |  | 60A/240V/3PH/F/N1/DISC.
60A/240V/3PH/F/N3/DISC. |  |  | 165 | 1.75 |  | 60A/240V/3PH/F/N3/DISC.
60A/600V/3PH/F/N1/DISC. |  |  | 221 | 1.75 |  | 60A/600V/3PH/F/N1/DISC.
60A/600V/3PH/F/N3/DISC. |  |  | 320 | 1.75 |  | 60A/600V/3PH/F/N3/DISC.
100A/240V/3PH/F/N1/DISC. |  |  | 175 | 2.25 |  | 100A/240V/3PH/F/N1/DISC.
100A/240V/3PH/F/N3/DISC. |  |  | 250 | 2.25 |  | 100A/240V/3PH/F/N3/DISC.
100A/600V/3PH/F/N1/DISC. |  |  | 265 | 2.25 |  | 100A/600V/3PH/F/N1/DISC.
100A/600V/3PH/F/N3/DISC. |  |  | 467 | 2.25 |  | 100A/600V/3PH/F/N3/DISC.
4' x 8' x 3/4" PLYWOOD BACKBOARD |  |  | 150 | 1.75 |  | 4' x 8' x 3/4" PLYWOOD BACKBOARD
#6 TELEPHONE BACKBOARD GROUND |  |  | 55 | 1.25 |  | #6 TELEPHONE BACKBOARD GROUND
TELEPHONE OUTLET |  |  | 55 | 0.65 |  | TELEPHONE OUTLET
Conduit Roof Top Unistrut Support |  |  | 14.75 | 0.25 |  | Conduit Roof Top Unistrut Support
Pole Lights |  |  | 50 | 12.75 |  | Pole Lights
Floor Box |  |  | 495 | 1.75 |  | Floor Box
OCCUPANCY SENSOR Labor Only |  |  | 75 | 2 |  | OCCUPANCY SENSOR Labor Only
Track Lighting |  |  | 2.75 | 0.2 |  | Track Lighting
200 Amp Disconnect |  |  | 350 | 3.75 |  | 200 Amp Disconnect
30 KVA |  |  | 300 | 18 |  | 30 KVA
45 KVA |  |  | 300 | 24 |  | 45 KVA
75 KVA |  |  | 300 | 30 |  | 75 KVA
150 KVA |  |  | 300 | 40 |  | 150 KVA
OS Special Outlets |  |  | 17 |  |  | OS Special Outlets
Dimmers |  |  | 100 | 0.75 |  | Dimmers
Duct Detector |  |  | 325 | 3 |  | Duct Detector
Room Controller |  |  | 210 | 2.75 |  | Room Controller
Furniture Feed |  |  | 125 | 2.75 |  | Furniture Feed
Power Pole |  |  | 500 | 8.75 |  | Power Pole
Extra Hours 300 |  |  | 200 | 300 |  | Extra Hours 300
Extra Hours 150 |  |  | 200 | 150 |  | Extra Hours 150
Extra Hours 50 |  |  | 200 | 50 |  | Extra Hours 50
Single Unit Car Charger |  |  | 150 | 4.75 |  | Single Unit Car Charger
Dual Unit Car Caharger |  |  | 200 | 6.75 |  | Dual Unit Car Caharger
Generator |  |  | 3000 | 175 |  | Generator
Cordination Study |  |  | 4500 | 4 |  | Cordination Study