## Master Pricing Database
Item Code | Category | Description | Unit | Material Cost | Labor Hours | Vendor | Notes
ITEM-0001 | Boxes | 1 Gang Cut-In Box,Gangable,Stl, W/Ears | EA | 3 | 0.15
ITEM-0002 | Boxes | 1 Gang Cut-In Box,Plastic | EA | 1.42 | 0.15
ITEM-0003 | Boxes | 1 Gang Masonry Wall Box,2-1/2"Deep | EA | 1.74 | 0.15
ITEM-0004 | Boxes | 1 Gang Masonry Wall Box,3-1/2"Deep | EA | 1.9 | 0.15
ITEM-0005 | Boxes | 1 Gang Nailer Box,Plastic 18CU | EA | 0.25 | 0.15
ITEM-0006 | Boxes | 1 Gang Switch Box w/Brkt,Stl | EA | 1.08 | 0.15
MUDRING-1G-PLASTER | Boxes | 1-Gang Plaster Ring | EA | 0.32 | 0.02 | Standard | Single gang plaster ring
ITEM-0007 | Boxes | 2 Gang Cut-In Box,Plastic | EA | 3.03 | 0.18
ITEM-0008 | Boxes | 2 Gang Masonry Wall Box,2-1/2"Deep | EA | 2.01 | 0.18
ITEM-0009 | Boxes | 2 Gang Masonry Wall Box,3-1/2"Deep | EA | 2.3 | 0.18
ITEM-0010 | Boxes | 2 Gang Nailer Box,Plastic | EA | 0.89 | 0.18
ITEM-0011 | Boxes | 2 Gang Switch Box w/Brkt,Stl | EA | 2.5 | 0.18
ITEM-0012 | Boxes | 3 Gang Masonry Wall Box,2-1/2"Deep | EA | 3.74 | 0.25
ITEM-0013 | Boxes | 3 Gang Masonry Wall Box,3-1/2"Deep | EA | 4.9 | 0.25
ITEM-0014 | Boxes | 3 Gang Nailer Box,Plastic | EA | 1.3 | 0.25
ITEM-0015 | Boxes | 3"Octagon Box,Stl | EA | 0.65 | 0.15
ITEM-0016 | Boxes | 3"Octagon Box,Stl w/Bracket | EA | 1.44 | 0.15
ITEM-0017 | Boxes | 4 Gang Masonry Wall Box,2-1/2"Deep | EA | 7 | 0.25
ITEM-0018 | Boxes | 4 Gang Masonry Wall Box,3-1/2"Deep | EA | 7.5 | 0.25
ITEM-0019 | Boxes | 4 Gang Nailer Box,Plastic | EA | 2.85 | 0.25
ITEM-0020 | Boxes | 4-11/16 Box,1-1/2"Deep,Stl 1/2 & 3/4 KO | EA | 1.01 | 0.18
ITEM-0021 | Boxes | 4-11/16 Box,2-1/8"Deep,Stl. 1/2 & 3/4 KO | EA | 1.76 | 0.18
ITEM-0022 | Boxes | 4-11/16 Box,Blank Cover | EA | 0.33 | 0.05
ITEM-0030 | Boxes | 4"Octagon Box,Stl | EA | 0.63 | 0.15
ITEM-0031 | Boxes | 4"Octagon Box,Stl w/Bracket | EA | 1.52 | 0.15
ITEM-0032 | Boxes | 4"Octagon Extension,Stl,1/2&3/4KO | EA | 2.06 | 0.15
ITEM-0033 | Boxes | 4"Octagon Extension,Stl,1/2KO | EA | 1.48 | 0.15
ITEM-0034 | Boxes | 4"Round Box,Plastic w/Bar Hanger | EA | 1.82 | 0.15
ITEM-0035 | Boxes | 4"Round Cut-In Box,Plastic | EA | 2.1 | 0.15
ITEM-0036 | Boxes | 4"Round Nailer Box,Plastic | EA | 1.61 | 0.15
ITEM-0037 | Boxes | 4"Square Box Blank Cover | EA | 0.55 | 0.05
ITEM-0038 | Boxes | 4"Square Box,1-1/2"Deep 1/2 & 3/4 KO | EA | 0.55 | 0.15
ITEM-0039 | Boxes | 4"Square Box,2-1/8"Deep 1/2 & 3/4 KO | EA | 0.55 | 0.15
ITEM-0040 | Boxes | 4"Square Box,Plastic w/Bracket | EA | 1.35 | 0.15
ITEM-0041 | Boxes | 4"Square Box,w/bracket 1/2 & 3/4 KO | EA | 0.8 | 0.15
COVER-4SQ-BLANK | Boxes | 4x4 Blank Cover | EA | 0.33 | 0.05 | Standard | 4 inch square blank cover plate
BOX-4SQ-0.5-0.75 | Boxes | 4x4 Box 1/2 - 3/4 KOs | EA | 0.55 | 0.18 | Standard | 4 inch square box with 1/2 and 3/4 inch knockouts
BOX-4SQ-JBOX-BRACKET | Boxes | 4x4 J-Box 1/2 - 3/4 KOs With Brackets | EA | 0.8 | 0.18 | Standard | 4 inch square junction box with mounting brackets
ITEM-0042 | Boxes | 600' Box 1/4"Poly Cord | EA | 29.17 | 0.15
ITEM-0043 | Boxes | 6500' Box Pull String | EA | 39.1 | 0.15
ITEM-0047 | Boxes | Floor Box | EA | 495 | 1.5
ITEM-0050 | Boxes | Handy Box,1-1/2"Deep,Stl,1/2 KO | EA | 0.75 | 0.15
ITEM-0051 | Boxes | Handy Box,1-1/2"Deep,Stl,3/4 KO | EA | 0.77 | 0.15
ITEM-0052 | Boxes | Handy Box,2-1/8"Deep,Stl,1/2 KO | EA | 0.72 | 0.15
ITEM-0053 | Boxes | Handy Box,2-1/8"Deep,Stl,3/4 KO | EA | 0.79 | 0.15
ITEM-0054 | Boxes | Handy Box,Plastic | EA | 1 | 0.15
ITEM-0055 | Boxes | Handy Box,Stl w/Bracket | EA | 1.08 | 0.15
ITEM-0059 | Boxes | Madison Straps | EA | 0.33 | 0.15
ITEM-0060 | Boxes | Octagon Masonry Box,3"Deep | EA | 3.2 | 0.15
ITEM-0061 | Boxes | Octagon Masonry Box,4"Deep | EA | 3.87 | 0.15
ITEM-0067 | Boxes | Swivel Hanger,4"Octagon,1/2"Hub | EA | 10 | 0.15
ITEM-0068 | Boxes | Swivel Hanger,4"Octagon,3/4"Hub | EA | 10 | 0.15
ITEM-0069 | Boxes | TRANSFORMER SLAB BOX | EA | 5000 | 4
ITEM-0082 | Devices | 1 Gang Receptacle Plate,Decora | EA | 0.28 | 0.02
ITEM-0083 | Devices | 1 Gang Switch Plate,Decora | EA | 0.2 | 0.02
ITEM-0084 | Devices | 1000 Watt 3-Way Dimmer,Decora | EA | 48 | 0.48
ITEM-0085 | Devices | 1000 Watt 3-Way Dimmer,Lutron | EA | 49 | 0.48
ITEM-0086 | Devices | 1000 Watt 3-Way Rotary Dimmer | EA | 47 | 0.48
ITEM-0087 | Devices | 1000 Watt Dimmer,Decora | EA | 35 | 0.38
ITEM-0088 | Devices | 1000 Watt Dimmer,Lutron | EA | 41.98 | 0.38
ITEM-0089 | Devices | 1000 Watt Rotary Dimmer | EA | 34.39 | 0.38
ITEM-0090 | Devices | 1500 Watt 3-Way Dimmer,Decora | EA | 122 | 0.5
ITEM-0091 | Devices | 1500 Watt 3-Way Dimmer,Lutron | EA | 119.75 | 0.5
ITEM-0092 | Devices | 1500 Watt 3-Way Rotary Dimmer | EA | 119.89 | 0.5
ITEM-0093 | Devices | 1500 Watt Dimmer,Decora | EA | 65 | 0.4
ITEM-0094 | Devices | 1500 Watt Dimmer,Lutron | EA | 71 | 0.4
ITEM-0095 | Devices | 1500 Watt Rotary Dimmer | EA | 65 | 0.4
ITEM-0096 | Devices | 15A 2-SPST Decora Stack Switch | EA | 5.75 | 0.12
ITEM-0097 | Devices | 15A 3-Way Decora Illuminated Switch | EA | 11 | 0.12
ITEM-0098 | Devices | 15A 3-Way Decora Switch | EA | 2.57 | 0.12
ITEM-0099 | Devices | 15A 3-Way Key Switch,Comm Grade | EA | 19 | 0.12
ITEM-0100 | Devices | 15A 3-Way Lighted Handle Switch | EA | 19.58 | 0.12
ITEM-0101 | Devices | 15A 3-Way Switch,Comm Grade | EA | 2.24 | 0.12
ITEM-0102 | Devices | 15A 3-Way Switch,Heavy Duty 277V | EA | 8.4 | 0.12
ITEM-0103 | Devices | 15A 3-Way Switch,Residential Grade | EA | 0.95 | 0.12
ITEM-0104 | Devices | 15A 4-Way Decora Switch | EA | 13.04 | 0.12
ITEM-0105 | Devices | 15A 4-Way Key Switch,Comm Grade | EA | 31.75 | 0.12
ITEM-0106 | Devices | 15A 4-Way Switch,Comm Grade | EA | 10 | 0.12
ITEM-0107 | Devices | 15A 4-Way Switch,Heavy Duty 277V | EA | 21.91 | 0.12
ITEM-0108 | Devices | 15A 4-Way Switch,Residential Grade | EA | 6.65 | 0.12
ITEM-0109 | Devices | 15A Decora,Combo Receptacle & Switch | EA | 17.36 | 0.12
ITEM-0110 | Devices | 15A Decora,Combo Recpt & Switch | EA | 12.64 | 0.12
ITEM-0111 | Devices | 15A Decora,Duplex Recpt 5-15R | EA | 1.21 | 0.12
ITEM-0112 | Devices | 15A DP Switch,Heavy Duty 277V | EA | 9.35 | 0.12
ITEM-0113 | Devices | 15A DPST Key Switch,Comm Grade | EA | 28 | 0.12
ITEM-0114 | Devices | 15A DPST Switch,Comm Grade | EA | 5.5 | 0.12
ITEM-0115 | Devices | 15A DPST Switch,Residential Grade | EA | 8.16 | 0.12
ITEM-0116 | Devices | 15A Duplex Recpt 5-15R,Res Grade | EA | 0.56 | 0.12
ITEM-0117 | Devices | 15A Duplex Recpt Hosp Grade 5-15R | EA | 19.64 | 0.12
ITEM-0118 | Devices | 15A Duplex Recpt,Comm Grade 5-15R | EA | 1.5 | 0.12
ITEM-0119 | Devices | 15A SP Switch,Heavy Duty 277V | EA | 3.5 | 0.12
ITEM-0120 | Devices | 15A SPST Decora Illuminated Switch | EA | 11.19 | 0.12
ITEM-0121 | Devices | 15A SPST Decora Switch | EA | 1.8 | 0.12
ITEM-0122 | Devices | 15A SPST Key Switch,Comm Grade | EA | 13.5 | 0.12
ITEM-0123 | Devices | 15A SPST Lighted Handle Switch | EA | 14.26 | 0.12
ITEM-0124 | Devices | 15A SPST Switch w/grnd,Resident Grade | EA | 0.88 | 0.12
ITEM-0125 | Devices | 15A SPST Switch,Comm Grade | EA | 1.5 | 0.12
ITEM-0126 | Devices | 15A SPST Switch,Residential Grade | EA | 0.57 | 0.12
ITEM-0127 | Devices | 15A-CR15-I-Receptacle | EA | 1.02 | 0.12
ITEM-0128 | Devices | 15A,250V,Duplex Recpt 6-15R,Comm Grade | EA | 11.96 | 0.12
ITEM-0129 | Devices | 15A,250V,Duplex Recpt 6-15R,Res Grade | EA | 11.22 | 0.12
ITEM-0130 | Devices | 2 Gang Receptacle Plate,Decora | EA | 0.28 | 0.02
ITEM-0131 | Devices | 2 Gang Switch Plate,Decora | EA | 0.4 | 0.02
ITEM-0132 | Devices | 20 A 3WAY Switch,Heavy Duty277V | EA | 9.63 | 0.12
ITEM-0133 | Devices | 2000 Watt 3-Way Dimmer,Decora | EA | 160.64 | 0.52
ITEM-0134 | Devices | 2000 Watt Dimmer,Decora | EA | 95 | 0.42
ITEM-0135 | Devices | 2000 Watt Dimmer,Lutron | EA | 122.01 | 0.42
ITEM-0136 | Devices | 2000 Watt Rotary Dimmer | EA | 95 | 0.42
ITEM-0137 | Devices | 20A 3-Way Decora Switch | EA | 2.77 | 0.12
ITEM-0138 | Devices | 20A 3-Way Key Switch,Comm Grade | EA | 40 | 0.12
ITEM-0139 | Devices | 20A 3-Way Lighted Handle Switch | EA | 21 | 0.12
ITEM-0140 | Devices | 20A 3-Way Switch,Comm Grade | EA | 2.71 | 0.12
ITEM-0141 | Devices | 20A 4-Way Key Switch,Comm Grade | EA | 49 | 0.12
ITEM-0142 | Devices | 20A 4-Way Switch,Comm Grade | EA | 13.29 | 0.12
ITEM-0143 | Devices | 20A 4WAY Switch,Heavy Duty 277V | EA | 25.38 | 0.12
ITEM-0144 | Devices | 20A Decora,Duplex Recpt 5-15R | EA | 7.14 | 0.12
ITEM-0145 | Devices | 20A DP Switch,Heavy Duty 277V | EA | 10.36 | 0.12
ITEM-0146 | Devices | 20A DPST Key Switch,Comm Grade | EA | 15.49 | 0.12
ITEM-0147 | Devices | 20A DPST Switch,Comm Grade | EA | 10.42 | 0.12
ITEM-0148 | Devices | 20A DPST Switch,Residential Grade | EA | 5.35 | 0.12
ITEM-0149 | Devices | 20A Duplex Recpt 5-20R,Res Grade | EA | 1.27 | 0.12
ITEM-0150 | Devices | 20A Duplex Recpt Hosp Grade 5-20R | EA | 13.58 | 0.12
ITEM-0151 | Devices | 20A Duplex Recpt,Comm Grade 5-20R | EA | 2.55 | 0.12
RECEP-GFCI-20A | Devices | 20A GFCI Receptacle | EA | 0.28 | 0.15 | Standard | 20 amp GFCI receptacle
RECEP-20A-SINGLE | Devices | 20A Single Receptacle | EA | 0.28 | 0.12 | Standard | 20 amp single receptacle
ITEM-0152 | Devices | 20A SP Switch,Heavy Duty 277V | EA | 8.96 | 0.12
ITEM-0153 | Devices | 20A SPST Decora Switch | EA | 1.8 | 0.12
ITEM-0154 | Devices | 20A SPST Key Switch,Comm Grade | EA | 29.8 | 0.12
ITEM-0155 | Devices | 20A SPST Lighted Handle Switch | EA | 11.1 | 0.12
ITEM-0156 | Devices | 20A SPST Switch,Comm Grade | EA | 1.8 | 0.12
ITEM-0157 | Devices | 20A-5362-Receptacle Top Grade | EA | 3.55 | 0.12
ITEM-0158 | Devices | 20A-CR20-I-Receptacle | EA | 1.27 | 0.12
ITEM-0159 | Devices | 20A,250V,Duplex Recpt 6-20R,Comm Grade | EA | 15.56 | 0.12
ITEM-0160 | Devices | 20A,250V,Duplex Recpt 6-20R,Res Grade | EA | 4 | 0.12
ITEM-0161 | Devices | 3 Gang Switch Plate,Decora | EA | 0.6 | 0.02
ITEM-0163 | Devices | 30A 3-Way Switch,Comm Grade | EA | 18.56 | 0.12
ITEM-0164 | Devices | 30A DPST Switch,Comm Grade | EA | 26.14 | 0.12
ITEM-0165 | Devices | 30A SPST Lighted Handle Switch | EA | 24.1 | 0.12
ITEM-0166 | Devices | 30A SPST Switch,Comm Grade | EA | 14.47 | 0.12
ITEM-0167 | Devices | 4 Gang Switch Plate,Decora | EA | 1 | 0.02
ITEM-0169 | Devices | 5 Gang Switch Plate,Decora | EA | 10 | 0.02
ITEM-0170 | Devices | 6 Gang Switch Plate,Decora | EA | 12.5 | 0.02
ITEM-0171 | Devices | 600 Watt 3-Way Dimmer,Decora | EA | 11 | 0.45
ITEM-0172 | Devices | 600 Watt 3-Way Dimmer,Lutron | EA | 11 | 0.45
ITEM-0173 | Devices | 600 Watt 3-Way Rotary Dimmer | EA | 9.3 | 0.45
ITEM-0174 | Devices | 600 Watt Dimmer,Decora | EA | 8 | 0.35
ITEM-0175 | Devices | 600 Watt Dimmer,Lutron | EA | 5.66 | 0.35
ITEM-0176 | Devices | 600 Watt Rotary Dimmer | EA | 5 | 0.35
ITEM-0178 | Devices | Combo 2-SPST Stack Switch | EA | 11.88 | 0.12
ITEM-0179 | Devices | Combo 3-Way Switch & Pilot Light | EA | 6 | 0.12
ITEM-0180 | Devices | Combo Receptacle & Switch | EA | 10 | 0.12
ITEM-0181 | Devices | Combo SPST Switch & Pilot Light | EA | 4 | 0.12
ITEM-0182 | Devices | Combo SPST/3-Way Stack Switch | EA | 14 | 0.12
ITEM-0183 | Devices | Combo Two 3-Way Stack Switch | EA | 17 | 0.12
ITEM-0188 | Devices | Dimmer Switch, Single-Pole, 600W | EA | 18.5 | 0.35
ITEM-0189 | Devices | Dimmer Switch, Three-Way, 600W | EA | 28.75 | 0.45
ITEM-0190 | Devices | Dimmers | EA | 100 | 0.35
FIRE-ALARM-DEVICE | Devices | Fire Alarm Devices | EA | 0 | 0.2 | Standard | Generic fire alarm device placeholder
ITEM-0199 | Devices | In-Use-Cvr 2-Gang Switch | EA | 20 | 0.12
ITEM-0200 | Devices | In-Use-Cvr Receptacle | EA | 17.04 | 0.12
ITEM-0201 | Devices | In-Use-Cvr Switch | EA | 17.19 | 0.12
ITEM-0204 | Devices | Motor rated Switch | EA | 24 | 0.12
ITEM-0205 | Devices | Mulberry 2 Gang Switch Plate | EA | 0.75 | 0.02
ITEM-0206 | Devices | Mulberry Switch 1 Gang | EA | 0.42 | 0.12
ITEM-0210 | Devices | OS Special Outlets | EA | 17 | 0.12
ITEM-0211 | Devices | PS-CS120I 20a 277V 1P Switch | EA | 2.85 | 0.12
ITEM-0212 | Devices | PS-CS320I 20A 277V 3P Switch | EA | 5 | 0.12
ITEM-0213 | Devices | PS-CS420A 277V 4P Switch | EA | 12.75 | 0.12
ITEM-0214 | Devices | Rotary Dimmer Knobs-White | EA | 1.12 | 0.05
PLATE-PLASTIC-1G | Devices | Single Plastic Receptacle Plate | EA | 0.19 | 0.02 | Standard | Single gang plastic plate
ITEM-0216 | Devices | SP 20W Lamps Fluorescent Dimmer | EA | 119.52 | 0.4
ITEM-0217 | Devices | SP 30W Lamps Fluorescent Dimmer | EA | 211.49 | 0.4
ITEM-0218 | Devices | SP 40W Lamps Fluorescent Dimmer | EA | 282.29 | 0.4
ITEM-0219 | Devices | TELEPHONE OUTLET | EA | 55 | 0.12
ITEM-0220 | Devices | TV Outlet-75 OHM Coaxial Wall Plate | EA | 1.35 | 0.02
ITEM-0221 | Devices | TV Outlet-RG59 Conn | EA | 0.54 | 0.12
ITEM-0223 | Electrical Materials | #6 TELEPHONE BACKBOARD GROUND | EA | 55 | 0.02
ITEM-0224 | Electrical Materials | 1 1/2 LB w/cvr & gasket | EA | 12.76 | 0.02
ITEM-0225 | Electrical Materials | 1 1/2 Weather Head | EA | 34.65 | 0.02
ITEM-0226 | Electrical Materials | 1 1/2"Conduit Hangers w/bolt | EA | 0.84 | 0.02
ITEM-0227 | Electrical Materials | 1 1/2"Knockout Seal,Screw Type | EA | 1.15 | 0.01
ITEM-0228 | Electrical Materials | 1 1/2"Romex Conn | EA | 2.86 | 0.05
ITEM-0229 | Electrical Materials | 1 1/2"Snap Seal | EA | 1.4 | 0.02
ITEM-0230 | Electrical Materials | 1 1/4"Conduit Hangers w/bolt | EA | 0.72 | 0.02
ITEM-0231 | Electrical Materials | 1 1/4"Knockout Seal,Screw Type | EA | 0.73 | 0.01
ITEM-0232 | Electrical Materials | 1 1/4"LB w/cvr & gasket | EA | 14 | 0.02
ITEM-0233 | Electrical Materials | 1 1/4"One Hole Strap | EA | 0.25 | 0.02
ITEM-0234 | Electrical Materials | 1 1/4"Romex Conn | EA | 1.89 | 0.05
ITEM-0235 | Electrical Materials | 1 1/4"Snap Seal | EA | 0.74 | 0.02
ITEM-0236 | Electrical Materials | 1 5/8"Support Strut,per foot | EA | 1 | 0.02
ITEM-0237 | Electrical Materials | 1 Hole Romex Strap | EA | 0.03 | 0.02
ITEM-0238 | Electrical Materials | 1 LB. Ductseal | EA | 3.9 | 0.02
ITEM-0239 | Electrical Materials | 1"Conduit Hangers w/bolt | EA | 0.5 | 0.02
ITEM-0240 | Electrical Materials | 1"Cord Grip Conn | EA | 6.7 | 0.05
ITEM-0241 | Electrical Materials | 1"Knockout Seal,Screw Type | EA | 0.56 | 0.01
ITEM-0242 | Electrical Materials | 1"LB w/cvr & gasket | EA | 12.42 | 0.02
ITEM-0243 | Electrical Materials | 1"One Hole Strap | EA | 0.31 | 0.02
ITEM-0244 | Electrical Materials | 1"Romex Conn | EA | 1.25 | 0.05
ITEM-0245 | Electrical Materials | 1"Snap Seal | EA | 0.51 | 0.02
ITEM-0246 | Electrical Materials | 1/2-13 Hex Nuts | EA | 0.16 | 0.02
ITEM-0247 | Electrical Materials | 1/2-13 Unistrut Spring Nuts | EA | 0.74 | 0.02
ITEM-0248 | Electrical Materials | 1/2-13X1 1/2"Hex Head Bolts | EA | 0.34 | 0.01
ITEM-0249 | Electrical Materials | 1/2"BX Conn,90 | EA | 2.33 | 0.05
ITEM-0250 | Electrical Materials | 1/2"BX Conn,Straight | EA | 1.1 | 0.05
ITEM-0251 | Electrical Materials | 1/2"Conduit Hangers w/bolt | EA | 0.33 | 0.02
ITEM-0252 | Electrical Materials | 1/2"Continuous Threaded Rod | EA | 0.61 | 0.02
ITEM-0253 | Electrical Materials | 1/2"Cord Grip Conn | EA | 3.09 | 0.05
ITEM-0254 | Electrical Materials | 1/2"Knockout Seal,Screw Type | EA | 0.3 | 0.01
ITEM-0255 | Electrical Materials | 1/2"LB w/cvr & gasket | EA | 7.33 | 0.02
ITEM-0256 | Electrical Materials | 1/2"One Hole Strap | EA | 0.05 | 0.02
ITEM-0257 | Electrical Materials | 1/2"Plastic Romex Conn | EA | 0.29 | 0.05
ITEM-0258 | Electrical Materials | 1/2"Romex Staples | EA | 0.01 | 0.02
ITEM-0259 | Electrical Materials | 1/2"Snap Seal | EA | 0.22 | 0.02
ITEM-0260 | Electrical Materials | 1/2"X3 3/4"Concrete Stud Anchor | EA | 0.88 | 0.01
ITEM-0261 | Electrical Materials | 1/4-20 Hex Nuts | EA | 0.03 | 0.02
ITEM-0262 | Electrical Materials | 1/4-20 Unistrut Spring Nuts | EA | 0.64 | 0.02
ITEM-0263 | Electrical Materials | 1/4-20X1 1/2"Machine Screws | EA | 0.06 | 0.01
ITEM-0264 | Electrical Materials | 1/4"Continuous Threaded Rod | EA | 0.25 | 0.02
ITEM-0265 | Electrical Materials | 1/4"X3"Concrete Stud Anchor | EA | 0.49 | 0.01
ITEM-0266 | Electrical Materials | 1/4"X4"Toggle Bolts | EA | 0.3 | 0.01
ITEM-0267 | Electrical Materials | 10-24 Hex Nuts | EA | 0.02 | 0.02
ITEM-0268 | Electrical Materials | 10-24 Unistrut Spring Nuts | EA | 0.63 | 0.02
ITEM-0269 | Electrical Materials | 10-24X1 1/2"Machine Screws | EA | 0.04 | 0.01
ITEM-0270 | Electrical Materials | 10-32 Hex Nuts | EA | 0.02 | 0.02
ITEM-0271 | Electrical Materials | 10-32X1 1/2"Machine Screws | EA | 0.04 | 0.01
ITEM-0272 | Electrical Materials | 1000 AMP SERVICE | EA | 800 | 0.02
ITEM-0273 | Electrical Materials | 100A/240V/3PH/F/N1/DISC. | EA | 175 | 3
ITEM-0274 | Electrical Materials | 100A/240V/3PH/F/N3/DISC. | EA | 250 | 3
ITEM-0275 | Electrical Materials | 100A/600V/3PH/F/N1/DISC. | EA | 265 | 3
ITEM-0276 | Electrical Materials | 100A/600V/3PH/F/N3/DISC. | EA | 467 | 3
ITEM-0277 | Electrical Materials | 10X1"Sheet Metal Screw | EA | 0.03 | 0.01
ITEM-0278 | Electrical Materials | 150 KVA | EA | 300 | 0.02
ITEM-0279 | Electrical Materials | 15A -CS315-I-120/277V swt | EA | 2.24 | 0.02
ITEM-0280 | Electrical Materials | 15A Clock Hanger Recpt | EA | 11 | 0.02
ITEM-0281 | Electrical Materials | 15A GFI Recpt Res Grade | EA | 11 | 0.02
ITEM-0282 | Electrical Materials | 15A Single Recpt 5-15R,Res Grade | EA | 6 | 0.02
ITEM-0283 | Electrical Materials | 15A Single Recpt Hosp Grade 5-15R | EA | 10.99 | 0.02
ITEM-0284 | Electrical Materials | 15A Single Recpt,Comm Grade 5-15R | EA | 1.5 | 0.02
ITEM-0285 | Electrical Materials | 15A- CS115-I-120/277V swt | EA | 1.49 | 0.02
ITEM-0286 | Electrical Materials | 15A- CS215-I-120/277V swt | EA | 5.59 | 0.02
ITEM-0287 | Electrical Materials | 15A-CS415-I-120/277V swt | EA | 9.83 | 0.02
ITEM-0288 | Electrical Materials | 15A,125V Dplx Recpt Orange Iso Grnd | EA | 22.89 | 0.02
ITEM-0289 | Electrical Materials | 15A,125V Single Recpt Orange Iso Grnd | EA | 19.5 | 0.02
ITEM-0290 | Electrical Materials | 15A,125V,Lock Single Recpt L5-15R | EA | 10 | 0.02
ITEM-0291 | Electrical Materials | 15A,250V Single Recpt Orange Iso Grnd | EA | 17.09 | 0.02
ITEM-0292 | Electrical Materials | 15A,250V,Lock Single Recpt L6-15R | EA | 12.58 | 0.02
ITEM-0293 | Electrical Materials | 15A,250V,Single Recpt 6-15R,Comm Grade | EA | 10.08 | 0.02
ITEM-0294 | Electrical Materials | 15A,250V,Single Recpt 6-15R,Res Grade | EA | 2.5 | 0.02
ITEM-0295 | Electrical Materials | 2 1/2" Weather Head | EA | 57.68 | 0.02
ITEM-0296 | Electrical Materials | 2 1/2"Conduit Hangers w/bolt | EA | 1.28 | 0.02
ITEM-0297 | Electrical Materials | 2 1/2"Knockout Seal,Screw Type | EA | 1.68 | 0.01
ITEM-0298 | Electrical Materials | 2 1/2"LB w/cvr & gasket | EA | 55 | 0.02
ITEM-0299 | Electrical Materials | 2 1/2"One Hole Strp | EA | 1.2 | 0.02
ITEM-0300 | Electrical Materials | 2 Hole Romex Strap | EA | 0.04 | 0.02
ITEM-0301 | Electrical Materials | 2" Weather Head | EA | 51.65 | 0.02
ITEM-0302 | Electrical Materials | 2"Conduit Hangers w/bolt | EA | 0.92 | 0.02
ITEM-0303 | Electrical Materials | 2"Knockout Seal,Screw Type | EA | 1.41 | 0.01
ITEM-0304 | Electrical Materials | 2"LB w/cvr & gasket | EA | 19 | 0.02
ITEM-0305 | Electrical Materials | 2"One Hole Strap | EA | 0.31 | 0.02
ITEM-0306 | Electrical Materials | 2"Romex Conn | EA | 3.59 | 0.05
ITEM-0307 | Electrical Materials | 2"Snap Seal | EA | 1.48 | 0.02
ITEM-0308 | Electrical Materials | 200 Amp Disconnect | EA | 350 | 0.02
ITEM-0309 | Electrical Materials | 20A -CS320-I-120/277V swt | EA | 2.7 | 0.02
ITEM-0310 | Electrical Materials | 20A GFI Recpt Res Grade | EA | 13 | 0.02
ITEM-0311 | Electrical Materials | 20A GFI Recpt,Hosp Grade | EA | 39.49 | 0.02
ITEM-0312 | Electrical Materials | 20A Isolated Grnd Hosp Grade 5-15R | EA | 20.22 | 0.02
ITEM-0313 | Electrical Materials | 20A Single Recpt 5-20R,Res Grade | EA | 3.48 | 0.02
ITEM-0314 | Electrical Materials | 20A Single Recpt Hosp Grade 5-20R | EA | 14.36 | 0.02
ITEM-0315 | Electrical Materials | 20A Single Recpt,Comm Grade 5-20R | EA | 7.11 | 0.02
ITEM-0316 | Electrical Materials | 20A- CS120-I-120/277V swt | EA | 1.8 | 0.02
ITEM-0317 | Electrical Materials | 20A- CS220-I-120/277V swt | EA | 5.3 | 0.02
ITEM-0318 | Electrical Materials | 20A-CS420-I-120/277V swt | EA | 13.29 | 0.02
ITEM-0319 | Electrical Materials | 20A,125V Dplx Recpt Orange Iso Grnd | EA | 6 | 0.02
ITEM-0320 | Electrical Materials | 20A,125V,Lock Single Recpt L5-20R | EA | 11.24 | 0.02
ITEM-0321 | Electrical Materials | 20A,250V,Lock Single Recpt L6-20R | EA | 11.29 | 0.02
ITEM-0322 | Electrical Materials | 20A,250V,Single Recpt 6-20R,Comm Grade | EA | 11.47 | 0.02
ITEM-0323 | Electrical Materials | 20A,250V,Single Recpt 6-20R,Res Grade | EA | 10.15 | 0.02
ITEM-0324 | Electrical Materials | 20A,3p 250V,Lock Single Rec L14-20R | EA | 15.63 | 0.02
ITEM-0325 | Electrical Materials | 20AC1I top spec 120/277 Swt. | EA | 2.98 | 0.02
ITEM-0326 | Electrical Materials | 20AC2I- top spec 120/277 Swt. | EA | 10.44 | 0.02
ITEM-0327 | Electrical Materials | 20AC3I- top spec 120/277 Swt. | EA | 4.17 | 0.02
ITEM-0328 | Electrical Materials | 20AC4I- top spec 120/277 Swt. | EA | 12.78 | 0.02
ITEM-0329 | Electrical Materials | 3" Weather Head | EA | 67.65 | 0.02
ITEM-0330 | Electrical Materials | 3"Conduit Hangers w/bolt | EA | 1.55 | 0.02
ITEM-0331 | Electrical Materials | 3"Knockout Seal,Screw Type | EA | 2.08 | 0.01
ITEM-0332 | Electrical Materials | 3"LB w/cvr & gasket | EA | 86.7 | 0.02
ITEM-0333 | Electrical Materials | 3"One Hole Strap | EA | 2.25 | 0.02
ITEM-0334 | Electrical Materials | 3/0 Solderless Lug | EA | 1.75 | 0.02
ITEM-0335 | Electrical Materials | 3/16"X4"Toggle Bolts | EA | 0.27 | 0.01
ITEM-0336 | Electrical Materials | 3/4"BX Conn,90 | EA | 3.65 | 0.05
ITEM-0337 | Electrical Materials | 3/4"BX Conn,Straight | EA | 1.92 | 0.05
ITEM-0338 | Electrical Materials | 3/4"Conduit Hangers w/bolt | EA | 0.37 | 0.02
ITEM-0339 | Electrical Materials | 3/4"Cord Grip Conn | EA | 4.39 | 0.05
ITEM-0340 | Electrical Materials | 3/4"Knockout Seal,Screw Type | EA | 0.39 | 0.01
ITEM-0341 | Electrical Materials | 3/4"LB w/cvr & gasket | EA | 8.69 | 0.02
ITEM-0342 | Electrical Materials | 3/4"One Hole Strap | EA | 0.07 | 0.02
ITEM-0343 | Electrical Materials | 3/4"Plastic Romex Conn | EA | 0.53 | 0.05
ITEM-0344 | Electrical Materials | 3/4"Romex Conn | EA | 0.77 | 0.05
ITEM-0345 | Electrical Materials | 3/4"Snap Seal | EA | 0.28 | 0.02
ITEM-0346 | Electrical Materials | 3/4"X8' Grnd Rod | EA | 18.62 | 0.02
ITEM-0347 | Electrical Materials | 3/8-16 Hex Nuts | EA | 0.08 | 0.02
ITEM-0348 | Electrical Materials | 3/8-16 Unistrut Spring Nuts | EA | 0.7 | 0.02
ITEM-0349 | Electrical Materials | 3/8-16X1 1/2"Hex Head Bolts | EA | 0.22 | 0.01
ITEM-0350 | Electrical Materials | 3/8"BX Conn,90 | EA | 1.37 | 0.05
ITEM-0351 | Electrical Materials | 3/8"BX Conn,Straight | EA | 0.29 | 0.05
ITEM-0352 | Electrical Materials | 3/8"Continuous Threaded Rod | EA | 0.4 | 0.02
ITEM-0353 | Electrical Materials | 3/8"Romex Conn | EA | 0.32 | 0.05
ITEM-0354 | Electrical Materials | 3/8"X3 Concrete Stud Anchor | EA | 0.51 | 0.01
ITEM-0355 | Electrical Materials | 3/8"X4"Toggle Bolts | EA | 0.73 | 0.01
ITEM-0356 | Electrical Materials | 30 KVA | EA | 300 | 0.02
ITEM-0357 | Electrical Materials | 30A,125/250V,Lock Single Rec L14-30R | EA | 24.74 | 0.02
ITEM-0358 | Electrical Materials | 30A,125V,Lock Single Recpt L5-30R | EA | 15.98 | 0.02
ITEM-0359 | Electrical Materials | 30A,250V,Lock Single Recpt L6-30R | EA | 17.26 | 0.02
ITEM-0360 | Electrical Materials | 30A,3p 250V,Lock Single Rec L14-30R | EA | 17 | 0.02
ITEM-0361 | Electrical Materials | 30A/240V/3PH/F/N1/DISC. | EA | 85 | 2
ITEM-0362 | Electrical Materials | 30A/240V/3PH/F/N3/DISC. | EA | 125 | 2
ITEM-0363 | Electrical Materials | 30A/600V/3PH/F/N1/DISC. | EA | 135 | 2
ITEM-0364 | Electrical Materials | 30A/600V/3PH/F/N3/DISC. | EA | 269 | 2
ITEM-0365 | Electrical Materials | 4' x 8' x 3/4" PLYWOOD BACKBOARD | EA | 150 | 0.02
ITEM-0366 | Electrical Materials | 4" Weather Head | EA | 67.75 | 0.02
ITEM-0367 | Electrical Materials | 4"Conduit Hangers w/bolt | EA | 4.04 | 0.02
ITEM-0368 | Electrical Materials | 4"Knockout Seal,Screw Type | EA | 2.47 | 0.01
ITEM-0369 | Electrical Materials | 4"L.T. Flex Conn,NM | EA | 55 | 0.05
ITEM-0370 | Electrical Materials | 4"LB w/cvr & gasket | EA | 100 | 0.02
ITEM-0371 | Electrical Materials | 4"One Hole HW Strap | EA | 4 | 0.02
ITEM-0372 | Electrical Materials | 4"One Hole Strap | EA | 3.25 | 0.02
ITEM-0373 | Electrical Materials | 45 KVA | EA | 300 | 0.02
ITEM-0374 | Electrical Materials | 5/16-18 Hex Nuts | EA | 0.06 | 0.02
ITEM-0375 | Electrical Materials | 5/16-18 Unistrut Spring Nuts | EA | 0.67 | 0.02
ITEM-0376 | Electrical Materials | 5/16-18X1 1/2"Hex Head Bolts | EA | 0.04 | 0.01
ITEM-0377 | Electrical Materials | 5/16"X4"Toggle Bolts | EA | 0.57 | 0.01
ITEM-0378 | Electrical Materials | 5/8-11 Unistrut Spring Nuts | EA | 1.39 | 0.02
ITEM-0379 | Electrical Materials | 5/8"Continuous Threaded Rod | EA | 0.86 | 0.02
ITEM-0380 | Electrical Materials | 5/8"X8' Grnd Rod | EA | 4 | 0.02
ITEM-0381 | Electrical Materials | 6-32 Hex Nuts | EA | 0.02 | 0.02
ITEM-0382 | Electrical Materials | 6-32X1 1/2"Machine Screws | EA | 0.03 | 0.01
ITEM-0383 | Electrical Materials | 6" X 36" TRENCHING & BACKFILL | EA | 6 | 0.02
ITEM-0384 | Electrical Materials | 60A/240V/3PH/F/N1/DISC. | EA | 125 | 2.5
ITEM-0385 | Electrical Materials | 60A/240V/3PH/F/N3/DISC. | EA | 165 | 2.5
ITEM-0386 | Electrical Materials | 60A/600V/3PH/F/N1/DISC. | EA | 221 | 2.5
ITEM-0387 | Electrical Materials | 60A/600V/3PH/F/N3/DISC. | EA | 320 | 2.5
ITEM-0388 | Electrical Materials | 6X1"Sheet Metal Screw | EA | 0.02 | 0.01
ITEM-0389 | Electrical Materials | 7/8"Support Strut,per foot | EA | 5 | 0.02
ITEM-0390 | Electrical Materials | 75 KVA | EA | 300 | 0.02
ITEM-0391 | Electrical Materials | 8-32 Hex Nuts | EA | 0.02 | 0.02
ITEM-0392 | Electrical Materials | 8-32X1 1/2"Machine Screws | EA | 0.04 | 0.01
ITEM-0393 | Electrical Materials | 8X1"Sheet Metal Screw | EA | 0.03 | 0.01
ITEM-0394 | Electrical Materials | 9/16"Romex Staples | EA | 0.02 | 0.02
ITEM-0395 | Electrical Materials | ANSUL SYSTEM SHUT DOWN | EA | 1150 | 0.02
ITEM-0396 | Electrical Materials | BACKHOE WORK | EA | 13 | 0.02
ITEM-0397 | Electrical Materials | Black Tape/Roll | EA | 1.3 | 0.02
ITEM-0398 | Electrical Materials | Conduit Roof Top Unistrut Support | EA | 14.75 | 0.02
ITEM-0399 | Electrical Materials | Cordination Study | EA | 4500 | 0.02
ITEM-0400 | Electrical Materials | Dual Unit Car Caharger | EA | 200 | 0.02
ITEM-0401 | Electrical Materials | Duct Detector | EA | 325 | 0.02
ITEM-0402 | Electrical Materials | Extra Hours 150 | EA | 200 | 0.02
ITEM-0403 | Electrical Materials | Extra Hours 300 | EA | 200 | 0.02
ITEM-0404 | Electrical Materials | Extra Hours 50 | EA | 200 | 0.02
ITEM-0405 | Electrical Materials | Fender washer 1/4" | EA | 0.08 | 0.02
ITEM-0406 | Electrical Materials | Fricton Tape | EA | 1.97 | 0.02
ITEM-0407 | Electrical Materials | Furniture Feed | EA | 125 | 0.02
ITEM-0408 | Electrical Materials | Generator | EA | 3000 | 0.02
ITEM-0409 | Electrical Materials | In-Use-Cvr GFI | EA | 17.04 | 0.02
ITEM-0410 | Electrical Materials | In-Use-Cvr 2G Dplx | EA | 19 | 0.02
ITEM-0411 | Electrical Materials | In-Use-Cvr 50A Recpt | EA | 19.98 | 0.02
ITEM-0412 | Electrical Materials | Jack Chain | EA | 0.17 | 0.02
ITEM-0413 | Electrical Materials | OCCUPANCY SENSOR | EA | 275 | 0.02
ITEM-0414 | Electrical Materials | OCCUPANCY SENSOR Labor Only | EA | 75 | 0.02
ITEM-0415 | Electrical Materials | PE Cell 2000 watt | EA | 10 | 0.02
ITEM-0416 | Electrical Materials | Power Pole | EA | 500 | 0.02
ITEM-0417 | Electrical Materials | PVC Cement 16 oz | EA | 6.5 | 0.02
ITEM-0418 | Electrical Materials | Room Controller | EA | 210 | 0.02
ITEM-0420 | Electrical Materials | S-Hooks | EA | 0.06 | 0.02
ITEM-0419 | Electrical Materials | S-Hooks | EA | 0.06 | 0.02
ITEM-0421 | Electrical Materials | Single Unit Car Charger | EA | 150 | 0.02
ITEM-0422 | Electrical Materials | SPECIAL EQUIPMENT HOOK-UP | EA | 60 | 0.02
ITEM-0423 | Electrical Materials | Telephone Jack,Exterior Surface Mount | EA | 9.72 | 0.02
ITEM-0424 | Electrical Materials | Telephone Jack,Flush | EA | 0.75 | 0.02
ITEM-0425 | Electrical Materials | Telephone Jack,Interior Surface Mount | EA | 0.8 | 0.02
ITEM-0426 | Electrical Materials | Telephone Jack,Wall Mount | EA | 1.03 | 0.02
ITEM-0427 | Electrical Materials | Tie Rap Ties | EA | 0.04 | 0.02
ITEM-0428 | Electrical Materials | Time Clock 120v | EA | 50 | 0.02
ITEM-0429 | Electrical Materials | TRANSFORMER PAD | EA | 1650 | 0.02
ITEM-0430 | Electrical Materials | TV Splitter-2 Way | EA | 1.5 | 0.02
ITEM-0431 | Electrical Materials | TV Splitter-3 Way | EA | 1.75 | 0.02
ITEM-0432 | Electrical Materials | Unistrut Corner Angle | EA | 1 | 0.02
ITEM-0433 | Electrical Materials | Unistrut End Angle | EA | 0.97 | 0.02
ITEM-0434 | Electrical Materials | Unistrut Shelf Bracket | EA | 1.92 | 0.02
ITEM-0435 | Electrical Materials | Warning Tape 1000' | EA | 0.03 | 0.02
ITEM-0436 | Electrical Non Metallic Tubing | 1"Electrical Non-Metallic Tubing | EA | 1.3 | 0.012
ITEM-0437 | Electrical Non Metallic Tubing | 1"ENT Conn | EA | 0.96 | 0.012
ITEM-0438 | Electrical Non Metallic Tubing | 1"ENT Coup | EA | 0.96 | 0.03
ITEM-0439 | Electrical Non Metallic Tubing | 1/2"Electrical Non-Metallic Tubing | EA | 0.44 | 0.012
ITEM-0440 | Electrical Non Metallic Tubing | 1/2"ENT Conn | EA | 0.69 | 0.012
ITEM-0441 | Electrical Non Metallic Tubing | 1/2"ENT Coup | EA | 0.76 | 0.03
ITEM-0442 | Electrical Non Metallic Tubing | 3/4"Electrical Non-Metallic Tubing | EA | 0.72 | 0.012
ITEM-0443 | Electrical Non Metallic Tubing | 3/4"ENT Conn | EA | 1.29 | 0.012
ITEM-0444 | Electrical Non Metallic Tubing | 3/4"ENT Coup | EA | 0.96 | 0.03
ITEM-0445 | EMT CONDUIT | 1 1/2"EMT Conduit | EA | 4.3 | 0.02
ITEM-0446 | EMT CONDUIT | 1 1/4"EMT Conduit | EA | 3.59 | 0.018
ITEM-0447 | EMT CONDUIT | 1"EMT Conduit | EA | 2.15 | 0.015
ITEM-0448 | EMT CONDUIT | 1/2"EMT Conduit | EA | 0.72 | 0.01
ITEM-0449 | EMT CONDUIT | 2 1/2"EMT Conduit | EA | 7.65 | 0.03
ITEM-0450 | EMT CONDUIT | 2"EMT Conduit | EA | 5.05 | 0.025
ITEM-0451 | EMT CONDUIT | 3 1/2 EMT Conduit | EA | 12.8 | 0.04
ITEM-0452 | EMT CONDUIT | 3"EMT Conduit | EA | 9.7 | 0.035
ITEM-0453 | EMT CONDUIT | 3/4"EMT Conduit | EA | 1.25 | 0.012
ITEM-0454 | EMT CONDUIT | 4"EMT Conduit | EA | 13.14 | 0.045
ITEM-0455 | Fittings | 1 1/2 EMT Compression Conn | EA | 2.75 | 0.03
ITEM-0456 | Fittings | 1 1/2 EMT Compression Coup | EA | 3.75 | 0.03
ITEM-0457 | Fittings | 1 1/2 EMT One Hole Strap | EA | 0.79 | 0.02
ITEM-0458 | Fittings | 1 1/2 EMT Set Screw Conn | EA | 1.74 | 0.05
ITEM-0459 | Fittings | 1 1/2 EMT Set Screw Coup | EA | 1.49 | 0.03
ITEM-0460 | Fittings | 1 1/4"EMT Compression Conn | EA | 0.8 | 0.03
ITEM-0461 | Fittings | 1 1/4"EMT Compression Coup | EA | 0.9 | 0.03
ITEM-0462 | Fittings | 1 1/4"EMT Elbow,90 | EA | 13.75 | 0.05
ITEM-0463 | Fittings | 1 1/4"EMT Set Screw Conn | EA | 1.03 | 0.05
ITEM-0464 | Fittings | 1 1/4"EMT Set Screw Coup | EA | 1.2 | 0.03
ITEM-0465 | Fittings | 1"EMT Compression Conn | EA | 0.78 | 0.03
ITEM-0466 | Fittings | 1"EMT Compression Coup | EA | 0.99 | 0.03
ITEM-0467 | Fittings | 1"EMT Elbow,90 | EA | 2.67 | 0.05
ITEM-0468 | Fittings | 1"EMT Nail Straps | EA | 0.3 | 0.02
ITEM-0469 | Fittings | 1"EMT Set Screw Conn | EA | 0.59 | 0.05
ITEM-0470 | Fittings | 1"EMT Set Screw Coup | EA | 0.64 | 0.03
EMT-CONNECTOR-0.5-SCREW | Fittings | 1/2 Emt Steel Set Screw Connectors | EA | 1.74 | 0.03 | Standard | 1/2 inch EMT set screw connector
EMT-COUPLING-0.5-SCREW | Fittings | 1/2 Emt Steel Set Screw Couplings | EA | 1.49 | 0.03 | Standard | 1/2 inch EMT set screw coupling
EMT-STRAP-0.5-1HOLE | Fittings | 1/2 One hole strap | EA | 0.79 | 0.02 | Standard | 1/2 inch EMT one hole strap
ITEM-0471 | Fittings | 1/2"EMT Compression Conn | EA | 0.25 | 0.03
ITEM-0472 | Fittings | 1/2"EMT Compression Coup | EA | 0.25 | 0.03
ITEM-0473 | Fittings | 1/2"EMT Nail Straps | EA | 0.16 | 0.02
ITEM-0474 | Fittings | 1/2"EMT Set Screw Conn | EA | 0.19 | 0.05
ITEM-0475 | Fittings | 1/2"EMT Set Screw Coup | EA | 0.19 | 0.03
ITEM-0476 | Fittings | 1/2"Rod Couplings | EA | 1.56 | 0.03
ITEM-0477 | Fittings | 1/4"Rod Couplings | EA | 0.8 | 0.03
ITEM-0478 | Fittings | 2 1/2"EMT Compression Conn | EA | 3.25 | 0.03
ITEM-0479 | Fittings | 2 1/2"EMT Compression Coup | EA | 4.5 | 0.03
ITEM-0480 | Fittings | 2 1/2"EMT Set Screw Conn | EA | 6.37 | 0.05
ITEM-0481 | Fittings | 2 1/2"EMT Set Screw Coup | EA | 4.94 | 0.03
ITEM-0482 | Fittings | 2" 90 EMT | EA | 5.72 | 0.03
ITEM-0483 | Fittings | 2"EMT Compression Conn | EA | 1.5 | 0.03
ITEM-0484 | Fittings | 2"EMT Compression Coup | EA | 1.8 | 0.03
ITEM-0485 | Fittings | 2"EMT Set Screw Conn | EA | 2 | 0.05
ITEM-0486 | Fittings | 2"EMT Set Screw Coup | EA | 2.14 | 0.03
ITEM-0487 | Fittings | 3" 90 EMT | EA | 21.67 | 0.03
ITEM-0488 | Fittings | 3"EMT Compression Conn | EA | 11.95 | 0.03
ITEM-0489 | Fittings | 3"EMT Compression Coup | EA | 15.71 | 0.03
ITEM-0490 | Fittings | 3"EMT Set Screw Conn | EA | 7.53 | 0.05
ITEM-0491 | Fittings | 3"EMT Set Screw Coup | EA | 5.72 | 0.03
ITEM-0492 | Fittings | 3/4"EMT Compression Conn | EA | 0.51 | 0.03
ITEM-0493 | Fittings | 3/4"EMT Compression Coup | EA | 0.6 | 0.03
ITEM-0494 | Fittings | 3/4"EMT Nail Straps | EA | 0.18 | 0.02
ITEM-0495 | Fittings | 3/4"EMT Set Screw Conn | EA | 0.2 | 0.05
ITEM-0496 | Fittings | 3/4"EMT Set Screw Coup | EA | 0.23 | 0.03
ITEM-0497 | Fittings | 3/8"Rod Couplings | EA | 1.28 | 0.03
ITEM-0498 | Fittings | 4" 90 EMT | EA | 33.95 | 0.03
ITEM-0499 | Fittings | 4"EMT Compression Conn | EA | 6 | 0.03
ITEM-0500 | Fittings | 4"EMT Compression Coup | EA | 8 | 0.03
ITEM-0501 | Fittings | 4"EMT Set Screw Conn | EA | 10.71 | 0.05
ITEM-0502 | Fittings | 4"EMT Set Screw Coup | EA | 8.09 | 0.03
ITEM-0503 | Fittings | 5/8"Rod Couplings | EA | 2.51 | 0.03
SCREWS-BOX | Fittings | Screws | EA | 0.06 | 0.01 | Standard | Box mounting screws
WING-NUTS | Fittings | Wing Nuts | EA | 0.4 | 0.01 | Standard | Electrical wing nuts
ITEM-0527 | FLEX CONDUIT & FITTINGS | 1 1/2"Flex Conduit | EA | 1.9 | 0.01
ITEM-0528 | FLEX CONDUIT & FITTINGS | 1 1/2"Flex Conn | EA | 3.76 | 0.05
ITEM-0529 | FLEX CONDUIT & FITTINGS | 1 1/2"Flex Conn,90 | EA | 11.56 | 0.05
ITEM-0530 | FLEX CONDUIT & FITTINGS | 1 1/2"Flex Coup,screw-in | EA | 3.48 | 0.03
ITEM-0531 | FLEX CONDUIT & FITTINGS | 1 1/2"Flex To Emt Coup | EA | 14.05 | 0.03
ITEM-0532 | FLEX CONDUIT & FITTINGS | 1 1/2"L.T. Flex Conn | EA | 5.77 | 0.05
ITEM-0533 | FLEX CONDUIT & FITTINGS | 1 1/2"L.T. Flex Conn,90 | EA | 9.85 | 0.05
ITEM-0534 | FLEX CONDUIT & FITTINGS | 1 1/2"L.T. Flex Conn,NM | EA | 1.84 | 0.05
ITEM-0535 | FLEX CONDUIT & FITTINGS | 1 1/2"LiquidTite Flex | EA | 1.59 | 0.02
ITEM-0536 | FLEX CONDUIT & FITTINGS | 1 1/2"LiquidTite Flex,Non-Metallic | EA | 1.35 | 0.02
ITEM-0538 | FLEX CONDUIT & FITTINGS | 1 1/2"One Hole HW Strap | EA | 0.3 | 0.02
ITEM-0537 | FLEX CONDUIT & FITTINGS | 1 1/2"One Hole HW Strap | EA | 0.38 | 0.02
ITEM-0539 | FLEX CONDUIT & FITTINGS | 1 1/4"Flex Conduit | EA | 1.25 | 0.01
ITEM-0540 | FLEX CONDUIT & FITTINGS | 1 1/4"Flex Conn | EA | 2.8 | 0.05
ITEM-0541 | FLEX CONDUIT & FITTINGS | 1 1/4"Flex Conn,90 | EA | 3.87 | 0.05
ITEM-0542 | FLEX CONDUIT & FITTINGS | 1 1/4"Flex Coup | EA | 2.79 | 0.03
ITEM-0543 | FLEX CONDUIT & FITTINGS | 1 1/4"Flex To Emt Coup | EA | 3.9 | 0.03
ITEM-0544 | FLEX CONDUIT & FITTINGS | 1 1/4"L.T. Flex Conn | EA | 3.97 | 0.05
ITEM-0545 | FLEX CONDUIT & FITTINGS | 1 1/4"L.T. Flex Conn,90 | EA | 7.08 | 0.05
ITEM-0546 | FLEX CONDUIT & FITTINGS | 1 1/4"L.T. Flex Conn,NM | EA | 3.5 | 0.05
ITEM-0547 | FLEX CONDUIT & FITTINGS | 1 1/4"LiquidTite Flex | EA | 1.08 | 0.02
ITEM-0548 | FLEX CONDUIT & FITTINGS | 1 1/4"LiquidTite Flex,Non-Metallic | EA | 0.89 | 0.02
ITEM-0549 | FLEX CONDUIT & FITTINGS | 1 1/4"One Hole HW Strap | EA | 0.22 | 0.02
ITEM-0550 | FLEX CONDUIT & FITTINGS | 1 1/4"One Hole HW Strap | EA | 0.26 | 0.02
ITEM-0551 | FLEX CONDUIT & FITTINGS | 1"Flex Conduit | EA | 0.87 | 0.01
ITEM-0552 | FLEX CONDUIT & FITTINGS | 1"Flex Conn st. | EA | 1.24 | 0.05
ITEM-0553 | FLEX CONDUIT & FITTINGS | 1"Flex Conn,90 | EA | 4.74 | 0.05
ITEM-0554 | FLEX CONDUIT & FITTINGS | 1"Flex Coup | EA | 1.29 | 0.03
ITEM-0555 | FLEX CONDUIT & FITTINGS | 1"Flex To Emt Coup | EA | 2.82 | 0.03
ITEM-0556 | FLEX CONDUIT & FITTINGS | 1"L.T. Flex Conn | EA | 2.5 | 0.05
ITEM-0557 | FLEX CONDUIT & FITTINGS | 1"L.T. Flex Conn,90 | EA | 4.67 | 0.05
ITEM-0558 | FLEX CONDUIT & FITTINGS | 1"L.T. Flex Conn,90,NM | EA | 5.03 | 0.05
ITEM-0559 | FLEX CONDUIT & FITTINGS | 1"L.T. Flex Conn,NM | EA | 2.13 | 0.05
ITEM-0560 | FLEX CONDUIT & FITTINGS | 1"LiquidTite Flex | EA | 0.81 | 0.02
ITEM-0561 | FLEX CONDUIT & FITTINGS | 1"LiquidTite Flex,Non-Metallic | EA | 0.65 | 0.02
ITEM-0563 | FLEX CONDUIT & FITTINGS | 1"One Hole HW Strap | EA | 0.19 | 0.02
ITEM-0562 | FLEX CONDUIT & FITTINGS | 1"One Hole HW Strap | EA | 0.16 | 0.02
ITEM-0564 | FLEX CONDUIT & FITTINGS | 1/2 LiquidTite Flex | EA | 7.9 | 0.02
ITEM-0565 | FLEX CONDUIT & FITTINGS | 1/2"Flex Conduit | EA | 0.35 | 0.01
ITEM-0566 | FLEX CONDUIT & FITTINGS | 1/2"Flex Conn st | EA | 0.24 | 0.05
ITEM-0567 | FLEX CONDUIT & FITTINGS | 1/2"Flex Conn,90 | EA | 0.42 | 0.05
ITEM-0568 | FLEX CONDUIT & FITTINGS | 1/2"Flex To Emt Coup | EA | 0.98 | 0.03
ITEM-0569 | FLEX CONDUIT & FITTINGS | 1/2"L.T. Flex Conn | EA | 1.73 | 0.05
ITEM-0570 | FLEX CONDUIT & FITTINGS | 1/2"L.T. Flex Conn,90 | EA | 1.46 | 0.05
ITEM-0571 | FLEX CONDUIT & FITTINGS | 1/2"L.T. Flex Conn,90,NM | EA | 1.55 | 0.05
ITEM-0572 | FLEX CONDUIT & FITTINGS | 1/2"L.T. Flex Conn,NM | EA | 1 | 0.05
ITEM-0573 | FLEX CONDUIT & FITTINGS | 1/2"LiquidTite Flex | EA | 0.37 | 0.02
ITEM-0574 | FLEX CONDUIT & FITTINGS | 1/2"LiquidTite Flex,Non-Metallic | EA | 0.44 | 0.02
ITEM-0576 | FLEX CONDUIT & FITTINGS | 1/2"One Hole HW Strap | EA | 0.12 | 0.02
ITEM-0575 | FLEX CONDUIT & FITTINGS | 1/2"One Hole HW Strap | EA | 0.04 | 0.02
ITEM-0577 | FLEX CONDUIT & FITTINGS | 2 1/2 Flex To Emt Coup | EA | 2.94 | 0.03
ITEM-0578 | FLEX CONDUIT & FITTINGS | 2 1/2"Flex Conduit | EA | 2.93 | 0.01
ITEM-0579 | FLEX CONDUIT & FITTINGS | 2 1/2"Flex Conn st | EA | 13.1 | 0.05
ITEM-0580 | FLEX CONDUIT & FITTINGS | 2 1/2"Flex Conn,90 | EA | 30.66 | 0.05
ITEM-0581 | FLEX CONDUIT & FITTINGS | 2 1/2"L.T. Flex Conn | EA | 35.21 | 0.05
ITEM-0582 | FLEX CONDUIT & FITTINGS | 2 1/2"L.T. Flex Conn,90 | EA | 46.71 | 0.05
ITEM-0583 | FLEX CONDUIT & FITTINGS | 2 1/2"L.T. Flex Conn,NM | EA | 35 | 0.05
ITEM-0584 | FLEX CONDUIT & FITTINGS | 2 1/2"LiquidTite Flex | EA | 3.57 | 0.02
ITEM-0585 | FLEX CONDUIT & FITTINGS | 2 1/2"LiquidTite Flex,Non Metallic | EA | 4 | 0.02
ITEM-0587 | FLEX CONDUIT & FITTINGS | 2 1/2"One Hole HW Strap | EA | 1.29 | 0.02
ITEM-0586 | FLEX CONDUIT & FITTINGS | 2 1/2"One Hole HW Strap | EA | 1.29 | 0.02
ITEM-0588 | FLEX CONDUIT & FITTINGS | 2"Flex Conduit | EA | 2.21 | 0.01
ITEM-0589 | FLEX CONDUIT & FITTINGS | 2"Flex Conn,90 | EA | 15 | 0.05
ITEM-0590 | FLEX CONDUIT & FITTINGS | 2"Flex Conn,screw-in | EA | 5.37 | 0.05
ITEM-0591 | FLEX CONDUIT & FITTINGS | 2"Flex Coup | EA | 8.08 | 0.03
ITEM-0592 | FLEX CONDUIT & FITTINGS | 2"Flex To Emt Coup | EA | 2.94 | 0.03
ITEM-0593 | FLEX CONDUIT & FITTINGS | 2"L.T. Flex Conn | EA | 8.83 | 0.05
ITEM-0594 | FLEX CONDUIT & FITTINGS | 2"L.T. Flex Conn,90 | EA | 14.9 | 0.05
ITEM-0595 | FLEX CONDUIT & FITTINGS | 2"L.T. Flex Conn,NM | EA | 12.1 | 0.05
ITEM-0596 | FLEX CONDUIT & FITTINGS | 2"LiquidTite Flex | EA | 1.95 | 0.02
ITEM-0597 | FLEX CONDUIT & FITTINGS | 2"LiquidTite Flex,Non-Metallic | EA | 1.84 | 0.02
ITEM-0598 | FLEX CONDUIT & FITTINGS | 2"One Hole HW Strap | EA | 0.38 | 0.02
ITEM-0599 | FLEX CONDUIT & FITTINGS | 2"One Hole HW Strap | EA | 0.47 | 0.02
ITEM-0600 | FLEX CONDUIT & FITTINGS | 3 1/2 Flex Conduit | EA | 5.54 | 0.01
ITEM-0601 | FLEX CONDUIT & FITTINGS | 3 1/2 Flex Conn st | EA | 24.45 | 0.05
ITEM-0602 | FLEX CONDUIT & FITTINGS | 3 1/2 Flex Conn,90 | EA | 103.17 | 0.05
ITEM-0603 | FLEX CONDUIT & FITTINGS | 3 1/2 Flex To Emt Coup | EA | 2.94 | 0.03
ITEM-0604 | FLEX CONDUIT & FITTINGS | 3 1/2 L.T. Flex Conn | EA | 47.4 | 0.05
ITEM-0605 | FLEX CONDUIT & FITTINGS | 3 1/2 L.T. Flex Conn,90 | EA | 67 | 0.05
ITEM-0606 | FLEX CONDUIT & FITTINGS | 3 1/2 L.T. Flex Conn,NM | EA | 45 | 0.05
ITEM-0607 | FLEX CONDUIT & FITTINGS | 3 1/2 LiquidTite Flex,Non Metallic | EA | 7.5 | 0.02
ITEM-0608 | FLEX CONDUIT & FITTINGS | 3 1/2 One Hole HW Strap | EA | 9.96 | 0.02
ITEM-0609 | FLEX CONDUIT & FITTINGS | 3 1/2 One Hole HW Strap | EA | 2.36 | 0.02
ITEM-0610 | FLEX CONDUIT & FITTINGS | 3 Flex To Emt Coup | EA | 2.94 | 0.03
ITEM-0611 | FLEX CONDUIT & FITTINGS | 3"Flex Conduit | EA | 5.01 | 0.01
ITEM-0612 | FLEX CONDUIT & FITTINGS | 3"Flex Conn st | EA | 14.8 | 0.05
ITEM-0613 | FLEX CONDUIT & FITTINGS | 3"Flex Conn,90 | EA | 41.06 | 0.05
ITEM-0614 | FLEX CONDUIT & FITTINGS | 3"L.T. Flex Conn | EA | 45.36 | 0.05
ITEM-0615 | FLEX CONDUIT & FITTINGS | 3"L.T. Flex Conn,90 | EA | 57 | 0.05
ITEM-0616 | FLEX CONDUIT & FITTINGS | 3"L.T. Flex Conn,NM | EA | 42 | 0.05
ITEM-0617 | FLEX CONDUIT & FITTINGS | 3"LiquidTite Flex | EA | 4.95 | 0.02
ITEM-0618 | FLEX CONDUIT & FITTINGS | 3"LiquidTite Flex,Non Metallic | EA | 4.5 | 0.02
ITEM-0620 | FLEX CONDUIT & FITTINGS | 3"One Hole HW Strap | EA | 1.77 | 0.02
ITEM-0619 | FLEX CONDUIT & FITTINGS | 3"One Hole HW Strap | EA | 1.77 | 0.02
ITEM-0621 | FLEX CONDUIT & FITTINGS | 3/4"Flex Conduit | EA | 0.47 | 0.01
ITEM-0622 | FLEX CONDUIT & FITTINGS | 3/4"Flex Conn st | EA | 0.54 | 0.05
ITEM-0623 | FLEX CONDUIT & FITTINGS | 3/4"Flex Conn,90 | EA | 1.22 | 0.05
ITEM-0624 | FLEX CONDUIT & FITTINGS | 3/4"Flex Coup | EA | 1.1 | 0.03
ITEM-0625 | FLEX CONDUIT & FITTINGS | 3/4"Flex To Emt Coup | EA | 2.02 | 0.03
ITEM-0626 | FLEX CONDUIT & FITTINGS | 3/4"L.T. Flex Conn | EA | 1.44 | 0.05
ITEM-0627 | FLEX CONDUIT & FITTINGS | 3/4"L.T. Flex Conn,90 | EA | 2.25 | 0.05
ITEM-0628 | FLEX CONDUIT & FITTINGS | 3/4"L.T. Flex Conn,90,NM | EA | 2.83 | 0.05
ITEM-0629 | FLEX CONDUIT & FITTINGS | 3/4"L.T. Flex Conn,NM | EA | 1.37 | 0.05
ITEM-0630 | FLEX CONDUIT & FITTINGS | 3/4"LiquidTite Flex | EA | 0.55 | 0.02
ITEM-0631 | FLEX CONDUIT & FITTINGS | 3/4"LiquidTite Flex,Non-Metallic | EA | 0.43 | 0.02
ITEM-0632 | FLEX CONDUIT & FITTINGS | 3/4"One Hole HW Strap | EA | 0.14 | 0.02
ITEM-0633 | FLEX CONDUIT & FITTINGS | 3/4"One Hole HW Strap | EA | 0.06 | 0.02
ITEM-0634 | FLEX CONDUIT & FITTINGS | 3/8"Flex Conduit, | EA | 0.25 | 0.01
ITEM-0635 | FLEX CONDUIT & FITTINGS | 3/8"Flex Conn st | EA | 0.11 | 0.05
ITEM-0636 | FLEX CONDUIT & FITTINGS | 3/8"Flex Conn,90 | EA | 0.31 | 0.05
ITEM-0637 | FLEX CONDUIT & FITTINGS | 3/8"One Hole HW Strap | EA | 0.04 | 0.02
ITEM-0638 | FLEX CONDUIT & FITTINGS | 4 Flex To Emt Coup | EA | 2.94 | 0.03
ITEM-0639 | FLEX CONDUIT & FITTINGS | 4 One Hole HW Strap | EA | 9.96 | 0.02
ITEM-0640 | FLEX CONDUIT & FITTINGS | 4" LiquidTite Flex,Non Metallic | EA | 7 | 0.02
ITEM-0641 | FLEX CONDUIT & FITTINGS | 4"Flex Conduit | EA | 6.31 | 0.01
ITEM-0642 | FLEX CONDUIT & FITTINGS | 4"Flex Conn | EA | 24.45 | 0.05
ITEM-0643 | FLEX CONDUIT & FITTINGS | 4"Flex Conn,90 | EA | 103.17 | 0.05
ITEM-0644 | FLEX CONDUIT & FITTINGS | 4"L.T. Flex Conn | EA | 57 | 0.05
ITEM-0645 | FLEX CONDUIT & FITTINGS | 4"L.T. Flex Conn,90 | EA | 72 | 0.05
ITEM-0646 | FLEX CONDUIT & FITTINGS | 4"LiquidTite Flex | EA | 7.37 | 0.02
ITEM-0647 | Galvanized Coupling | 1 1/2"Galvanized Coupling | EA | 1.25 | 0.03
ITEM-0648 | Galvanized Coupling | 1 1/4"Galvanized Coupling | EA | 0.99 | 0.03
ITEM-0649 | Galvanized Coupling | 1"Galvanized Coupling | EA | 0.79 | 0.03
ITEM-0650 | Galvanized Coupling | 1/2"Galvanized Coupling | EA | 0.66 | 0.03
ITEM-0651 | Galvanized Coupling | 2 1/2"Galvanized Coupling | EA | 3.87 | 0.03
ITEM-0652 | Galvanized Coupling | 2"Galvanized Coupling | EA | 1.65 | 0.03
ITEM-0653 | Galvanized Coupling | 3 1/2"Galvanized Coupling | EA | 6.72 | 0.03
ITEM-0654 | Galvanized Coupling | 3"Galvanized Coupling | EA | 6.5 | 0.03
ITEM-0655 | Galvanized Coupling | 3/4"Galvanized Coupling | EA | 0.5 | 0.03
ITEM-0656 | Galvanized Coupling | 4"Galvanized Coupling | EA | 6.75 | 0.03
GROUND-WIRE-TO-BOX | Grounding | Ground Wires To Box | EA | 0 | 0.05 | Standard | Grounding wire connection to box
ITEM-0665 | Lighting | 1 1/2"-2"Grnd Clamp | EA | 3.54 | 1
ITEM-0666 | Lighting | 1 1/2"Beam Clamp Hanger Assembly | EA | 1.11 | 1
ITEM-0667 | Lighting | 1 1/2"Beam Clamps | EA | 3.66 | 1
ITEM-0668 | Lighting | 1 1/2"Unistrut Support Clamp | EA | 1.16 | 1
ITEM-0669 | Lighting | 1 1/4"Beam Clamp Hanger Assembly | EA | 1.04 | 1
ITEM-0670 | Lighting | 1 1/4"Unistrut Support Clamp | EA | 1.03 | 1
ITEM-0671 | Lighting | 1"Beam Clamp Hanger Assembly | EA | 1.01 | 1
ITEM-0672 | Lighting | 1"Beam Clamps | EA | 1.49 | 1
ITEM-0673 | Lighting | 1"Unistrut Support Clamp | EA | 0.88 | 1
ITEM-0674 | Lighting | 1/2"-1"Grnd Clamp | EA | 1.78 | 1
ITEM-0675 | Lighting | 1/2"Beam Clamp Hanger Assembly | EA | 0.92 | 1
ITEM-0676 | Lighting | 1/2"Unistrut Support Clamp | EA | 0.76 | 1
ITEM-0677 | Lighting | 2 1/2"Beam Clamps | EA | 5.92 | 1
ITEM-0678 | Lighting | 2 1/2"Unistrut Support Clamp | EA | 1.4 | 1
ITEM-0679 | Lighting | 2"-3"Grnd Clamp | EA | 16.74 | 1
ITEM-0680 | Lighting | 2"Beam Clamp Hanger Assembly | EA | 1.21 | 1
ITEM-0681 | Lighting | 2"Beam Clamps | EA | 5.34 | 1
ITEM-0682 | Lighting | 2"Unistrut Support Clamp | EA | 1.29 | 1
ITEM-0683 | Lighting | 20A GFI Recpt,Hosp Grade w/Red Light | EA | 30 | 1
ITEM-0684 | Lighting | 3"-5"Grnd Clamp | EA | 25.45 | 1
ITEM-0685 | Lighting | 3"Unistrut Support Clamp | EA | 1.52 | 1
ITEM-0686 | Lighting | 3/4"Acorn,Grnd Clamp | EA | 2.43 | 1
ITEM-0687 | Lighting | 3/4"Beam Clamp Hanger Assembly | EA | 0.97 | 1
ITEM-0688 | Lighting | 3/4"Unistrut Support Clamp | EA | 0.83 | 1
ITEM-0689 | Lighting | 4"Unistrut Support Clamp | EA | 1.86 | 1
ITEM-0690 | Lighting | 5/8"Acorn,Grnd Clamp | EA | 1.72 | 1
ITEM-0691 | Lighting | LIGHTING CONTROLS / TIME CLOCK | EA | 1500 | 1
ITEM-0692 | Lighting | Pole Lights | EA | 50 | 1
ITEM-0693 | Lighting | Track Lighting | EA | 2.75 | 1
LIGHT-A | Lights | Fixture A | EA | 0 | 1 |  | Generic light fixture A - Owner supplied, contractor installs
LIGHT-B | Lights | Fixture B | EA | 0 | 1 |  | Generic light fixture B - Owner supplied, contractor installs
LIGHT-C | Lights | Fixture C | EA | 0 | 1 |  | Generic light fixture C - Owner supplied, contractor installs
LIGHT-D | Lights | Fixture D | EA | 0 | 1 |  | Generic light fixture D - Owner supplied, contractor installs
LIGHT-E | Lights | Fixture E | EA | 0 | 1 |  | Generic light fixture E - Owner supplied, contractor installs
ITEM-0694 | MC Cable | #10/2 Type MC Stl Cable | EA | 0.91 | 0.01
ITEM-0695 | MC Cable | #10/3 Type MC Stl Cable | EA | 1.26 | 0.01
ITEM-0696 | MC Cable | #10/4 Type MC Stl Cable | EA | 1.98 | 0.01
ITEM-0697 | MC Cable | #12/2 Type MC Stl Cable | EA | 0.43 | 0.008
ITEM-0698 | MC Cable | #12/3 Type MC Stl Cable | EA | 0.72 | 0.008
ITEM-0699 | MC Cable | #12/4 Type MC Stl Cable | EA | 0.98 | 0.008
ITEM-0700 | MC Cable | #14/2 Type MC Stl Cable | EA | 0.41 | 0.006
ITEM-0701 | MC Cable | #14/3 Type MC Stl Cable | EA | 0.65 | 0.006
ITEM-0702 | NM Cable | #10/2 NM cable | EA | 0.45 | 0.01
ITEM-0703 | NM Cable | #10/2 UF cable | EA | 2.7 | 0.01
ITEM-0704 | NM Cable | #10/3 NM cable | EA | 0.65 | 0.01
ITEM-0705 | NM Cable | #10/3 UF cable | EA | 2.95 | 0.01
ITEM-0706 | NM Cable | #12/2 NM cable | EA | 0.24 | 0.008
ITEM-0707 | NM Cable | #12/2 UF cable | EA | 1.76 | 0.008
ITEM-0708 | NM Cable | #12/3 NM cable | EA | 0.45 | 0.008
ITEM-0709 | NM Cable | #12/3 UF cable | EA | 1.96 | 0.008
ITEM-0710 | NM Cable | #14/2 NM cable | EA | 0.19 | 0.006
ITEM-0711 | NM Cable | #14/2 UF cable | EA | 1.22 | 0.006
ITEM-0712 | NM Cable | #14/3 NM cable | EA | 0.25 | 0.006
ITEM-0713 | NM Cable | #14/3 UF cable | EA | 1.35 | 0.006
ITEM-0714 | NM Cable | #2/3 NM Cable | EA | 1.9 | 0.022
ITEM-0715 | NM Cable | #4/3 NM cable | EA | 1.45 | 0.018
ITEM-0716 | NM Cable | #6/2 NM cable | EA | 1.36 | 0.015
ITEM-0717 | NM Cable | #6/2 UF cable | EA | 6 | 0.015
ITEM-0718 | NM Cable | #6/3 NM cable | EA | 1.54 | 0.015
ITEM-0719 | NM Cable | #6/3 UF cable | EA | 6.5 | 0.015
ITEM-0720 | NM Cable | #8/2 NM cable | EA | 0.86 | 0.012
ITEM-0721 | NM Cable | #8/2 UF cable | EA | 3.77 | 0.012
ITEM-0722 | NM Cable | #8/3 NM cable | EA | 1.34 | 0.012
ITEM-0723 | NM Cable | #8/3 UF cable | EA | 4.5 | 0.012
ITEM-0724 | Panels | 100 AMP PANEL | EA | 125 | 4.75
ITEM-0725 | Panels | 200 AMP PANEL | EA | 125 | 8.75
ITEM-0726 | Panels | 400 AMP PANEL | EA | 125 | 12.75
ITEM-0727 | Panels | 600 AMP PANEL | EA | 200 | 22
ITEM-0728 | Panels | 800 AMP PANEL | EA | 350 | 30
ITEM-0730 | Panels | LIGHTING CONTROL PANEL | EA | 2850 | 4
ITEM-0737 | Plaster Rings | 1-Gang Plaster Ring 1/2"Rise | EA | 0.32 | 0.02
ITEM-0738 | Plaster Rings | 1-Gang Plaster Ring 1/4" Rise | EA | 0.34 | 0.02
ITEM-0739 | Plaster Rings | 1-Gang Plaster Ring 2" Rise | EA | 1.46 | 0.02
ITEM-0740 | Plaster Rings | 1-Gang Plaster Ring 3/4 Rise | EA | 0.49 | 0.02
ITEM-0741 | Plaster Rings | 1-Gang Plaster Ring 5/8 Rise | EA | 0.55 | 0.02
ITEM-0742 | Plaster Rings | 2-Gang Plaster Ring 1/2"Rise | EA | 0.36 | 0.02
ITEM-0743 | Plaster Rings | 2-Gang Plaster Ring 1/4" Rise | EA | 0.51 | 0.02
ITEM-0744 | Plaster Rings | 2-Gang Plaster Ring 2" Rise | EA | 2.28 | 0.02
ITEM-0745 | Plaster Rings | 2-Gang Plaster Ring 3/4 Rise | EA | 0.72 | 0.02
ITEM-0746 | Plaster Rings | 2-Gang Plaster Ring 5/8"Rise | EA | 0.54 | 0.02
ITEM-0747 | Plates | 1 Gang Dryer & Recpt Cover,Chrome | EA | 1.45 | 0.02
ITEM-0748 | Plates | 1 Gang Dryer Plate,Plastic | EA | 0.63 | 0.02
ITEM-0749 | Plates | 1 Gang Range Cover,Chrome | EA | 1.71 | 0.02
ITEM-0750 | Plates | 1 Gang Range Plate,Plastic | EA | 1.33 | 0.02
ITEM-0751 | Plates | 1 Gang Switch Cover,W/P | EA | 3.14 | 0.02
ITEM-0752 | Plates | 2 Gang Blank Cover,W/P | EA | 1.44 | 0.02
ITEM-0753 | Plates | 4 11/16 Blank Cover,Stl | EA | 0.37 | 0.02
ITEM-0754 | Plates | 4"Round Oct.Blank Cover | EA | 0.24 | 0.02
ITEM-0755 | Plates | 4"Square Blank Cover,Stl | EA | 0.33 | 0.02
ITEM-0756 | Plates | 5"Round Decorator Blank Cover | EA | 3.14 | 0.02
ITEM-0757 | Plates | Brass Floor Box Cover | EA | 47 | 0.02
ITEM-0758 | Plates | Brass Floor Box Cover 2 Gang | EA | 40 | 0.02
ITEM-0759 | Plates | Carpet Flange | EA | 11 | 0.02
ITEM-0760 | Plates | Carpet Flange for 2 Gang Floor Box | EA | 11.46 | 0.02
ITEM-0763 | Plates | GFI Outlet Cover,PVC,W/P | EA | 3.8 | 0.02
ITEM-0764 | Plates | GFI Outlet Cover,W/P In Use | EA | 11 | 0.02
ITEM-0765 | Plates | Handy Box Blank Cover | EA | 0.21 | 0.02
ITEM-0766 | Plates | Handy Box Receptacle Cover | EA | 0.21 | 0.02
ITEM-0767 | Plates | Handy Box Switch Cover | EA | 0.19 | 0.02
ITEM-0768 | Plates | Nail-On Protector Plates | EA | 0.2 | 0.02
ITEM-0769 | Plates | P & S GFI cover ( Lockable) WP 26L | EA | 46 | 0.02
ITEM-0770 | Plates | PVC Floor Box | EA | 325 | 0.02
ITEM-0771 | Plates | PVC Floor Box Data Cover | EA | 15 | 0.02
ITEM-0772 | Plates | PVC Floor Box Receptacle Cover | EA | 15 | 0.02
ITEM-0773 | Plates | Rectangle Blank Cover,W/P | EA | 0.64 | 0.02
ITEM-0774 | Plates | Rectangle Receptacle Cover,W/P | EA | 1.68 | 0.02
ITEM-0775 | Plates | Steel Floor Box 2-Gang | EA | 85 | 0.02
ITEM-0776 | Plates | Steel Floor Box For Receptacle | EA | 85 | 0.02
ITEM-0777 | Plates | Unistrut Splice Plate | EA | 0.96 | 0.02
ITEM-0778 | PLATES/Lexan | 1 Gang Receptacle Plate,Lexan | EA | 0.25 | 0.02
ITEM-0779 | PLATES/Lexan | 1 Gang Switch Plate,Lexan | EA | 0.9 | 0.02
ITEM-0780 | PLATES/Lexan | 2 Gang Receptacle Plate,Lexan | EA | 0.43 | 0.02
ITEM-0781 | PLATES/Lexan | 2 Gang Switch Plate,Lexan | EA | 1.77 | 0.02
ITEM-0782 | PLATES/Lexan | 3 Gang Switch Plate,Lexan | EA | 2.64 | 0.02
ITEM-0783 | PLATES/Lexan | 4 Gang Switch Plate,Lexan | EA | 6.47 | 0.02
ITEM-0784 | PLATES/Lexan | 5 Gang Switch Plate,Lexan | EA | 9.53 | 0.02
ITEM-0785 | PLATES/Lexan | 6 Gang Switch Plate,Lexan | EA | 12 | 0.02
ITEM-0786 | PLATES/Plastic | 1 Gang Blank Plate,Plastic | EA | 0.19 | 0.02
ITEM-0787 | PLATES/Plastic | 1 Gang Receptacle Plate,Plastic | EA | 0.19 | 0.02
ITEM-0788 | PLATES/Plastic | 1 Gang Switch Plate,Plastic | EA | 0.19 | 0.02
ITEM-0789 | PLATES/Plastic | 2 Gang Blank Plate,Plastic | EA | 1.72 | 0.02
ITEM-0790 | PLATES/Plastic | 2 Gang Receptacle Plate,Plastic | EA | 0.37 | 0.02
ITEM-0791 | PLATES/Plastic | 2 Gang Switch Plate,Plastic | EA | 0.37 | 0.02
ITEM-0792 | PLATES/Plastic | 3 Gang Switch Plate,Plastic | EA | 0.55 | 0.02
ITEM-0793 | PLATES/Plastic | 4 Gang Switch Plate,Plastic | EA | 0.94 | 0.02
ITEM-0794 | PLATES/Plastic | 5 Gang Switch Plate,Plastic | EA | 6.01 | 0.02
ITEM-0795 | PLATES/Plastic | 6 Gang Switch Plate,Plastic | EA | 6.98 | 0.02
ITEM-0796 | PLATES/Stainless | 1 Gang Receptacle Plate,Stainless | EA | 0.9 | 0.02
ITEM-0797 | PLATES/Stainless | 1 Gang Switch Plate,Stainless | EA | 0.9 | 0.02
ITEM-0798 | PLATES/Stainless | 2 Gang Receptacle Plate,Stainless | EA | 1.77 | 0.02
ITEM-0799 | PLATES/Stainless | 2 Gang Switch Plate,Stainless | EA | 1.77 | 0.02
ITEM-0800 | PLATES/Stainless | 3 Gang Switch Plate,Stainless | EA | 2.64 | 0.02
ITEM-0801 | PLATES/Stainless | 4 Gang Switch Plate,Stainless | EA | 6.47 | 0.02
ITEM-0802 | PLATES/Stainless | 5 Gang Switch Plate,Stainless | EA | 9.53 | 0.02
ITEM-0803 | PLATES/Stainless | 6 Gang Switch Plate,Stainless | EA | 11.45 | 0.02
ITEM-0804 | PVC 90 degree,Sch.40 | 1 1/2"PVC 90 degree,Sch.40 | EA | 1.8 | 0.012
ITEM-0805 | PVC 90 degree,Sch.40 | 1 1/4"PVC 90 degree,Sch.40 | EA | 1.32 | 0.022
ITEM-0806 | PVC 90 degree,Sch.40 | 1"PVC 90 degree,Sch.40 | EA | 0.83 | 0.018
ITEM-0807 | PVC 90 degree,Sch.40 | 1/2"PVC 90 degree,Sch.40 | EA | 0.53 | 0.012
ITEM-0808 | PVC 90 degree,Sch.40 | 2 1/2"PVC 90 degree,Sch.40 | EA | 5.44 | 0.012
ITEM-0809 | PVC 90 degree,Sch.40 | 2"PVC 90 degree,Sch.40 | EA | 2.45 | 0.03
ITEM-0810 | PVC 90 degree,Sch.40 | 3 1/2 PVC 90 Degree,Sch.40 | EA | 7.85 | 0.012
ITEM-0811 | PVC 90 degree,Sch.40 | 3"PVC 90 degree,Sch.40 | EA | 6.93 | 0.05
ITEM-0812 | PVC 90 degree,Sch.40 | 3/4"PVC 90 degree,Sch.40 | EA | 0.61 | 0.015
ITEM-0813 | PVC 90 degree,Sch.40 | 4"PVC 90 degree,Sch.40 | EA | 9.1 | 0.065
ITEM-0814 | PVC 90 degree,Sch.80 | 1 1/2"PVC 90 degree,Sch.80 | EA | 5.25 | 0.012
ITEM-0815 | PVC 90 degree,Sch.80 | 1 1/4"PVC 90 degree,Sch.80 | EA | 3.68 | 0.022
ITEM-0816 | PVC 90 degree,Sch.80 | 1"PVC 90 degree,Sch.80 | EA | 2.66 | 0.018
ITEM-0817 | PVC 90 degree,Sch.80 | 1/2"PVC 90 degree,Sch.80 | EA | 1.3 | 0.012
ITEM-0818 | PVC 90 degree,Sch.80 | 2 1/2"PVC 90 degree,Sch.80 | EA | 12.6 | 0.012
ITEM-0819 | PVC 90 degree,Sch.80 | 2"PVC 90 degree,Sch.80 | EA | 7.19 | 0.03
ITEM-0820 | PVC 90 degree,Sch.80 | 3 1/2 PVC 90 Degree,Sch.80 | EA | 30 | 0.012
ITEM-0821 | PVC 90 degree,Sch.80 | 3"PVC 90 degree,Sch.80 | EA | 24.31 | 0.05
ITEM-0822 | PVC 90 degree,Sch.80 | 3/4"PVC 90 degree,Sch.80 | EA | 2.04 | 0.015
ITEM-0823 | PVC 90 degree,Sch.80 | 4"PVC 90 degree,Sch.80 | EA | 39.61 | 0.065
ITEM-0824 | PVC CONDUIT Sch 40 | 1 1/2"PVC Sch.40 Conduit | EA | 0.41 | 0.012
ITEM-0825 | PVC CONDUIT Sch 40 | 1 1/4"PVC Sch.40 Conduit | EA | 0.38 | 0.022
ITEM-0826 | PVC CONDUIT Sch 40 | 1"PVC Sch.40 Conduit | EA | 0.25 | 0.018
ITEM-0827 | PVC CONDUIT Sch 40 | 1/2"PVC Sch.40 Conduit | EA | 0.14 | 0.012
ITEM-0828 | PVC CONDUIT Sch 40 | 2 1/2"PVC Sch.40 Conduit | EA | 0.88 | 0.012
ITEM-0829 | PVC CONDUIT Sch 40 | 2"PVC Sch.40 Conduit | EA | 0.52 | 0.03
ITEM-0830 | PVC CONDUIT Sch 40 | 3 1/2 PVC Sch.40 Conduit | EA | 1.36 | 0.012
ITEM-0831 | PVC CONDUIT Sch 40 | 3"PVC Sch.40 Conduit | EA | 1.05 | 0.05
ITEM-0832 | PVC CONDUIT Sch 40 | 3/4"PVC Sch.40 Conduit | EA | 0.18 | 0.015
ITEM-0833 | PVC CONDUIT Sch 40 | 4"PVC Sch.40 Conduit | EA | 4 | 0.065
ITEM-0834 | PVC CONDUIT Sch 80 | 1 1/2"PVC Sch.80 Conduit | EA | 1.19 | 0.012
ITEM-0835 | PVC CONDUIT Sch 80 | 1 1/4"PVC Sch.80 Conduit | EA | 1 | 0.022
ITEM-0836 | PVC CONDUIT Sch 80 | 1"PVC Sch.80 Conduit | EA | 0.72 | 0.018
ITEM-0837 | PVC CONDUIT Sch 80 | 2 1/2"PVC Sch.80 Conduit | EA | 2.63 | 0.012
ITEM-0838 | PVC CONDUIT Sch 80 | 2"PVC Sch.80 Conduit | EA | 1.65 | 0.03
ITEM-0839 | PVC CONDUIT Sch 80 | 3"PVC Sch.80 Conduit | EA | 3.53 | 0.05
ITEM-0840 | PVC CONDUIT Sch 80 | 3/4"PVC Sch.80 Conduit | EA | 0.5 | 0.015
ITEM-0841 | PVC CONDUIT Sch 80 | 4"PVC Sch.80 Conduit | EA | 4.9 | 0.065
ITEM-0842 | PVC Sch.40 Coupling | 1 1/2"PVC Sch.40 Coupling | EA | 0.34 | 0.03
ITEM-0843 | PVC Sch.40 Coupling | 1 1/4"PVC Sch.40 Coupling | EA | 0.25 | 0.03
ITEM-0844 | PVC Sch.40 Coupling | 1"PVC Sch.40 Coupling | EA | 0.18 | 0.03
ITEM-0845 | PVC Sch.40 Coupling | 1/2"PVC Sch.40 Coupling | EA | 0.1 | 0.03
ITEM-0846 | PVC Sch.40 Coupling | 2 1/2"PVC Sch.40 Coupling | EA | 0.79 | 0.03
ITEM-0847 | PVC Sch.40 Coupling | 2"PVC Sch.40 Coupling | EA | 0.45 | 0.03
ITEM-0848 | PVC Sch.40 Coupling | 3 1/2 PVC Sch.40 Coupling | EA | 1.44 | 0.03
ITEM-0849 | PVC Sch.40 Coupling | 3"PVC Sch.40 Coupling | EA | 1.3 | 0.03
ITEM-0850 | PVC Sch.40 Coupling | 3/4"PVC Sch.40 Coupling | EA | 0.12 | 0.03
ITEM-0851 | PVC Sch.40 Coupling | 4"PVC Sch.40 Coupling | EA | 2.01 | 0.03
EMT-0.5 | Raceways | 1/2 EMT | FT | 0.72 | 0.015 | Standard | 1/2 inch EMT conduit per foot
ITEM-0852 | RIGID CONDUIT | 1 1/2"Rigid Conduit | EA | 3.92 | 0.02
ITEM-0853 | RIGID CONDUIT | 1 1/4"Rigid Conduit | EA | 3.36 | 0.11
ITEM-0854 | RIGID CONDUIT | 1"Rigid Conduit | EA | 2.42 | 0.03
ITEM-0855 | RIGID CONDUIT | 1/2"Rigid Conduit | EA | 1.45 | 0.02
ITEM-0856 | RIGID CONDUIT | 2 1/2"Rigid Conduit | EA | 9.31 | 0.02
ITEM-0857 | RIGID CONDUIT | 2"Rigid Conduit | EA | 4.9 | 0.05
ITEM-0858 | RIGID CONDUIT | 3 1/2"Rigid Conduit | EA | 13.5 | 0.02
ITEM-0859 | RIGID CONDUIT | 3"Rigid Conduit | EA | 11.19 | 0.08
ITEM-0860 | RIGID CONDUIT | 3/4"Rigid Conduit | EA | 1.56 | 0.025
ITEM-0861 | RIGID CONDUIT | 4"Rigid Conduit | EA | 14.76 | 0.11
ITEM-0862 | Rigid Stl Elbow,90 | 1 1/2"Rigid Stl Elbow,90 | EA | 4.9 | 0.08
ITEM-0863 | Rigid Stl Elbow,90 | 1 1/4"Rigid Stl Elbow,90 | EA | 3.75 | 0.08
ITEM-0864 | Rigid Stl Elbow,90 | 1"Rigid Stl Elbow,90 | EA | 2.63 | 0.08
ITEM-0865 | Rigid Stl Elbow,90 | 1/2"Rigid Stl Elbow,90 | EA | 1.47 | 0.08
ITEM-0866 | Rigid Stl Elbow,90 | 2 1/2"Rigid Stl Elbow,90 | EA | 12.92 | 0.08
ITEM-0867 | Rigid Stl Elbow,90 | 2"Rigid Stl Elbow,90 | EA | 7.07 | 0.08
ITEM-0868 | Rigid Stl Elbow,90 | 3 1/2"Rigid Stl Elbow,90 | EA | 29.48 | 0.08
ITEM-0869 | Rigid Stl Elbow,90 | 3"Rigid Stl Elbow,90 | EA | 18.81 | 0.08
ITEM-0870 | Rigid Stl Elbow,90 | 3/4"Rigid Stl Elbow,90 | EA | 1.76 | 0.08
ITEM-0871 | Rigid Stl Elbow,90 | 4"Rigid Stl Elbow,90 | EA | 90 | 0.08
SENSOR-DAYLIGHT | Sensors | Daylight Sensor | EA | 85 | 1 |  | Photocell daylight sensor
SENSOR-MOTION | Sensors | Motion Sensor | EA | 45 | 1 |  | Motion detection sensor
SENSOR-OCC | Sensors | Occupancy Sensor | EA | 0 | 1 |  | Owner-supplied sensor - labor only
ITEM-0872 | SO Cord | #10/3 Type SO Cord | EA | 1.91 | 0.01
ITEM-0873 | SO Cord | #10/4 Type SO Cord | EA | 2.22 | 0.01
ITEM-0874 | SO Cord | #12/3 Type SO Cord | EA | 1.38 | 0.008
ITEM-0875 | SO Cord | #12/4 Type SO Cord | EA | 1.43 | 0.008
ITEM-0876 | SO Cord | #14/3 Type SO Cord | EA | 1.4 | 0.006
ITEM-0877 | SO Cord | #14/4 Type SO Cord | EA | 1.5 | 0.006
ITEM-0878 | SO Cord | #16/3 Type SO Cord | EA | 0.68 | 0.015
ITEM-0879 | SO Cord | #16/4 Type SO Cord | EA | 0.95 | 0.015
ITEM-0880 | SO Cord | #18/3 Type SO Cord | EA | 0.74 | 0.012
ITEM-0881 | SO Cord | #18/4 Type SO Cord | EA | 0.85 | 0.012
ITEM-0882 | Wing Nuts | Blue Wire Nuts | EA | 0.4 | 0.01
ITEM-0883 | Wing Nuts | Gray Wire Nuts | EA | 0.29 | 0.01
ITEM-0884 | Wing Nuts | Grnd Clips | EA | 0.11 | 0.01
ITEM-0885 | Wing Nuts | Grnd Screws | EA | 0.06 | 0.01
ITEM-0886 | Wing Nuts | Orange Wire Nuts | EA | 0.07 | 0.01
ITEM-0887 | Wing Nuts | Red Wire Nuts | EA | 0.08 | 0.01
ITEM-0888 | Wing Nuts | Yellow Wire Nuts | EA | 0.08 | 0.01
ITEM-0889 | wire | #1 THHN Copper Wire,Str | EA | 2.53 | 0.015
ITEM-0890 | wire | #10 THHN Copper Wire,Sol | EA | 0.3 | 0.008
ITEM-0891 | wire | #10 THHN Copper Wire,Str | EA | 0.3 | 0.008
ITEM-0892 | wire | #12 THHN Copper Wire,Sol | EA | 0.19 | 0.008
ITEM-0893 | wire | #12 THHN Copper Wire,Str | EA | 0.19 | 0.008
ITEM-0894 | wire | #14 THHN Copper Wire,Sol | EA | 0.13 | 0.008
ITEM-0895 | wire | #14 THHN Copper Wire,Str | EA | 0.13 | 0.008
ITEM-0896 | wire | #2 THHN Copper Wire,Str | EA | 2.1 | 0.012
ITEM-0897 | wire | #4 bare copper | EA | 1.33 | 0.018
ITEM-0898 | wire | #4 THHN Copper Wire,Str | EA | 1.33 | 0.012
ITEM-0899 | wire | #6 THHN Copper Wire,Str | EA | 0.87 | 0.01
ITEM-0900 | wire | #8 THHN Copper Wire,Str | EA | 0.57 | 0.01
ITEM-0901 | wire | 1/0 THHN Copper Wire,Str | EA | 2.53 | 0.015
ITEM-0902 | wire | 1/2"MC Cable Conn,Double | EA | 0.47 | 0.025
ITEM-0903 | wire | 1/2"MC Cable Conn,Single | EA | 0.3 | 0.025
ITEM-0904 | wire | 2 Hole#1/0-3 Cable Strap | EA | 0.11 | 0.025
ITEM-0905 | wire | 2 Hole#1/3 Cable Strap | EA | 0.11 | 0.025
ITEM-0906 | wire | 2 Hole#2/0-3 Cable Strap | EA | 0.12 | 0.022
ITEM-0907 | wire | 2 Hole#2/3 Cable Strap | EA | 0.08 | 0.022
ITEM-0908 | wire | 2 Hole#3/0-3 Cable Strap | EA | 0.16 | 0.036
ITEM-0909 | wire | 2 Hole#4/0-3 Cable Strap | EA | 0.18 | 0.018
ITEM-0910 | wire | 2 Hole#4/3 Cable Strap | EA | 0.07 | 0.018
ITEM-0911 | wire | 2 Hole#6/3 Cable Strap | EA | 0.07 | 0.015
ITEM-0912 | wire | 2 Hole#8/3 Cable Strap | EA | 0.07 | 0.012
ITEM-0913 | wire | 2/0 THHN Copper Wire,Str | EA | 3.7 | 0.015
ITEM-0914 | wire | 250MCM THHN Copper Wire,Str | EA | 6.6 | 0.02
ITEM-0915 | wire | 3/0 THHN Copper Wire,Str | EA | 4.55 | 0.015
ITEM-0916 | wire | 3/8"MC Cable Conn,Double | EA | 0.38 | 0.008
ITEM-0917 | wire | 3/8"MC Cable Conn,Single | EA | 0.24 | 0.008
ITEM-0918 | wire | 350MCM Copper Wire,Str | EA | 9.24 | 0.008
ITEM-0919 | wire | 3Wire-30A 125/250v,Dryer Recpt | EA | 10.79 | 0.008
ITEM-0920 | wire | 3Wire-30A 125v,Trailer Recpt | EA | 8.99 | 0.008
ITEM-0921 | wire | 3Wire-50A 250v,Range Recpt | EA | 9.84 | 0.008
ITEM-0922 | wire | 4/0 THHN Copper Wire,Str | EA | 5.68 | 0.015
ITEM-0923 | wire | 4Wire-30A 125/250v,Power Recpt | EA | 13.64 | 0.008
ITEM-0924 | wire | 4Wire-50A 125/250v,Power Recpt | EA | 15 | 0.008
ITEM-0925 | wire | 500MCM THHN Copper Wire,Str | EA | 13.27 | 0.02
ITEM-0926 | wire | 600 MCM | EA | 17 | 0.008
ITEM-0927 | wire | 750 MCM THHN Copper Wire ,Str | EA | 28 | 0.008
ITEM-0928 | wire | P & S GFI 4600-26 ( Recessed Locable) | EA | 165 | 0.008
ITEM-0929 | wire | Wire Restrain (Kellum Grip) 12/3 so W-Hub | EA | 13 | 0.008
WIRE-12-THHN | Wire | 12 THHN | FT | 0.19 | 0.008 | Standard | Copper wire, solid or stranded - 0.008 hrs/ft installation